# THE REPUBLIC OF UGANDA

# MINISTRY OF HEALTH

Standard Bidding Document

for the

Procurement of Supplies

Open Domestic Bidding

Subject of Procurement: Supply and Installation of Medical Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) (LOT 4)

Reference Number         : MOH/SPLS/20-21/00136/4

Date                                   : 11th March 2021

PREFACE

- This Standard Bidding Document (SBD) has been prepared by the Public Procurement and Disposal of Assets Authority (PPDA) for use by Procuring and Disposing Entities (PDEs) for the procurement of Supplies. The procedures and practices presented in this SBD have been developed to reflect the requirements of the Public Procurement and Disposal of Assets Act, 2003 and the Public Procurement and Disposal of Assets Regulation, 2014 and best international procurement practices.

- This SBD for the Procurement of Supplies is suitable for use under the Open (International or Domestic) Bidding procurement method with or without pre-qualification. It is also suitable for the Restricted (International or Domestic) Bidding procurement method. The SBD may also be used for procurement under the Direct Procurement method with appropriate modifications to the document.

- For procurement under the Quotation Procurement Method a simpler SBD has been developed, “the Request for Quotations and Purchase Order”, which is generally more appropriate for this method.

- This SBD is suitable for lump-sum contracts. The User Guide to this SBD indicates the circumstances in which its use is most appropriate.

- This SBD provides recommended wording for Technical Compliance Selection (TCS) as the preferred evaluation methodology for Supplies.

- Before using this SBD, the user should be familiar with the PPDA Act and Regulations and should read the User Guide to this SBD which has been prepared to provide guidance to public officials in the correct use of the Standard Bidding Document (SBD) for Supply as a model for preparing an individual Bidding Document.

PPDA welcomes any feedback or comments from the users of this SBD which will assist in improving this document.

The Executive Director,

Public Procurement and Disposal of Public Assets Authority

P.O. Box 3925,

KAMPALA.

www.ppda.go.ug

info@ppda.go.ug

Standard Bidding Document

Table of Contents

THE REPUBLIC OF UGANDA	1

MINISTRY OF HEALTH	1

PART 1 – Bidding Procedures	7

Section 1: Instructions to Bidders	8

Section 2: Bid Data Sheet	26

Section 3: Evaluation Methodology and Criteria	29

Section 4: Bidding Forms	33

Section 5: Eligible Countries	44

PART 2 - Statement of Requirements	45

Section 6: Statement of Requirements	45

PART 3 - Contract	169

Section 7: General Conditions of Contract for the Procurement of Supplies	169

Section 8:  Special Conditions of Contract	184

Section 9: Contract Forms	186

ABRIDGED BID NOTICE UNDER OPEN DOMESTIC BIDDING

Ministry of Health in Collaboration with Local Governments under the Intergovernmental Fiscal Transfer Program

BID NOTICE

- Ministry of Health invites sealed bids from eligible bidders for: Procurement, Supply, Delivery and Installation, training and Commissioning of Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021

| No. | Procurement Reference Number | Subject matter of Procurement | Bid Security |
| --- | --- | --- | --- |
| 1. | MOH/SUPLS/2021/00136 | Procurement, Supply, Delivery and Installation, training and Commissioning of Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021 | UGX 40,500,000= Per Lot |

- The Bidding document(s) shall be inspected and issued at Procurement and Disposal Units of: Sironko District Local Government (Lot 1), Mityana District Local Government (Lot 2), Lira District Local Government (Lot 3) and Sheema District Local Government (Lot 4).

- The deadline for bid submission shall be on the 12th April 2021 at 11:00am East African standard time.

- The detailed bid notice is available at the Entity’s website at pdu@health.go.ug and at www.ppda.go.ug.

……………………………………

Geoffrey Sseremba

FOR: PERMANENT SECRETARY

| Telephone: General Office:340874/231563/9 PS’s Office :256-41-340872 Fax :256-41-231584 In any correspondence on this subject please quote No.Adm…………………… |  | Ministry of Health P.O. Box 7272 Kampala, Uganda |
| --- | --- | --- |

11th March, 2021

Invitation  For  the Procurement, Supply, Delivery and Installation, training and Commissioning of Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021- Procurement Ref: MoH/SPLS/20-21/00136  (LOT 4)

1. The Government of Uganda has set aside funds to fund the Intergovernmental Fiscal Transfer (UgIFT) Program for Results (P4R). Ministry of Health under the UgIFT has earmarked 64Health Centre IIs to be upgraded to Health Centre IIIs. The Procurement is for the Supply, Delivery and Installation, training and Commissioning of Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021.

2.	The Entity therefore, invites sealed bids from the eligible bidder for the provision of the above supplies.

3. Bidding will be conducted in accordance with the Open Domestic Bidding method contained in the Public Procurement and Disposal of Public Assets Act, 2003.

4. You may obtain further information from Sheema District Local Government Procurement and Disposal Unit and inspect the bidding documents at the address given below at 7 (a) from 8:00am- 05:00pm

5. The bidding document in English may be purchased by interested bidders on the submission of written application to the address below at 7 (b) upon a payment of a non- refundable fee of Ugx 100,000 (Uganda shillings one hundred thousand only). The method of payment shall be through banks authorised to receive non tax revenue.

6.	Bids must be delivered to the address below at 7(c) at or before 11:00 am, 12th April 2021. The bid must be accompanied by a Bid Security. The Bid Security must be valid until 11th November 2021

7  (a). The documents will be issued from: Sheema District Local Government; Procurement and Disposal Unit

(b)	Bids must be delivered to:  as in 7(a) above

(c)	Address of bid opening: Sheema District Local Government; Procurement and Disposal Unit

8. The planned procurement schedule (subject to changes) is as follows:

| Activity | Date |
| --- | --- |
| Publish bid notice | 11th March 2021 |
| Pre-bid meeting/ Site visits where applicable | 17th March 2021 |
| Bid closing date | 12th April 2021 |
| Evaluation process including contracts committee approval | 13th -22nd April 2021 |
| Display and communication of best evaluated bidder notice | 26th April -7th May 2021 |
| Contract signature | 21st May 2021 After Solicitor General`s approval |

……………………………………

Geoffrey Sseremba

FOR: PERMANENT SECRETARY

PART 1 – Bidding Procedures Section 1: Instructions to Bidders

Table of Clauses

A. General	8

1.	Scope of Bid	8

2.	Source of Funds	8

3.	Corrupt Practices	8

4.	Eligible Bidders	9

5.	Eligible Supplies and Related Services	10

B.  Bidding Document	11

6.	Contents of Bidding Document	11

7.	Clarification of Bidding Document	12

8.	Amendment of Bidding Document	12

C.  Preparation of Bids	12

9.	Cost of Bidding	12

10.	Language of Bid and Communications	12

11.	Documents Comprising the Bid	12

12.	Bid Submission Sheet and Price Schedules	13

13.	Alternative Bids	14

14.	Bid Prices and Discounts	14

15.	Currencies of Bid	15

16.	Documents Establishing the Eligibility of the Bidder	16

17.	Documents Establishing the Eligibility of Supplies	16

18.	Documents Establishing the Conformity of the Supplies	16

19.	Documents Establishing the Qualifications of the Bidder	17

20.	Period of Validity of Bids	17

21.	Bid Security or Bid Securing Declaration	17

22.	Format and Signing of Bid	18

D.  Submission and Opening of Bids	18

23	Sealing and Marking of Bids	18

24	Deadline for Submission of Bids	18

25	Late Bids	19

26.	Withdrawal and Replacement of Bids	19

27.	Bid Opening	19

E.  Evaluation of Bids	20

28.	Confidentiality	20

29.	Clarification of Bids	20

30.	Compliance and Responsiveness of Bids	20

31.	Nonconformities, Errors, and Omissions	21

32.	Preliminary Examination of Bids – Eligibility and Administrative Compliance	22

33.	Detailed Commercial and Technical Evaluation	22

34	Conversion to Single Currency	22

35.	Margin of Preference	23

36.	Financial Comparison of Bids	23

37.	Determination of Best Evaluated Bid(s)	24

38.	Post-qualification of the Bidder	24

F.  Award of Contract	24

39.	Award Procedure	24

40.	Procuring and Disposing Entity’s Right to Accept or Reject Any or All Bids	24

41.	Procuring and Disposing Entity’s Right to Vary Quantities at Time of Award	24

42.	Signing and Effectiveness of Contract	25

43.	Debriefing	25

44.	Performance Security	25

46.	Administrative Review	25

| Section 1: Instructions to Bidders |
| --- |
| A. General |
| 1. Scope of Bid |  |
| 1.1 The Procuring and Disposing Entity indicated in the Bid Data Sheet (BDS), invites bids for the provision of Supplies and related Services incidental thereto as specified in Section 6, Statement of Requirements. The Instructions to Bidders should be read in conjunction with the BDS. The subject and procurement reference number, and number of lots of this Bidding Document are provided in the BDS. |
| 1.2 Throughout these Bidding Documents: (a) the term “in writing” means communicated in written form with proof of receipt; (b) if the context so requires, singular means plural and vice versa; and (c) “day” means working day. |
| 1.3 Procurement will be undertaken in compliance with the Public Procurement and Disposal of Public Assets Act, 2003 and Public Procurement and Disposal of Public Assets Regulations, 2014. |
| 2. Source of Funds |  |
| 2.1 The Procuring and Disposing Entity indicated in the BDS has an approved budget from Government funds towards the cost of the procurement named in the BDS. The Procuring and Disposing Entity intends to use these funds to place a contract for which these Bidding Documents are issued. |
| 2.2 Payments will be made directly by the Procuring and Disposing Entity and will be subject in all respects to the terms and conditions of the resulting contract placed by the Procuring and Disposing Entity. |
| 3. Corrupt Practices |  |
| 3.1 It is the Government of Uganda’s policy to require that Procuring and Disposing Entities, as well as Bidders and Providers observe the highest standards of ethics during procurement and the execution of contracts. In pursuit of this policy, the Government of Uganda; (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) “corrupt practice” means the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value, to influence the action of a public official in the procurement process or in contract execution; and (ii) “fraudulent practice” is any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; (iii) “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party; (iv) “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party; (b) will reject a recommendation for award if it determines that the Bidder recommended for award has engaged in corrupt, fraudulent, collusive or coercive practices in competing for the Contract; (c) will suspend a Provider from engaging in any public procurement proceeding for a stated period of time, if it at any time determines that the Provider has engaged in corrupt, fraudulent, collusive or coercive practices in competing for, or in executing, a Government contract. |
| 3.2 Furthermore, Bidders shall be aware of the provision stated in Sub-Clause 3.2 and Sub-Clause 36.1 (g) of the General Conditions of Contract. |
| 3.3 In pursuit of the policy defined in Sub-Clause 3.1, the Procuring and Disposing Entity may terminate a contract or be ordered by the Public Procurement and Disposal of Public Assets Appeals Tribunal to cancel a contract if it at any time determines that corrupt, fraudulent, collusive or coercive practices were engaged in by representatives of the Procuring and Disposing Entity or of a Bidder or Provider during the procurement or the execution of that contract. |
| 3.4 In pursuit of the policy defined in Sub-clause 3.1, the Government of Uganda requires representatives of both the Procuring and Disposing Entities and of Bidders and Providers to adhere to the relevant codes of ethical conduct. The Code of Ethical Conduct for Bidders and Providers as provided in the bidding forms shall be signed by the Bidder and submitted together with the other bidding forms. 3.5 In pursuit of the policy defined in Sub-clause 3.1, the Government of Uganda may suspend a provider from engaging in any public procurement or disposal process for a period determined by the Authority, where the provider is debarred from the procurement processes of an international agency of which Uganda is a member. |
| 3.6 Any communications between a Bidder and the Procuring and Disposing Entity related to matters of alleged fraud or corruption must be made in writing and addressed to the Accounting Officer of the Procuring and Disposing Entity. |
| 4. Eligible Bidders |  |
| 4.1 A Bidder, and all parties constituting the Bidder, shall meet the following criteria to be eligible to participate in public procurement: (a) the bidder has the legal capacity to enter into a contract; (b) the bidder is not: (i) insolvent; (ii) in receivership; (iii) bankrupt; or (iv) being wound up (c) the bidder’s business activities have not been suspended; (d) the bidder is not the subject of legal proceedings for any of the circumstances in (b); and (e) the bidder has fulfilled his or her obligations to pay taxes and social security contributions. |
| 4.2 A Bidder may be a natural person, private entity, and government-owned entity, subject to ITB Sub-Clause 4.6, any combination of them with a formal intent to enter into an agreement or under an existing agreement in the form of a joint venture, consortium, or association. In the case of a joint venture, consortium, or association, all parties shall be jointly and severally liable. For bids submitted by an existing or intended JV, a Power of Attorney from each member of the JV nominating a Representative in the JV and a Power of Attorney from the JV nominating a representative who shall have the authority to conduct all business for and on behalf of any and all the parties of the JV during the bidding process and, in the event the JV is awarded the Contract, during contract execution. |
| 4.3 A Bidder, and all parties constituting the Bidder including sub-contractors, shall have the nationality of an eligible country, in accordance with Section 5, Eligible Countries. A Bidder shall be deemed to have the nationality of a country if the Bidder is a citizen or is constituted, incorporated, or registered and operates in conformity with the provisions of the laws of that country. This criterion shall also apply to the determination of the nationality of proposed subcontractors for any part of the Contract including related services. |
| 4.4 A Bidder shall not have a conflict of interest. All Bidders found to be in conflict of interest shall be disqualified. A Bidder may be considered to have a conflict of interest with one or more parties in this bidding process, if they: (a) have controlling shareholders in common; or (b) receive or have received any direct or indirect subsidy from any of them; or (c) have the same legal representative for purposes of this bid; or |
| (d) have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about or influence on the bid of another Bidder, or influence the decisions of the Procuring and Disposing Entity regarding this bidding process; or |
| (e) submit more than one bid in this bidding process, except for alternative offers permitted under ITB Clause 13. However, this does not limit the participation of subcontractors in more than one bid, or as Bidders and subcontractors simultaneously; or (f) participated as a consultant in the preparation of the design or technical specifications of the Supplies and related services that are the subject of the bid. |
| 4.5 A firm that is under a declaration of suspension by the Authority in accordance with ITB Clause 3.5, at the date of the deadline for bid submission or thereafter before contract signature, shall be disqualified. |
| 4.6 Government-owned enterprises shall be eligible only if they can establish that they are legally and financially autonomous and operate under commercial law. |
| 4.7 Bidders shall provide such evidence of their continued eligibility satisfactory to the Procuring and Disposing Entity, as the Procuring and Disposing Entity shall reasonably request. |
| 5. Eligible Supplies and Related Services |  |
| 5.1 All Supplies and related Services to be supplied under the Contract shall have as their country of origin an eligible country in accordance with Section 5, Eligible Countries. |
| 5.2 For purposes of this Clause, the term “Supplies” means goods, raw materials, products, livestock, assets, land, equipment or objects of any kind and description in solid, liquid or gaseous form, or in the form of electricity, or intellectual and proprietary rights as well as works or services incidental to the provision of such supplies where the value of such works or services does not exceed the value of the supplies. |
| 5.3 The term “country of origin” means the country where the Supplies have been mined, grown, cultivated, produced, manufactured, or processed, or through manufacture, processing, or assembly, another commercially recognised article results that differs substantially in its basic characteristics from its imported components. |
| 5.4 The nationality of the Provider that produces, assembles, distributes, or sells the Supplies shall not determine their origin. |
| 5.5 If so required in the BDS, the Bidder shall demonstrate that it has been duly authorised by the Manufacturer of the Supplies to supply, in the Republic of Uganda, the Supplies indicated in its bid. |
| B. Bidding Document |
| 6. Contents of Bidding Document |  |
| 6.1 The Bidding Document consists of Parts 1, 2, and 3, which include all the Sections indicated below, and should be read in conjunction with any addenda issued in accordance with ITB Clause 8. |
| PART 1 Bidding Procedures Section 1. Instructions to Bidders (ITB) Section 2. Bid Data Sheet (BDS) Section 3. Evaluation Methodology and Criteria Section 4. Bidding Forms Section 5. Eligible Countries PART 2 Statement of Requirements Section 6. Statement of Requirements PART 3 Contract Section 7. General Conditions of Contract (GCC) for the Procurement of Supplies Section 8. Special Conditions of Contract (SCC) Section 9. Contract Forms |
| 6.2 The Bid Notice, Pre-qualification Notice or letter of invitation is not part of the Bidding Document. 6.3 Bidders who did not obtain the Bidding Document directly from the Procuring and Disposing Entity will be rejected during evaluation. Where a Bidding Document is obtained from the Procuring and Disposing Entity on a Bidder’s behalf, the Bidder’s name must be registered with the Procuring and Disposing Entity at the time of sale and issue. 6.4 The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Document. Failure to furnish all information or documentation required by the Bidding Document may result in the rejection of the bid. 6.5 Where an electronic copy of the bidding document is issued, the paper or hard copy of the bidding document is the original version. In the event of any discrepancy between the two, the hard copy shall prevail. |
| 7. Clarification of Bidding Document |  |
| A prospective Bidder requiring any clarification of the Bidding Document shall contact the Procuring and Disposing Entity in writing at the Procuring and Disposing Entity’s address indicated in the BDS. The Procuring and Disposing Entity will respond in writing to any request for clarification, provided that such request is received no later than the date indicated in the BDS. The Procuring and Disposing Entity shall forward copies of its response to all Bidders who have acquired the Bidding Document directly from it, including a description of the inquiry but without identifying its source. Should the Procuring and Disposing Entity deem it necessary to amend the Bidding Document as a result of a clarification, it shall do so following the procedure under ITB Clause 8 and Sub-Clause 24.2. |
| 8. Amendment of Bidding Document |  |
| 8.1 At any time prior to the deadline for submission of bids, the Procuring and Disposing Entity may amend the Bidding Document by issuing addenda. 8.2 Any addendum issued shall be part of the Bidding Document and shall be communicated in writing to all who have obtained the Bidding Document directly from the Procuring and Disposing Entity. 8.3 To give prospective Bidders reasonable time in which to take an addendum into account in preparing their bids, the Procuring and Disposing Entity may, at its discretion, extend the deadline for the submission of bids, pursuant to ITB Sub-Clause 24.2. |
| C. Preparation of Bids |
| 9. Cost of Bidding |  |
| 9.1 The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Procuring and Disposing Entity shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process. |
| 10. Language of Bid and Communications |  |
| 10.1 The medium of communication shall be in writing unless otherwise specified in the BDS. 10.2 The bid, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Procuring and Disposing Entity, shall be written in English unless otherwise specified in the BDS. 10.3 Supporting documents and printed literature that are part of the bid may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the bid, such translation shall govern. |
| 11. Documents Comprising the Bid |  |
| The bid shall comprise the following: (a) the Bid Submission Sheet and the applicable Price Schedules, in accordance with ITB Clauses 12, 14, and 15; (b) a Bid Security or a Bid Securing Declaration, in accordance with ITB Clause 21; (c) written confirmation authorising the signatory of the bid to commit the Bidder, in accordance with ITB Clause 22; |
| (d) documentary evidence in accordance with ITB Clause 16 establishing the Bidder’s eligibility to bid; (e) documentary evidence in accordance with ITB Clause 17 establishing that the Supplies and Related Services to be supplied by the Bidder are of eligible origin; |
| (f) documentary evidence in accordance with ITB Clauses 18 and 30, that the Supplies and Related Services conform to the Bidding Documents; (g) documentary evidence in accordance with ITB Clause 19 establishing the Bidder’s qualifications to perform the contract if its bid is accepted; (h) The Code of Ethical Conduct for Bidders and Providers in accordance with ITB Clause 3.4; and (i) any other document(s) required in the BDS. |
| 12. Bid Submission Sheet and Price Schedules |  |
| 12.1 The Bidder shall submit the Bid Submission Sheet using the form provided in Section 4, Bidding Forms. This form must be completed without any alterations to its format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested, which includes: (a) the reference of the Bidding Document and the number of each addendum received; (b) a brief description of the Supplies and Related Services offered; (c) the total bid price; |
| (d) any discounts offered and the methodology for their application; (e) the period of validity of the bid; (f) a commitment to submit any Performance Security required and the amount; |
| (g) a declaration of nationality of the Bidder; (h) a commitment to adhere to the Code of Ethical Conduct for Bidders and Providers; (i) a declaration that the Bidder, including all parties comprising the Bidder, is not participating, as a Bidder, in more than one bid in this bidding process; except for alternative bids in accordance with ITB Clause 13; (j) confirmation that the Bidder has not been suspended by the Authority; |
| (k) a declaration on gratuities and commissions; and (l) an authorised signature. |
| 12.2 The Bidder shall submit the Price Schedule for Supplies and Related Services, using the format provided in Section 4, Bidding Forms. The Price Schedule shall include, as appropriate: |
| (a) the item number; (b) a brief description of the Supplies or Related Services to be supplied; (c) their country of origin and percentage of Ugandan or East African Community content; |
| (d) the quantity; (e) the unit prices, with a separate unit price ex-factory and for delivery and incidental costs according to the delivery terms (Incoterms); (f) customs duties and all taxes paid or payable in Uganda; |
| (g) the total price per item; (h) subtotals and totals per Price Schedule; and (i) an authorised signature. |
| 13. Alternative Bids |  |
| 13.1 Alternative bids shall not be considered unless otherwise indicated in the BDS. 13.2 Where permitted, alternative bids do not need to conform precisely to the Statement of Requirements, but must - (a) meet the objectives and/or performance requirements prescribed in the Statement of Requirements; (b) be substantially within any delivery or completion schedule, budget or other performance parameters stated in the solicitation document; and (c) Clearly state the benefits of the alternative bid over any solution which conforms precisely to the Statement of Requirements, in terms of technical performance, price, operating costs or any other benefit. 13.3 A bidder may submit both a main bid which conforms precisely to the Statement of Requirements and an alternative bid. 13.4 Where a bidder submits more than one bid, each bid shall be submitted as a completely separate bid and shall conform to the instructions for preparation and submission of bids in its own right, without any reliance on any other bid. In particular, each bid shall be separately signed, authorised, sealed, labelled and submitted in accordance with the instructions for submission of bids and shall be accompanied by a separate Bid Security or Bid Securing Declaration, if so required. Such bids shall be labelled “Main Bid” and “Alternative Bid”. 13.5 The evaluation of alternative bids shall use the same methodology, criteria and weights as the evaluation of main bids, except that the detailed technical evaluation shall take into account only the objectives and/or performance requirements prescribed in the Statement of Requirements. |
| 14. Bid Prices and Discounts |  |
| 14.1 The prices and discounts quoted by the Bidder in the Bid Submission Sheet and in the Price Schedules shall conform to the requirements specified below. 14.2 All items in the Schedule of Supply must be listed and priced separately in the Price Schedules. If a Price Schedule shows items listed but not priced, their prices shall be assumed to be included in the prices of other items. Items not listed in the Price Schedule shall be assumed to be not included in the bid, and provided that the bid is substantially responsive, the corresponding adjustment shall be applied in accordance with ITB Sub-Clause 31.3. |
| 14.3 The price to be quoted in the Bid Submission Sheet, in accordance with ITB Sub-Clause 12.1(c), shall be the total price of the bid, excluding any discounts offered. |
| 14.4 The Bidder shall quote any unconditional and conditional discounts and the methodology for their application in the Bid Submission Sheet, in accordance with ITB Sub-Clause 12.1(d) and ITB Sub-Clause 14.8 respectively. |
| 14.5 The terms EXW, CIP, and other similar terms shall be governed by the rules prescribed in the edition of Incoterms, published by The International Chamber of Commerce, as specified in the BDS. |
| 14.6 Prices quoted on the Price Schedule for Supplies and Related Services, shall be disaggregated, when appropriate as indicated in this sub-clause. This disaggregation shall be solely for the purpose of facilitating the comparison of bids by the Procuring and Disposing Entity. This shall not in any way limit the Procuring and Disposing Entity’s right to contract on any of the terms offered: (a) for Supplies; the price of the Supplies, quoted CIP or other Incoterm as specified in the BDS; all custom duties, sales tax, and other taxes applicable in Uganda, paid or payable, on the Supplies or on the components and raw materials used in their manufacture or assembly, if the Contract is awarded to the Bidder; and the total price for the item. (b) for Related Services; the price of the Related Services; all custom duties, sales tax, and other taxes applicable in Uganda, paid or payable, on the Related Services, if the Contract is awarded to the Bidder; and the total price for the item. |
| 14.7 Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the Contract and not subject to variation on any account, unless otherwise specified in the BDS. A bid submitted with an adjustable price quotation shall be treated as non-responsive and shall be rejected, pursuant to ITB Clause 30. However, if in accordance with the BDS, prices quoted by the Bidder shall be subject to adjustment during the performance of the Contract, a bid submitted with a fixed price quotation shall not be rejected, but the price adjustment shall be treated as zero. |
| 14.8 If so indicated in ITB Sub-Clause 1.1, bids are being invited for individual contracts (lots) or for any combination of contracts (packages). Bidders wishing to offer any price reduction for the award of more than one Contract shall specify in their bid the price reductions applicable to each package, or alternatively, to individual Contracts within the package. Price reductions or discounts shall be submitted in accordance with ITB Sub-Clause 14.4, provided the bids for all lots are submitted and opened at the same time. |
| 15. Currencies of Bid |  |
| 15.1 Bid prices shall be quoted in the following currencies: (a) for Supplies and Related Services originating in Uganda, the bid prices shall be quoted in the currency of Uganda, unless otherwise specified in the BDS; and (b) for Supplies and Related Services originating outside Uganda, or for imported parts or components of Supplies and Related Services originating outside Uganda, the bid prices shall be quoted in the currency of the expense or in the currency of the Bidder’s country unless otherwise specified in the BDS. 15.2 Alternatively, the Procuring and Disposing Entity may request that prices quoted be expressed in the currency specified in the BDS. If the Bidder wishes to be paid in a currency or a combination of currencies different from the one in which it was requested to express its quotation, it shall as part of its offer: indicate its requirement to be paid in other currencies, including the amount in each currency or the percentage of the quoted price corresponding to each currency; justify, to the Procuring and Disposing Entity’s satisfaction, the requirement to be paid in the currencies requested; and utilise the rate of exchange specified by the Procuring and Disposing Entity to express its offer in the currency required by the Procuring and Disposing Entity. The source, date, and type of exchange rate to be used is indicated in the BDS, in accordance with ITB Clause 34, and shall not precede the bid submission deadline by less than twenty one (21) days. |
| 16. Documents Establishing the Eligibility of the Bidder |  |
| To establish their eligibility in accordance with ITB Clause 4, Bidders shall complete the eligibility declarations in the Bid Submission Sheet, included in Section 4, Bidding Forms and submit the documents required in Section 3 Evaluation Methodology and Criteria. |
| 17. Documents Establishing the Eligibility of Supplies |  |
| 17.1 To establish the eligibility of the Supplies and Related Services, in accordance with ITB Clause 5, Bidders shall complete the country of origin declarations in the Price Schedule included in Section 4, Bidding Forms. 17.2 Bidders with a current registration with the Authority are not required to submit: (a) a copy of the bidder’s current trading licence or equivalent; (b) a copy of the bidder’s certificate of registration or equivalent; but should include details of their Authority registration number in the bid submission sheet. |
| 18. Documents Establishing the Conformity of the Supplies |
| 18.1 To establish the conformity of the Supplies and Related Services to the Bidding Documents, the Bidder shall provide as part of its bid the documentary evidence specified in Section 6, Statement of Requirements. 18.2 The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed description of the essential technical and performance characteristics of the Supplies and Related Services, demonstrating substantial responsiveness of the Supplies and Related Services to those requirements, and if applicable, a statement of deviations and exceptions to the provisions of the Statement of Requirements. |
| 18.3 If so stated in the BDS bidders may be required to submit representative samples of the Supplies being offered and/or be requested to demonstrate the operation of the supplies to the Procuring and Disposing Entity. |
| 18.4 Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Procuring and Disposing Entity in the Statement of Requirement, are intended to be descriptive only and not restrictive. The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Procuring and Disposing Entity’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Statement of Requirement. |
| 19. Documents Establishing the Qualifications of the Bidder |  |
| To establish its qualifications to perform the Contract, the Bidder shall submit the evidence indicated for each qualification criteria specified in Section 3, Evaluation Methodology and Criteria. |
| 20. Period of Validity of Bids |  |
| 20.1 Bids shall remain valid until the date specified in the BDS. A bid valid for a shorter period shall be rejected by the Procuring and Disposing Entity as non-compliant. 20.2 The Procuring and Disposing Entity will make its best effort to complete the procurement process within this period |
| 20.3 In exceptional circumstances, prior to the expiration of the bid validity period, the Procuring and Disposing Entity may request Bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. If a Bid Security or a Bid Securing Declaration is requested in accordance with ITB Clause 21, it shall also be extended for a corresponding period. A Bidder may refuse the request without forfeiting its Bid Security or being liable for suspension in case of a Bid Securing Declaration. A Bidder granting the request shall not be required or permitted to modify its bid. |
| 21. Bid Security or Bid Securing Declaration |
| 21.1 The Bidder shall furnish as part of its bid, a Bid Security or a Bid-Securing Declaration, if required, as specified in the BDS. 21.2 The Bid Security shall be in the amount specified in the BDS and denominated in the currency of Uganda or a freely convertible currency, and shall: a) at the bidder’s option, be in the form of either a letter of credit, or a bank guarantee, or Bank draft or Cashier’s Check from a banking institution; b) be issued by a reputable financial institution selected by the bidder from an eligible country. If the institution issuing the security is located outside the Uganda, it shall have a correspondent financial institution located in Uganda to make it enforceable; c) be substantially in accordance with the form of Bid Security included in Section 4, Bidding Forms; d) be payable promptly upon written demand by the Procuring and Disposing Entity in case the conditions listed in ITB Clause 21.6are invoked; e) be submitted in its original form - copies will not be accepted. |
| 21.3 The Bid Security or Bid Securing Declaration shall be submitted using the appropriate form included in Section 4, Bidding Forms and shall remain valid until the date specified in the BDS. |
| 21.4 Any bid not accompanied by a substantially responsive Bid Security or Bid Securing Declaration, if one is required in accordance with ITB Sub-Clause 21.1, shall be rejected by the Procuring and Disposing Entity as non-compliant. |
| 21.5 The Bid Security or Bid Securing Declaration of all Bidders shall be returned as promptly as possible once the successful Bidder has signed the Contract and provided the required Performance Security where applicable or upon request by the unsuccessful bidder after publication of the notice of best evaluated bidder. |
| 21.6 If a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Submission Sheet, except as provided in ITB Sub-Clause 20.2; or |
| If the successful Bidder fails to: sign the Contract in accordance with ITB Clause 42; furnish any Performance Security in accordance with ITB Clause 44; or accept the correction of its bid price pursuant to ITB Sub-Clause 31.5. The Bid Security may be forfeited or Bid Securing Declaration executed. |
| 22. Format and Signing of Bid |  |
| 22.1 The Bidder shall prepare one original of the documents comprising the bid as described in ITB Clause 11 and clearly mark it “ORIGINAL.” In addition, the Bidder shall submit copies of the bid, in the number specified in the BDS and clearly mark each of them “COPY.” In the event of any discrepancy between the original and the copies, the original shall prevail. |
| 22.2 The original and all copies of the bid shall be typed or written in indelible ink and shall be signed by a person duly authorised to sign on behalf of the Bidder. This authorisation shall consist of a Power of Attorney which if signed in Uganda shall be registered and if signed outside Uganda, shall be notarized and shall be attached to the bid. The name and position held by each person signing the authorisation must be typed or printed below the signature. All pages of the bid, except for unamended printed literature, shall be signed or initialled by the person signing the bid. |
| 22.3 Any interlineations, erasures, or overwriting shall be valid only if they are signed or initialled by the person signing the bid. |
| D. Submission and Opening of Bids |
| 23 Sealing and Marking of Bids |  |
| 23.1 The Bidder shall enclose the original and each copy of the bid, in separate sealed envelopes, duly marking the envelopes as “ORIGINAL” and “COPY.” These envelopes containing the original and the copies shall then be enclosed in one single plain envelope securely sealed in such a manner that opening and resealing cannot be achieved undetected. |
| 23.2 The inner and outer envelopes shall: (a) bear the name and address of the Bidder; (b) be addressed to the Procuring and Disposing Entity in accordance with ITB Sub-Clause 24.1; |
| (c) bear the Procurement Reference number of this bidding process; and (d) bear a warning not to open before the time and date for bid opening, in accordance with ITB Sub-Clause 27.1. |
| 23.3 If all envelopes are not sealed and marked as required, the Procuring and Disposing Entity will assume no responsibility for the misplacement or premature opening of the bid. |
| 24 Deadline for Submission of Bids |  |
| 24.1 Bids must be received by the Procuring and Disposing Entity at the address and no later than the date and time indicated in the BDS. 24.2 The Procuring and Disposing Entity may, at its discretion, extend the deadline for the submission of bids by amending the Bidding Documents in accordance with ITB Clause 8, in which case all rights and obligations of the Procuring and Disposing Entity and Bidders previously subject to the deadline shall thereafter be subject to the deadline as extended. |
| 25 Late Bids |  |
| The Procuring and Disposing Entity shall not consider any bid that arrives after the deadline for submission of bids, in accordance with ITB Clause 24. Any bid received by the Procuring and Disposing Entity after the deadline for submission of bids shall be declared late, rejected, and returned unopened to the Bidder. |
| 26. Withdrawal and Replacement of Bids |  |
| 26.1 A Bidder may withdraw or replace its bid after it has been submitted at any time before the deadline for submission of bids by sending a written notice, duly signed by an authorised representative, which shall include a copy of the authorisation in accordance with ITB Sub-Clause 22.2. Any corresponding replacement of the bid must accompany the respective written notice. All notices must be: (a) submitted in accordance with ITB Clauses 22 and 23 (except that withdrawals notices do not require copies), and in addition, the respective envelopes shall be clearly marked “Withdrawal,” or “REPLACEMENT,” and (b) received by the Procuring and Disposing Entity prior to the deadline prescribed for submission of bids, in accordance with ITB Clause 24. |
| 26.2 Bids requested to be withdrawn in accordance with ITB Sub-Clause 26.1 shall be returned unopened to the Bidder. |
| 26.3 No bid may be withdrawn or replaced in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Submission Sheet or any extension thereof. 26.4 Bids may only be modified by withdrawal of the original bid and submission of a replacement bid in accordance with ITB Sub-Clause 26.1. Modifications submitted in any other way shall not be taken into account in the evaluation of bids. |
| 27. Bid Opening |  |
| 27.1 The Procuring and Disposing Entity shall conduct the bid opening in the presence of Bidders` designated representatives who choose to attend, at the address, date and time specified in the BDS. |
| 27.2 First, envelopes marked “WITHDRAWAL” shall be opened and read out and the envelope with the corresponding bid shall not be opened, but returned to the Bidder. No bid withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorisation to request the withdrawal and is read out at the bid opening. All other envelopes including those marked “REPLACEMENT” shall be opened and the relevant details read out. Replacement bids shall be recorded as such on the record of the bid opening. Only envelopes that are opened and read out at the bid opening shall be considered further. |
| 27.3 All other envelopes shall be opened one at a time, reading out: the name of the Bidder; the bid price, per lot where applicable, including any discounts; the presence of a Bid Security or Bid Securing Declaration, if required; and any other details that the Procuring and Disposing Entity may consider appropriate. Only discounts and alternative offers read out at the bid opening shall be considered for evaluation. No bid shall be rejected at the bid opening except for late bids, in accordance with ITB Sub-Clause 25.1. |
| 27.4 The Procuring and Disposing Entity shall prepare a record of the bid opening that shall include, as a minimum: the name of the Bidder and whether there is a withdrawal and/or replacement; the bid price, per lot if applicable, including any discounts; and the presence or absence of a Bid Security Bid Securing Declaration, if one was required. The Bidders’ representatives who are present shall be requested to sign the record. The omission of a Bidder’s signature on the record shall not invalidate the contents and effect of the record. A copy of the record shall be distributed to Bidders upon payment of a fee and displayed on the Procuring and Disposing Entity’s Notice Board within one working day from the date of the bid opening. |
| E. Evaluation of Bids |
| 28. Confidentiality |  |
| 28.1 Information relating to the examination, evaluation, comparison, and post-qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until information detailing the Best Evaluated Bidder is communicated to all Bidders. |
| 28.2 Any effort by a Bidder to influence the Procuring and Disposing Entity in the examination, evaluation, comparison, and post-qualification of the bids or contract award decisions may result in the rejection of its bid. |
| 28.3 Notwithstanding ITB Sub-Clause 28.2, from the time of bid opening to the time of Contract award, if any Bidder wishes to contact the Procuring and Disposing Entity on any matter related to the bidding process, it should do so in writing. |
| 29. Clarification of Bids |  |
| To assist in the examination, evaluation, comparison and post-qualification of the bids, the Procuring and Disposing Entity may, at its discretion, ask any Bidder for a clarification of its bid. Any clarification submitted by a Bidder that is not in response to a request by the Procuring and Disposing Entity shall not be considered. The Procuring and Disposing Entity’s request for clarification and the response shall be in writing. All requests for clarification shall be copied to all bidders for information purposes. No change in the prices or substance of the bid shall be sought, offered, or permitted, except to confirm the correction of arithmetic errors discovered by the Procuring and Disposing Entity in the evaluation of the bids, in accordance with ITB Clause 31.4. |
| 30. Compliance and Responsiveness of Bids |
| 30.1 The Procuring and Disposing Entity’s determination of a bid’s compliance and responsiveness is to be based on the contents of the bid itself. |
| 30.2 A substantially compliant and responsive bid is one that conforms to all the terms, conditions, and specifications of the Bidding Documents without material deviation, reservation, or omission. A material deviation is a deviation that- (a) affects in a substantial way, the scope or quality of the supplies or services or the performance of the works to be procured; (b) is inconsistent with the bidding document and which may in a substantial way, limit the rights of the procuring and disposing entity or the obligations of the bidder under the contract; (c) if corrected would unfairly affect the competitive position of the other bidders whose bids are administratively compliant and responsive; or (d) impacts the key factors of a procurement including cost, risk, time and quality and causes - (i) unacceptable time schedules, where it is stated in the bidding document that time is of the essence; (ii) unacceptable alternative technical details, such as design, materials, workmanship, specifications, standards or methodologies; or (iii) unacceptable counter-bids with respect to key contract terms and conditions, such as payment terms, price adjustment, liquidated damages, sub-contracting or warranty. |
| 30.3 If a bid is not substantially compliant and responsive to the Bidding Document, it shall be rejected by the Procuring and Disposing Entity and may not subsequently be made compliant and responsive by the Bidder by correction of the material deviation, reservation, or omission. |
| 31. Nonconformities, Errors, and Omissions |  |
| 31.1 Provided that a bid is substantially compliant and responsive, the Procuring and Disposing Entity may waive any non-conformity or omissions in the bid that does not constitute a material deviation. |
| 31.2 Provided that a bid is substantially compliant and responsive, the Procuring and Disposing Entity may request that the Bidder submit the necessary information or documentation, within a reasonable period of time, to rectify nonmaterial nonconformities or omissions in the bid related to documentation requirements. Such omission shall not be related to any aspect of the price of the bid. Failure of the Bidder to comply with the request may result in the rejection of its bid. |
| 31.3 Provided that a bid is substantially compliant and responsive, the Procuring and Disposing Entity shall rectify nonmaterial nonconformities or omissions. To this effect, the bid price shall be adjusted, for comparison purposes only, to reflect the price of the missing or non-conforming item or component. The cost of any missing items will be added to the bid price using the highest price from other Bids submitted. |
| 31.4 Provided that the bid is substantially compliant and responsive, the Procuring and Disposing Entity shall correct arithmetic errors on the following basis: (a) if there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected, unless in the opinion of the Procuring and Disposing Entity there is an obvious misplacement of the decimal point in the unit price, in which case the total price as quoted shall govern and the unit price shall be corrected; |
| (b) if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and (c) if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject to (a) and (b) above. |
| 31.5 If the Bidder that submitted the best evaluated bid does not accept the correction of errors, its bid shall be rejected and its Bid Security may be forfeited or Bid Securing Declaration executed. |
| 32. Preliminary Examination of Bids – Eligibility and Administrative Compliance |
| 32.1 The Procuring and Disposing Entity shall examine the legal documentation and other information submitted by Bidders to verify the eligibility of Bidders and Supplies and related services in accordance with ITB Clauses 4 and 5. 32.2 If after the examination of eligibility, the Procuring and Disposing Entity determines that the Bidder, the Supplies and/or the related Services are not eligible, it shall reject the bid. 32.3 The Procuring and Disposing Entity shall examine the bids to confirm that all documents and technical documentation requested in ITB Clause 11 have been provided, and to determine the completeness of each document submitted. |
| 32.4 The Procuring and Disposing Entity shall confirm that the following documents and information have been provided in the bid. If any of these documents or information is missing, the offer shall be rejected. (a) the Bid Submission Sheet, including: a brief description of the Supplies and Related Services offered; the price of the bid; and the validity date of the bid; (b) the Price Schedule; |
| (c) written confirmation of authorisation to commit the Bidder; and (d) a Bid Security or Bid Securing Declaration, if applicable. |
| 33. Detailed Commercial and Technical Evaluation |  |
| 33.1 The Procuring and Disposing Entity shall examine the bid to confirm that all terms and conditions specified in the GCC and the SCC have been accepted by the Bidder without any material deviation or reservation. 33.2 If, after the examination of the terms and conditions, the Procuring and Disposing Entity determines that the bid is not substantially responsive in accordance with ITB Clause 30, it shall reject the bid. 33.3 The Procuring and Disposing Entity shall evaluate the technical aspects of the bid submitted in accordance with ITB Clause 18, to confirm that all requirements specified in Section 6, Statement of Requirements of the Bidding Document have been met without any material deviation or reservation. 33.4 If, after the technical evaluation, the Procuring and Disposing Entity determines that the bid is not substantially compliant in accordance with ITB Clause 30, it shall reject the bid. |
| 34 Conversion to Single Currency |  |
| For evaluation and comparison purposes, the Procuring and Disposing Entity shall convert all bid prices expressed in amounts in various currencies into a single currency, using the selling exchange rate established by the source and on the date specified in the BDS. |
| 35. Margin of Preference |  |
| 35.1 Unless otherwise specified in the BDS, a margin of preference shall apply. Where a Margin of Preference applies, its application and detail shall be specified in Section 3, Evaluation Methodology and Criteria. |
| 35.2 For the purpose of granting a margin of domestic preference, bids will be classified in one of two groups, as follows: (a) Group A: Goods manufactured in Uganda, for which (i) labour, raw materials, and components from within Uganda account for more than thirty (30) percent of the EXW price; and (ii) the production facility in which they will be produced or manufacture is in Uganda on the date of bid submission. (b) Group B: Goods of foreign origin already imported or to be imported by the Purchaser directly or through the Supplier’s local agent. |
| 35.3 Bidders claiming eligibility for a Margin of Preference must provide documentary evidence that at least thirty percent of the labour, raw materials and components of the goods originate in Uganda and that the production facility in which the goods are to be assembled or processed is engaged in the manufacturing, assembling or processing of the goods at the time of submission of the bid. |
| 36. Financial Comparison of Bids |  |
| 36.1 The Procuring and Disposing Entity shall financially evaluate each bid that has been determined, up to this stage of the evaluation, to be substantially compliant and responsive. |
| 36.2 To financially evaluate a bid, the Procuring and Disposing Entity shall only use the criteria and methodologies defined in this Clause and in Section 3, Evaluation Methodology and Criteria. No other criteria or methodology shall be permitted. |
| 36.3 The Procuring and Disposing Entity’s financial comparison of bids may require the consideration of factors other than costs, in addition to the bid price quoted in accordance with ITB Clause 14. These factors may be related to the characteristics, performance, and terms and conditions of purchase of the Supplies and Related Services. The factors selected, if any, shall be expressed in monetary terms to facilitate comparison of bids, unless otherwise specified in Section 3, Evaluation Methodology and Criteria. The factors to be used and the methodology of application shall be indicated of Section 3, Evaluation Methodology and Criteria. |
| 36.4 To financially compare bids, the Procuring and Disposing Entity shall: (a) determine the bid price, taking into account the costs listed of Section 3, Evaluation Methodology and Criteria; (b) correct any arithmetic errors in accordance with ITB Sub-Clause 31.4; (c) apply any unconditional discounts offered in accordance with ITB Sub-Clause 12.1(d); |
| (d) make adjustments for any nonmaterial nonconformities and omissions in accordance with ITB Sub-Clause 31.3; (e) apply any non-cost factors in accordance with ITB Sub-Clause 36.3; (f) convert all bids to a single currency in accordance with ITB Clause 34; (g) apply any margin of preference in accordance with ITB Clause 35; (h) determine the total evaluated price of each bid. |
| 37. Determination of Best Evaluated Bid(s) |  |
| The Procuring and Disposing Entity shall compare all substantially compliant and responsive bids to determine the best evaluated bid or bids, in accordance with Section 3, Evaluation Methodology and Criteria. |
| 38. Post-qualification of the Bidder |  |
| 38.1 The Procuring and Disposing Entity shall determine to its satisfaction whether the Bidder that is selected as having submitted the best evaluated bid is qualified to perform the Contract satisfactorily. |
| 38.2 The determination shall be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, pursuant to ITB Clause 19, to clarifications in accordance with ITB Clause 29 and the qualification criteria indicated in Section 3, Evaluation Methodology and Criteria. Factors not included in Section 3 shall not be used in the evaluation of the Bidder’s qualification. |
| 38.3 An affirmative determination shall be a prerequisite for award of the Contract to the Bidder. A negative determination shall result in disqualification of the bid, in which event the Procuring and Disposing Entity shall proceed to the next best evaluated bid to make a similar determination of that Bidder’s capabilities to perform satisfactorily. |
| 38.4 If pre-qualification has been conducted, no post-qualification will be conducted but pre-qualification information shall be verified. |
| F. Award of Contract |
| 39. Award Procedure |  |
| 39.1 The Procuring Entity shall issue a Notice of Best Evaluated Bidder within 5 working days after the decision of the contracts committee to award a contract, place such Notice on its notice board for a prescribed period, copy the Notice to all Bidders and to the Authority for publication on its website. 39.2 No contract shall be signed within period of ten (10) working days after the date of display of the best evaluated bidder notice. 39.3 The Procuring and Disposing Entity shall award the Contract to the Bidder whose offer has been determined to be the best evaluated bid, provided that the Bidder is determined to be qualified to perform the Contract satisfactorily. 39.3 Negotiations will only be held in exceptional circumstances as provided for under the PPDA Act. 40. Procuring and Disposing Entity’s Right to Accept or Reject Any or All Bids The Procuring and Disposing Entity reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract signature and issue by the Procuring and Disposing Entity, without thereby incurring any liability to Bidders. |
| 41. Procuring and Disposing Entity’s Right to Vary Quantities at Time of Award |
| 41.1 At the time the Contract is awarded, the Procuring and Disposing Entity reserves the right to increase or decrease the quantity of Supplies and Related Services originally specified in Section 6, Statement of Requirements, provided this does not exceed the percentages indicated in the BDS, and without any change in the unit prices or other terms and conditions of the bid and the Bidding Document. 41.2 Negotiations will only be held in exceptional circumstances. |
| 42. Signing and Effectiveness of Contract |
| 42.1 On expiry of the ten (10) working day period after the display of the Best Evaluated Bidder, and upon approval of the Attorney General where applicable, the Procuring and Disposing Entity shall sign a contract with the successful Bidder. 42.2 Failure by the successful Bidder to sign the contract shall constitute sufficient ground for annulment of the contract award. 42.3 Effectiveness of the contract shall be subject to submission of a satisfactory Performance Security where applicable and any other conditions specified in the Contract. |
| 43. Debriefing |
| Where a bidder requests information on the reasons for the success or failure of their bid, the Procuring and Disposing Entity shall promptly give the bidder a written debrief after the signing of the contract. |
| 44. Performance Security |
| 44.1 Within twenty-one (21) days of signing of the contract, the successful Bidder shall where applicable, furnish to the Procuring and Disposing Entity a Performance Security in the amount stipulated in the SCC and in the form of on demand Bank Guarantee as stipulated in Section 9, denominated in the type and proportions of currencies of the Contract. The performance security shall be issued by a Bank located in Uganda or a foreign Bank through correspondence with a Bank located in Uganda. On demand insurance bonds with proof of re-insurance, in the format included in Section 9 (contract forms) can be accepted. |
| 45. Advance Payment and Security 45.1 If so stated in the BDS, the Employer will provide an Advance Payment on the Contract Price, subject to a maximum amount, as stated in the BDS. This Payment shall be in the same currencies and proportions as the Contract Payment and shall be made in accordance with the GCC. The performance security shall be issued by a Bank located in Uganda or a foreign Bank through correspondence with a Bank located in Uganda. On demand insurance bonds with proof of re-insurance, in the format included in Section 9 (contract forms) can be accepted. |
| 46. Administrative Review |
| Bidders may seek an Administrative Review by the Accounting Officer in accordance with the Public Procurement and Disposal of Assets Act, 2003 if they are aggrieved with the decision of the Procuring and Disposing Entity. |

# Section 2: Bid Data Sheet

| Instructions to Bidders Reference | Data relevant to the ITB |
| --- | --- |
| A. General |
| ITB 1.1 | The Procuring and Disposing Entity is Kasese LG, Buhweju LG, Rubiriza LG, Mitooma LG, Sheema LG, Kanungu LG, Kiruhura LG, Ibanda LG, Ntungamo LG, Kabale LG, Bundibugyo LG, Bunyangabu LG |
| ITB 1.1 | The subject of procurement is Supply, delivery, installation, Commissioning and training of medical equipment. |
| ITB 1.1 | The Procurement Reference number of the Bidding Document is MOH/SPLS/20-21/00136 |
| ITB 1.1 | The number and identification of lots comprising this Bidding Document is: 1 (One) The minimum and maximum number of Lots a Bidder may bid for is: 1 (One). |
| ITB 5.5 | The Bidder shall be required to include with its Bid, documentation from the Manufacturer of the Supplies, that it has been duly authorised to supply, in Uganda, the Supplies indicated in its bid by submitting the Manufacturers Authorisation Form in Section 4 Bidding Forms. |
| B. Bidding Document |
| ITB 7.1 | For clarification purposes only, the Procuring and Disposing Entity’s address is: The Head Procurement and Disposal Unit; Sheema District Local Government |
| ITB 7.2 | The Procuring and Disposing Entity will respond to any request for clarification provided that such request is received no later than 05th April 2021 |
| C. Preparation of Bids |
| ITB 10.1 | The medium of communication shall be in Writing. |
| ITB 10.2 | The language for the bid is English. |
| ITB 11 (h) | Certified copy of the trading licence or equivalent for 2021 Certified copy of certificate of registration or equivalent. Certified copy of Memorandum and Article of Association. Audited accounts for 2019, 2018, 2017. Original registered and notarised powers of Attorney for this particular procurement indicating the sample signature of the person with the Powers of Attorney Income tax clearance certificate addressed to Ministry of Health All pages MUST be signed by the person authorised to sign. A copy of VAT registration or E-tax registration certificate or its equivalent where applicable |
| ITB 13.1 | Alternative Bids shall NOT be permitted. |
| ITB 14.5 | The Incoterms edition is Incoterms 2010. |
| ITB 14.6(a)(i) | For Supplies, the Bidder shall quote prices using the following Incoterms: DDP(Delivered Duty Paid) – Specified Health Centre III |
| ITB 14.7 | The prices quoted by the Bidder shall be Fixed during the contract period. |
| ITB 15.1(a) | For Supplies and Related Services originating in Uganda the currency of the bid shall be Uganda shillings. |
| ITB 15.1(b) | For Supplies and Related Services originating outside of Uganda the currency of the bid shall be Uganda shillings. |
| ITB 18.3 | Bidders shall not provide a representative sample of the Supplies as detailed in Section 6 Statement of Requirements. Bidders shall not provide a demonstration of the use of the supplies during the evaluation process. |
| ITB 20.1 | Bids shall be valid until 4th October 2021. |
| ITB 21.1 | A Bid Security shall be required. A Bid Securing Declaration shall not be required. |
| ITB 21.2 | The bid security amount shall be 40,500,000 per Lot |
| ITB 21.3 | The Bid Security shall be valid until 11th November 2021 |
| ITB 22.1 | In addition to the original of the Bid, the number of copies required are 03 (three) copies. |
| D. Submission and Opening of Bids |
| ITB 24.1 | For bid submission purposes only, the Procuring and Disposing Entity’s address is: The Chief Administrative Officer; Sheema District Local Government Procurement and Disposal Unit Attention: The Head Procurement and Disposal Unit. Not later than 12th April 2021 at 11:00 am |
| ITB 27.1 | The bid opening shall take place on 12th April 2021 at 11:30 am at the Sheema District Local Government, Procurement and Disposal Unit |
| E. Evaluation of Bids |
| ITB 34 | The currency that shall be used for financial comparison purposes to convert all bid prices expressed in various currencies into a single currency is Uganda Shillings The source of exchange rate shall be Bank of Uganda. The date for the exchange rate shall be the exchange rate issued by the Bank of Uganda on date of bid opening. |
| ITB 35.1 | A margin of preference shall not apply. If a margin of preference applies, the application methodology shall be as stated in Section 3 Evaluation Methodology and Criteria. |
| ITB 35.3 | The Bidder shall submit with its bid the following documents to evidence that they qualify for a margin of preference: None |
| F. Award of Contract |
| ITB 41.1 | The maximum percentage by which quantities may be increased is 15%. The maximum percentage by which quantities may be decreased is 15%. |
| ITB 45.1 | The Advance Payment shall 30% of contract price subject to submission of an acceptable advance payment Bank guarantee |

| Section 3: Evaluation Methodology and Criteria |
| --- |
| Procurement Reference Number: MOH/SPLS/20-21/00136/4 |
| A Evaluation Methodology |
| 1. Methodology Used |
| The evaluation methodology to be used for the evaluation of bids received shall be the Technical Compliance Selection (TCS) methodology. |
| 2. Summary of Methodology |
| 2.1 The Technical Compliance Selection methodology recommends the lowest priced bid, which is eligible, compliant and substantially responsive to the technical and commercial requirements of the Bidding Document, provided that the Bidder is determined to be qualified to perform the contract satisfactorily. 2.2 The evaluation shall be conducted in three sequential stages – a preliminary examination to determine the eligibility of bidders and the administrative compliance of bids received; a detailed evaluation to determine the commercial and technical responsiveness of the eligible and compliant bids; and a financial comparison to compare costs of the eligible, compliant, responsive bids received and determine the best evaluated bid. 2.3 Failure of a bid at any stage of the evaluation shall prevent further consideration at the next stage of evaluation. Substantial responsiveness shall be considered a pass. |
| B Preliminary Examination Criteria |
| 3. Eligibility Criteria |  |
| 3.1 The eligibility requirements shall be determined for: - (a) Eligible Bidders in accordance with ITB Clause 4; and (b) Eligible Supplies and Related Services in accordance with ITB Clause 5. |
| 3.2 The documentation required to provide evidence of eligibility shall be: - i) Certificate of Incorporation/Certificate of Registration or its Equivalent ii) Valid Trading License (for 2021) or its equivalent iii) Registered or Notarised Powers of Attorney iv) For locally registered bidders, Income Tax Clearance Certificate issued specifically for this tender, and addressed to the Ministry of Health. v) Bid Security vi) Completeness of the bid vii) Substantial Commercial Responsiveness. Delivery period Price schedule in the required format Manufactures authorization(s) Curriculum Vitae for two relevant technical personnel to train relevant personnel and install the equipment |
| 3.3 A Power of Attorney which if signed in Uganda shall be registered; or if signed outside Uganda shall be notarized authorising signature of the bid on behalf of the Bidder. 3.4 For a Joint Venture, the documentation in Section 3.2 shall be required for each member of the Joint Venture and the following additional documentation shall be required: a certified copy of the Joint Venture Agreement or letter of intent to enter into such an agreement, which is legally binding on all partners, showing that: (i) all partners shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; (ii) one of the partners will be nominated as being in charge, and receive instructions for and on behalf of any and all partners of the joint venture; and (iii) the execution of the entire Contract, including payment, shall be done exclusively with the partner in charge. a Power of Attorney from each member of the JV nominating a Representative in the JV and a Power of Attorney from the JV nominating a representative who shall have the authority to conduct all business for and on behalf of any and all the parties of the JV during the bidding process and, in the event the JV is awarded the Contract, during contract execution. 4. Administrative Compliance Criteria |  |
| The evaluation of Administrative Compliance shall be conducted in accordance with ITB Sub-Clauses 32.3 and 32.4. |
| C Detailed Evaluation Criteria |
| 5. Commercial Criteria |  |
| The commercial responsiveness of bids shall be evaluated in accordance with ITB Clause 33. The criteria shall be: (a) Acceptance of the conditions of the proposed contract; (b) Inclusion of all cost components required such as installation, training, commissioning in addition to the price of the supplies; (c) Acceptable delivery schedule. d) Maintenance schedule for 3years e) Price Schedule filled in the required format |
| Technical Criteria |  |
| 6.1 Technical responsiveness shall be evaluated in accordance with ITB Clause 33.3. 6.2 The Statement of Requirements details the minimum technical requirements. Responsiveness is determined by comparison of the specification offered to the specification required in Section 6 and the evaluation is conducted on a pass/fail basis. Substantial responsiveness shall be considered a pass. |
| D Financial Comparison Criteria |
| 7. Costs to be included in Bid Price |  |
| The financial comparison shall be conducted in accordance with ITB Clause 36. The costs to be included in the bid price bid are: (a) the unit and total delivered price based on the delivery terms requested and the quantity specified in Section 6; (b) taxes, duties and levies POST QUALIFICATION Post qualification criteria that shall involve consideration of Turnover: Average annual turnover of UgX. 3,000,000,000 in any one year in the last 10 years. Financial capacity: Liquidity/ Current Ratio ≥ 1.0 i.e. Current Assets/Current Liabilities. Experience: At least 1 (One) contracts of similar in terms of value and complexity. Service provider shall have at least 3 qualified technicians – at least with a Diploma in Bio- Medical Engineering. Service provider shall provide documentary evidence from at least one (1) previous client in the last ten (10.) years attesting their competences and reliability. Service provider shall provide recommendation letters from at least one (1No.) previous clients confirming satisfactory performance of similar services. Notes 1. The provider shall provide signed Curriculum Vitae (CV)for all proposed personnel together with their respective documentation attesting to their academic and professional qualifications. Signed CVs are required by both the personnel and the firm. 2. Any firm and/or Individual found to have provided forged documents shall automatically be disqualified and may face legal action and sanctions under the Public Procurement and Disposal Act (PPDA) 2003 and Regulations 2014 |
| 8. Non-cost Factors to be included in Evaluated Price |  |
| The non-cost factors to be included in the evaluated price are: Adjustment for deviations in the schedule of payment, if applicable. Adjustment for deviations in the delivery schedule, if applicable. |
| 9. Margin of Preference |  |
| 9.1 If the BDS specifies a margin of preference to goods manufactured in Uganda for the purpose of bid comparison, the following procedures will apply: |
| (a) The Procuring and Disposing Entity will first review the bids to confirm the appropriateness of the classification, and to identify the bid group classification of each based upon bidders’ declaration of origin. |
| All evaluated bids in each group will then be compared to determine the lowest evaluated bid of each group. If, as a result of the preceding comparison, the lowest evaluated bid is from Group B it will be further compared with the lowest evaluated bid from Group A, after adding to the evaluated bid price of goods offered in the bid for Group B, for the purpose of further comparison only an amount equal to fifteen (15) percent of the ex-factory/ex-warehouse bid price. The lowest-evaluated bid determined from this last comparison shall be selected for the award. |
| 10. Determination of Best Evaluated Bid or Bids |
| 10.1 The bid with the lowest evaluated price, from among those which are eligible, compliant and substantially responsive shall be the best evaluated bid. If this Bidding Document includes more than one lot, the best evaluated bid shall be determined separately for each lot. |
| 10.2 Notwithstanding paragraph 10.1, if this Bidding Document allows Bidders to quote different prices for single lots and for the award to a single Bidder of multiple lots, the Procuring and Disposing Entity shall conduct a further financial comparison to apply any conditional discounts. The bid or bids offering the lowest priced combination of all the lots shall be the best evaluated bid or bids. |

# Section 4: Bidding Forms

Table of Forms

Bid Submission Sheet	34

Price Schedule for Supplies and Related Services	38

Bid Security	41

Bid-Securing Declaration	42

Manufacturer’s Authorisation	43

[This Bid Submission Sheet should be on the letterhead of the Bidder and should be signed by a person with the proper authority to sign documents that are binding on the Bidder]

Bid Submission Sheet

Date: [insert date (as day, month and year) of bid submission]

Procurement Reference No: [insert Procurement Reference number]

To:  [insert complete name of Procuring and Disposing Entity]

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Document, including Addenda No.: [insert the number and issue date of each Addenda];

- We offer to supply in conformity with the Bidding Document and in accordance with the delivery schedule specified in the Statement of Requirements the following Supplies and Related Services [insert a brief description of the Supplies and Related Services. Amend wording and attach relevant details if an alternative delivery schedule is proposed];

- The total price of our Bid, excluding any discounts offered in item (d) below, is: [insert the total bid price in words and figures, indicating the various amounts and the respective currencies];

- The discounts offered and the methodologies for their application are:

Unconditional discounts.  If our bid is accepted, the following discounts shall apply.  [Specify in detail each discount offered (e.g. amount/percentage) and the specific item of the Statement of Requirements to which it applies.]

Methodology of application of the unconditional discounts. The discounts shall be applied using the following method: [Specify precisely the method that shall be used to apply the discounts];

Conditional discounts.  If our bids for more than one lot are accepted, the following discounts shall apply.  [Specify precisely each discount offered (eg amount/percentage) and the conditions of the discount.]

Methodology of application of the conditional discounts. The discounts shall be applied using the following method: [Specify in detail the method that shall be used to apply the discounts];

- Our bid shall be valid until the date specified in ITB Sub-Clause 20.1 and it shall remain binding upon us and may be accepted at any time before that date;

- We, including any subcontractors or providers for any part of the contract resulting from this procurement process, are eligible to participate in public procurement in accordance with ITB Clause 4.1

- We, including any subcontractors or providers for any part of the contract resulting from this procurement process are registered with the Authority. [Bidders who are not registered or whose subcontractors are not registered should amend the statement to reflect their status].

- If our bid is accepted, we commit to obtain a Performance Security in accordance with the Bidding Document in the amount of [insert amount and currency in words and figures of the performance security] for the due performance of the Contract;

- We, including any subcontractors or Providers for any part of the contract, have nationals from the following eligible countries [insert the nationality of the Bidder, including that of all parties that comprise the Bidder, if the Bidder is a Joint Venture consortium or association, and the nationality of each subcontractor];

- We undertake to abide by the Code of Ethical Conduct for Bidders and Providers during the procurement process and the execution of any resulting contract;

- We are not participating, as Bidders, in more than one bid in this bidding process, other than alternative bids in accordance with the Bidding Document;

- We do not have any conflict of interest and have not participated in the preparation of the original Statement of Requirements for the Procuring and Disposing Entity;

- We, our affiliates or subsidiaries, including any subcontractors or Providers for any part of the contract, have not been suspended by the Public Procurement and Disposal of Public Assets Authority in Uganda from participating in public procurement;

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, their full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity. If none has been paid or is to be paid, indicate “none.”]

| Name of Recipient | Address | Reason | Amount & Currency |
| --- | --- | --- | --- |

(o)	We understand that you are not bound to accept the lowest bid or any other bid that you may receive.

Signed: [signature of person whose name and capacity are shown below]

Name: [insert complete name of person signing the bid]

In the capacity of [insert legal capacity of person signing the bid]

Duly authorised to sign the bid for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

CODE OF ETHICAL CONDUCT IN BUSINESS FOR BIDDERS AND PROVIDERS

(Under Section 93 of the Public Procurement and Disposal of Public Assets Act, 2003)

- Ethical Principles

Bidders and providers shall at all times-

- maintain integrity and independence in their professional judgement and conduct;

- comply with both the letter and the spirit of-

- the laws of Uganda; and

- any contract awarded.

- avoid associations with businesses and organisations which are in conflict with this code.

- Standards

Bidders and providers shall-

- strive to provide works, services and supplies of high quality and accept full responsibility for all works, services or supplies provided;

- comply with the professional standards of their industry or of any professional body of which they are members.

- Conflict of Interest

Bidders and providers shall not accept contracts which would constitute a conflict of interest with, any prior or current contract with any procuring and disposing entity. Bidders and providers shall disclose to all concerned parties those conflicts of interest that cannot reasonably be avoided or escaped.

- Confidentiality and Accuracy of Information

(1) Information given by bidders and providers in the course of procurement processes or the performance of contracts shall be true, fair and not designed to mislead.

(2) Providers shall respect the confidentiality of information received in the course of performance of a contract and shall not use such information for personal gain.

- Gifts and Hospitality

Bidders and providers shall not offer gifts or hospitality directly or indirectly, to staff of a procuring and disposing entity that might be viewed by others as having an influence on a government procurement decision.

- Inducements

(1) Bidders and providers shall not offer or give anything of value to influence the action of a public official in the procurement process or in contract execution.

(2)	Bidders and providers shall not ask a public official to do anything which is inconsistent with the Act, Regulations, Guidelines or the Code of Ethical Conduct in Business.

- Fraudulent Practices

Bidders and providers shall not-

- collude with other businesses and organisations with the intention of depriving a procuring and disposing entity of the benefits of free and open competition;

- enter into business arrangements that might prevent the effective operation of fair competition;

- engage in deceptive financial practices, such as bribery, double billing or other improper financial practices;

- misrepresent facts in order to influence a procurement process or the execution of a contract to the detriment of the Procuring and Disposing Entity; or utter false documents;

- unlawfully obtain information relating to a procurement process in order to influence the process or execution of a contract to the detriment of the PDE; and

- withholding information from the PDE during contract execution to the detriment of the PDE.

I ................................................ agree to comply with the above code of ethical conduct in business.

---------------------------------------	           -------------------------------------------

AUTHORISED SIGNATORY	            NAME OF BIDDER/PROVIDER

[This Price Schedule should be signed by a person with the proper authority to sign documents for the Bidder.  It should be included by the Bidder in its bid. The Bidder may reproduce this in landscape format but is responsible for its accurate reproduction].

| Price Schedule for Supplies and Related Services |
| --- |
|  | Date: [insert date (as day, month and year) of bid submission] Procurement Reference No: [insert Procurement Reference number] |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| Item No. | Description of Supplies or Related Services | Country of origin | Quantity (No. of units) | Unit price FOB port of loading | Unit price CIP Mombasa | Unit freight charges from Mombasa to Kampala | Unit price CIP Nakawa, Kampala | Unit price of inland delivery to final destination | Total unit price DDP to final destination | Total price DDP to final destination |
| Name of Bidder: [Insert the name of the Bidder] |

Signed: [signature of person whose name and capacity are shown below]

Name: [insert complete name of person signing the bid]

In the capacity of [insert legal capacity of person signing the bid]

Duly authorised to sign the bid for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

[This Bid Security should be on the letterhead of the issuing Financial Institution and should be signed by a person with the proper authority to sign the Bid Security.  It should be included by the Bidder in its bid, if so indicated in the BDS].

Bid Security

Date: [insert date (as day, month and year) of bid submission]

Procurement Reference No.: [insert Procurement Reference number]

To: [insert complete name of Procuring and Disposing Entity]

Whereas [insert complete name of Bidder] (hereinafter “the Bidder”) has submitted its bid dated [insert date (as day, month and year) of bid submission] for Procurement Reference number [insert Procurement Reference number] for the supply of [insert brief description of the Supplies and Related Services], hereinafter called “the bid .”

KNOW ALL PEOPLE by these presents that WE [insert complete name of institution issuing the Bid Security], of [insert city of domicile and country of nationality] having our registered office at [insert full address of the issuing institution] (hereinafter “the Guarantor”), are bound unto [insert complete name of the Procuring and Disposing Entity] (hereinafter “the Procuring and Disposing Entity”) in the sum of [specify in words and figures the amount and currency of the bid security, for which payment well and truly to be made to the aforementioned Procuring and Disposing Entity, the Guarantor binds itself, its successors or assignees by these presents.  Sealed with the Common Seal of this Guarantor this [insert day in numbers] day of [insert month], [insert year].

THE CONDITIONS of this obligation are the following:

- If the Bidder withdraws its bid during the period of bid validity specified by the Bidder in the Bid Submission Sheet, except as provided in ITB Sub-Clause 21.2; or

2.	If the Bidder, having been notified of the acceptance of its bid by the Procuring and Disposing Entity, during the period of bid validity, fails or refuses to:

(a)	sign the Contract in accordance with ITB Clause 42; or

- furnish the Performance Security, in accordance with the ITB Clause 44; or

- accept the correction of its bid by the Procuring Entity, pursuant to ITB Clause 31;

We undertake to pay the Procuring and Disposing Entity up to the above amount upon receipt of its first written demand, without the Procuring and Disposing Entity having to substantiate its demand, provided that in its demand the Procuring and Disposing Entity states that the amount claimed by it is due to it, owing to the occurrence of one or more of the above conditions, specifying the occurred conditions.

This security shall remain in force up to and including [Insert date, month and year as per ITB Clause 21.3] and any demand in respect thereof should be received by the Guarantor no later than the above date.

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 758.

Signed: [insert signature of person whose name and capacity are shown below]

Name: [insert complete name of person signing the Security]	In the capacity of [insert legal capacity of person signing the Security] duly authorised to sign the Security for and on behalf of: [insert complete name of the Financial Institution]

Dated on ______ day of _____________, _______ [insert date of signing]

[Use Bidder’s Letterhead]

[Name of Bidder]

[Physical Address of Bidder]

Bid-Securing Declaration

Date: [insert date (as day, month and year)]

Subject of procurement and Reference No.: [insert Procurement Reference Number of bidding process]

To: [insert complete name of Procuring and Disposing Entity]

I/We, the undersigned, declare that:

1.	I/We understand that, according to your conditions, bids must be supported by a Bid-	Securing Declaration.

2.	I/We accept that we will automatically be suspended for three years by the Authority from 	being eligible for bidding in any contract with the Government of Uganda, if we are in 	breach of our obligation(s) under the bid conditions, because we:

(a)	have withdrawn our bid during the period of bid validity specified by us in the Bid Submission Sheet or

(b)	having been notified of the acceptance of our bid by the Procuring and Disposing Entity during the period of bid validity fail or refuse to (i) sign the contract, (ii) fail or refuse to furnish the Performance Security in accordance with ITB Clause 43; or (iii) fail or refuse to accept the correction of our bid by the Procuring and Disposing Entity, pursuant to ITB Clause 31;

3.	I/We understand this Bid Securing Declaration shall cease to be valid if I/we are not the 	successful Bidder, upon the earlier of (i) the expiry of the notice of best evaluated bidder or 	(ii) upon the expiration of the validity of my/our bid on the [insert bid validity date],

Signed: [insert signature of person whose name and capacity are shown] In the capacity of [insert legal capacity of person signing the Bid Securing Declaration]

Name: [insert complete name of person signing the Bid Securing Declaration]

Duly authorized to sign the bid securing declaration for and on behalf of: [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

Corporate Seal (where appropriate)

*Please delete as appropriate

[This authorisation should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign such an authorisation.  It should be included by the Bidder in its bid, if so indicated in the BDS].

Manufacturer’s Authorisation

Date: [insert date (as day, month and year) of bid submission]

Procurement Reference No.: [insert Procurement Reference Number]

To:  [insert complete name of Procuring and Disposing Entity]

WHEREAS [insert complete name of Manufacturer], who are official manufacturers of [insert type of supplies manufactured], having factories at [insert full address of Manufacturer], do hereby authorise [insert complete name of Bidder] to submit a bid in relation to the Bidding Document indicated above, the purpose of which is to provide the following Supplies, manufactured by us [insert name or brief description of the Supplies], and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 29 of the General Conditions of Contract, with respect to the Supplies offered by the above firm in reply to the Invitation for Bids.

Signed: [signature of person whose name and capacity are shown below]

Name: [insert complete name of person signing the Manufacturer’s Authorisation]

In the capacity of [insert legal capacity of person signing the Manufacturer’s Authorisation]

Duly authorised to sign the Manufacturer’s Authorisation for and on behalf of: [insert complete name of Manufacturer]

Dated on ____________ day of __________________, _______ [insert date of signing]

# Section 5: Eligible Countries

Procurement Reference Number: MOH/SPLS/20-21/00136

All countries are eligible except countries subject to the following provisions.

A country shall not be eligible if:

(a)	as a matter of law or official regulation, the Government of Uganda prohibits commercial relations with that country, provided that the Government of Uganda is satisfied that such exclusion does not preclude effective competition for the provision of supplies or related services required; or

(b)	by an act of compliance with a decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations, the Government of Uganda prohibits any import of Supplies from that country or any payments to persons or entities in that country.

# PART 2 - Statement of Requirements

# Section 6: Statement of Requirements

Contents

1.	List of Supplies and Related Services	46

2.	Delivery and Completion Schedule	109

4.	Drawings	Error! Bookmark not defined.

5.	Inspections and Tests	168

1.	List of Supplies and Related Services

Procurement Reference Number: MOH/SPLS/20-21/00136

| Item No | Item | Brief Description of Supplies and Related Services | Unit of Measure | Quantity |
| --- | --- | --- | --- | --- |
| 1. | B.P. Machine | Requirements: Consisting of: Main Unit: 1 set Cuff for adult: 2 pcs Cuff for infant: 2 pcs Extra-large adult: 2 pcs Carrying case Specifications: Main unit Type: Aneroid or Mercury, Portable type Cuff: Velcro type, Washable Measuring range: 0～300 mmHg or wider | Each | 32 |
| 2. | B.P. Machine (Aneroid wall mounted) | Requirements: Consisting of: Main Unit: 1 set Cuff for adult: 2 pcs Cuff for infant: 2 pcs Extra-large adult: 2 pcs Carrying case Specifications: Main unit Type: Aneroid wall mounted Cuff: Velcro type, Washable Measuring range: 0～300 mmHg or wider | Each | 32 |
| 3. | Autoclave 20 Liters. | Specifications: Sturdy construction in rustproof, heavy gauge aluminium. Steam under pressure and temperature between 120°C to 135°C. For use with external heat source such as gas/paraffin stove. Features: All aluminium deep drawn seamless construction Light, compact, portable, easy to use, top loading Fast 20 min. sterilizing cycle at 121ºC. Equipped with two stages over pressure protection system incorporating a calibrated continuous bleeding pressure stopcock and pressure release weight valve Extended life gasket Equipped with heat resistant handles and steam release/ control valve Supplied with TST indicator stickers to carry out independent verification that the correct combination of temperature, steam & time has been achieved for successful sterilization. Pressure Gauge: Colour coded pressure gauge showing internal chamber conditions during the cycle. Full scale dial of pressure gauge is0-2.2kPa with caution zone in red colour. Include sterilization drum set 2 Large, 2 Medium, 2 Small | Each | 32 |
| 4. | Bowl, Kick | Requirements: Consisting of: Bucket receptor with rubber bumper and at least castors: 1 unit Bucket: 1 unit Specifications: Material: Stainless steel 18/10 – bright polish finishing or satin finishing Bucket size: Dia. 400mm x 180mm (H) or more Rubber bumper: Should be provided With heavy duty castors, Diameter: 50mm or more | Each | 16 |
| 5. | Bowl Stand | Requirements: Consisting of: Main unit for 2 basins: 1 pc Basin: 2 pcs Specifications: Main frame constructed in hospital grade stainless steel grade 304 Frame Dimension: 600(W) x 350(D) x 750(H) mm or larger with 75mm Diameter castors. Frame pipe diameter: 25mm out of 1.2mm gauge steel plate minimum. Basin: Constructed from high grade hospital stainless steel grade 304 Basin Size: Minimum Dia. 300 x 100mm CE certified | Each | 48 |
| 6. | Counting Chamber, Neubauer-Improved | Requirements: Hemocytometer, improved Neubauer counting chamber Set Glass chamber and cover glass from thermal and shock resistant glass Individual Cell dimension: 0.05 x 0.05mm Gap between cover: 0.1mm slip and grid area Pipettes: red blood cells (RBC) and White blood cells (WBC) pipettes Tubing/Sucker Rubber material: a pair for RBC & WBC Cover Slips 22 x 25mm, 1 box Spare Parts: additional pair of RBC & WBC pipettes each with every Neubauer chamber Should be ISO certified | Each | 32 |
| 7. | Cupboard Steel, Lockable | Requirements: Cabinet with 2 lockable doors and 6 shelves. Specifications: Steel: Sendzimir- galvanized plate thickness 0.75mm. Electrostatic plastic powder coated steel plate 0.75mm applied by enameling (epoxy-polyester compound). Absolutely non-porous and de-contaminable. The coating is applied only after the treatment of the basic materials has been fully completed, therefore no open edges and absolutely corrosion resistant. Dimensions: Approx. 900x400x 2050mm | Each | 96 |
| 8. | Drip Stand | Requirements: Strong tubular stand, mounted on metallic base with five castors of 50mm dia. Stainless steel grade 304 Height adjustable between 140 to 240 cm With double hooks for fitting IV bottles | Each | 144 |
| 9. | ESR Stand | Requirements: ESR Apparatus, Westergren. Stand for 10 pipettes made from corrosion resistant material. Well finished and polished steady and robust. | Each | 16 |
| 10. | Examination Couch | Requirements: Constructed from chrome –plated square tubes of 50x50x2mm thickness Fully adjustable headrest Top upholstered and covered with washable plastic material Having rubber boots on frame stands Size: approx. 180x70x80cm. | Each | 64 |
| 11. | Examination light | Requirements: Type: Floor stand Arm: Flexible Lamp: 1 pc, LED Bulb Light intensity: 8000 lux or more at 80cm distance Reflector: Device for maximize light intensity provided Height: 1100mm or more, Adjustable Stand with casters: 5No. x 50mm Diameter castors Power source: 100 - 240V, 50/60Hz | Each | 48 |
| 12. | Glucometer: | Requirements: Type: Hand held meter using electrochemical technology Reading range/linearity: 0.6 to 33 mmol/l Maximum reading time: 10 seconds Blood sample size: 1 to 2.0μl Display: LCD display Measuring unit: mmol/l. Operating temperature: 8 to 420C Humidity: up to 85% Memory: 500 results with date and time Battery: Replaceable Lithium Ion coin type, with battery life of 1000 tests or one year Auto power off time: Maximum 90 Seconds Should have facility to ensure accuracy of Controls: Three types of control solutions of each at least 20 ml, normal, abnormally low and abnormally high Data transfer: By USB cable Certification: CE / FDA The strips should be available in Uganda Local Market |  | 32 |
| 13. | Haemoglobin Meter, Sahli | Requirements: Type: Should be a hand-held point of care analyzer. Display: digital LED. Measurement reading: Concentration of hemoglobin in g/dl Zero Adjustment Automatic (Without Knob rotation). Accuracy + 0.2 g/dl Specimen requirement 10 µL of capillary, venous, or arterial blood are needed for the assay. Results: Results are displayed in g/dL within 15–60 seconds depending on the hemoglobin concentration. Measuring range: 0-25.6 g/dL. Memory: In – built to retain last K factor for concentration System: a disposable microcuvette containing dry reagent and a factory-calibrated analyzer. Method: should correlate well with the international reference method for hemoglobin determination (ICSH). Quality control: Should have an internal electronic self-test which automatically verifies that the optronic unit of the instrument is working properly each time the analyzer is switched on and every second hour thereafter. CE certified | Each | 32 |
| 14. | Height Meter | Requirements: Main unit: 1 Unit Specifications: Material: Aluminium pole and steel base Measuring range: 600 to 2000m or higher Scale: 1 mm increments | Each | 32 |
| 15. | Instrument Trolley | Requirements: Dimensions: Approx. 600 x 400 x 800mm high Mobile seamless square-section tubular frame construction in 316 stainless steel. Tubular frame extended as guard rail, on top and bottom with removable shelves. Storage tray in 316ss, square with swivel-type support and fixation clamps. Size: Approx., 240 x 200 mm Swivel castors approx. 75 mm dia. with double ball bearing electrically conductive non-snagging type, provided with bumpers. | Each | 64 |
| 16. | Microscope Binocular | Requirements: All-purpose microscope for general laboratory use, with binocular head, inclined 45 o, build in graduated mechanical stage with control knob, with iris diaphragm, and filter holder, eye pieces, objective lens and illumination controls.  Eyepieces: Paired 10x wide-field  Objective: Magnifications 4x, 10x, 40x, 100x (oil immersed)  Optical System: Universal Infinity System  Observation Tube: Binocular  Angle of Inclination: 45oC  Interpupillary Adjustment  Distance > 40 – 70 mm  Condenser Type: Aperture Iris Diaphragm  Mechanical Stage: Graduated, with coarse and fine focusing control  Focusing Control: Coarse Focusing – Stage  Height Movement: Fine Focus Graduation  Illumination System: built in base illuminator, LED bulb 6V, with brightness control, mains operated: Mirror Unit for Natural Light Illumination  Power Requirements: 100-240VAC, 50/60Hz  Storage: Lockable Wooden Cabinet/Box Accessories Voltage stabilizer, 50VA, 240VAC LED Bulbs (1No.), Immersion oil Other requirements: Compliance to CE, ISO or any other internationally recognized standards | Each | 16 |
| 17. | Mid Upper Arm Tape | Operational Requirements: Method of determining the nutritional status of infants by measuring the Suitable for measuring child's Middle Upper Arm Circumference (MUAC) with range up to 26.5cm. Graduated with 1mm precision with thicker line at 21.0cm. Accuracy: ± 0.1cm of the maximum measurement (26.5cm) Colour-coded as follows: Red (Pantone code 1795 C) up to 0 - 11.5cm, Yellow (Pantone code PMS021) Green (Pantone code 107 C) from 12.5cm. Material: Non-tear stretch-resistant plastic/cloth, Minimum thickness 0.03cm. Print: Permanent, resistant to solvents; easily readable in low light working situations. Working temperature range 10-40°C Supplied with: Text and pictorial user instructions in English | Each | 64 |
| 18. | Otoscope | Requirements: Composition (Per set)  Main Unit  Reusable plastic specula 2.5mm or 4mm. Specifications: Main unit Head: Pivoting head has a wide-angle viewing lens, magnification 3x. Reusable plastic specula can be attached to frontal part. Bulb: Halogen bulb, 2.5V provides with bright white light Handle: On/off switch should be attached | Each | 16 |
| 19. | Patient Screen | Specifications: Type: 4 panels jointed with hinges Material: Frame Steel, Chrome plated Screen curtain: Vinyl (grade to be determined) with strings for fixing it on the frame. Colour Screen curtain: Off-white or light cream yellow or blue Height from ground: Approx. 1670mm or more Height from bottom of: Approx.1640mm or more screen to top: Panel width: At least 50cm Castors: Two heavy duty castors for each panels, fixed by bolts and nuts a flat base. Dimension of Castors: Approx. 50mm | Each | 80 |
| 20. | Patient Trolley | Requirements: Main unit: Material: Epoxy Coated Steel 50x50x2mm Dimensions: Approx. 1930*640*500-900mm Side rail: Foldable I.V. pole: 1 pc with double hook provided Having 500 Lts cylinder with a holder Mattress: Urethane sponge covered with vinyl leather approx. 25mm Castors: At least four heavy duty castors and two lockable should be provided Dimension of Castors: Approx. 150mm or more | Each | 16 |
| 21. | Refrigerator | Requirements: Type; Refrigerator and freezer Storage Capacity; Refrigerator 55Lt Freezer 36Lt Domestic absorption type, fully tropicalized. Internal temperature or refrigerator at an ambient temperature of 43 degrees Centigrade, minimum +2 degrees Centigrade, Maximum +5 degrees Centigrade. Hold over time during power cut off between 5-10 hours. Power requirement per 24 hours ¦(Electricity): 3.5 – 4.3 KWh Power consumption (Gas): 0.8Lt/24hrs Lockable door, and provided with lock. Power supply: 100 - 240V, 50/60 Hz | Each | 32 |
| 22. | Stethoscope | Requirements: Stethoscope, binaural, dual chest piece. Specifications:  Cardiology stethoscope with high quality stainless steel piece for excellent acoustics  Stainless steel double inner spring binaural and durable  Elegantly moulded PVC tubing, dual head  Approximate length; at least 381 mm  Supplied with two spare of soft ear piece. CE certified | Each | 128 |
| 23. | Stop Watch | Requirements: 1 sec to 24 hrs., thru-zero function for counting down, alarming and counting up time of day clock with AM/PM indicator display. | Each | 16 |
| 24. | Stretcher | Requirements: Stretcher, Collapsible Constructed from mild steel tubular pipe of 50mm diameter, 2mm thick mounted on four Approx. 150mm diameter Castors with brakes Detachable stretcher top made from stainless steel or aluminum sheet fixed on tubular frame Collapsible safety hand rails and infusion pole Dimensions: 1900L x 600W x 670H | Each | 32 |
| 25. | Stove, Gas | Requirements: Product dimensions: 680 x 375 x 70mm Panel: 0.4mm mild steel with black coating Burner Size: 100mm (), 120mm () Fire lid material: copper Piezoelectric ceramic ignition Extra thin design, the height of the whole stove is just 5cm Unique design to prevent water from flowing into the cooker body High efficiency burner All valves adopt high quality materials and can be safely used for over 10 years Heat load: 4.0kW Heating efficiency: >55% Applicable gases: LPG, natural gas, coal gas | Each | 32 |
| 26. | Weighing Scale with Height Meter, Adult | Requirements: Weighing Scale with height measuring rod. Steel body duly epoxy powder coated. Heavy standing base covered with Antiskid mat. Capacity: Minimum 150kg x 100g graduation. Height Rod 200-2800mm x 1mm graduation Platform size: Minimum 370x270mm | Each | 32 |
| 27. | Weighing Scale, Infant | Requirements: Weighing scale, baby, basin type, sliding weights Infant top basin/tray Sliding weight type, heavy duty, metal frame, hospital model Capacity: 16 kg x 10gm Made of molded acrylic or any other high impact and corrosion resistance material. Approximate size: 600x430mm Display: Digital | Each | 32 |
| 28. | Weighing Scale, Toddler | Requirements: Weighing Scale with height measuring rod. Steel body duly epoxy powder coated. Heavy standing base covered with Antiskid mat. Capacity: Minimum 50kg x 100g graduation. Height Rod 200-1200mm x 1mm graduation Platform size: Minimum 370x270mm | Each | 16 |
| 29. | Wheel Chair | Requirements: Folding Approx. 430 mm seat with adjustable leg rests for length, 25x610 mm diameter rubber tired, ball bearing wheel at rear, Swivel castors with 125 mm rubber wheels at front: with chromium plated wheel rims, hand rims for self-propulsion and hand brakes. | Each | 64 |
| 30. | Audio Visual Equipment | Requirements: To include the following: 1. LED Flat Screen TV of at least 40 Inch and DVD Panel Technology A-MVA as Samsung or approved better technology Viewable Image not less than Size 40" Native Resolution 1920 x 1080 minimum Pixel Pitch 0.48mm minimum Backlight Type LED Edge-lit Pixels Per Inch 52@ native resolution minimum Brightness (typical) approx. 350cd/m2 Brightness (maximum) approx. 350cd/m2 Contrast Ratio (typical) 3000:1 Viewing Angle 178° Vert., 178° Hor. (89U/89D/89L/89R) @ CR>10 Response Time (Gray to Gray) 6.5ms Refresh Rate 60Hz Multiple input / output options Active Screen Area 36.6 x 20.6 in. / 930.3 x 523.3mm Orientation Landscape Displayable Colours More than 16.7 million with accessories for wall mounting Install LED Display in a custom made cage to be approved by the client Additional features Built-in NTSC/ATSC (8-VSP, Clear QAM) analog/digital tuner Variable picture modes (Dynamic Standard/Energy Savings/Theater/Custom) Advanced Video/Audio Settings Sleep Timer Built-In closed captioning Parental Control (V-Chip Function) To be usable with queuing system which is based on Wavetec platform Power management USB Port LCD Projector High brightness of 3500 ANSI Lumens Contrast Ratio: 2100:1 Typical (Full On / Full Off) Resolution: WXGA (1280 x 800) Connectivity Power: AC power input socket Computer Input: two D-sub for analog/RGB component, HDTV input signals Computer Output: one 15-pin D-sub Video Input: one composite video RCA and one S-video USB Input: one USB slave for remote support and firmware upgrade Audio input: one phone jack (Diameter 3.5mm) and one pair of RCA connector; one microphone input HDMI Input: one HDMI 1.3 (HDCP compliant) RS232: One mini-DIN RS232 for wired remote projector control from PC 1.28 (wide) ~ 1.536(tele) 2 Years Warranty Projector Ceiling Mount and Projector Suspended Ceiling Plate Lamp Life Cycle3: Up to 3000-hour Typical Up to 4000-hour Eco-Mode Multimedia Audio:8W Speaker VIDEO COMPATIBILITY S-Video/Composite Video: NTSC [J, M, 4.43, supports Closed Captioning (CC1~CC4)], PAL (B, D, G, H, I, M, N, Nc, 60), SECAM (B, D, G, K, K1, L) Component Video (via VGA) & HDMI (HDCP Compliant) - 480i/p, 576i/p, 720p, 1080i/p PC (VGA, HDMI): Refer to 3.10 Computer Compatibility Modes Power Cable VGA Cable Carrying case CD User’s Guide Remote Control with 2 AAA Batteries Quick Setup guide & Product Information guide KEYSTONE CORRECTION Vertical: +40° / -35° Uniformity: 85% Typical (Japan Standard - JBMA) Image Size: 92.20 ~ 919.48 cm (36.3" ~ 362") (diagonal) Project Distance: 1.2 - 10m Projection screen: Screen, projection, wall model Approx. Size: 1800 (l) x 1800 (h) mm Satin-matt white screen, With manual tilting and retracting/winding system, Complete with fixtures for wall mounting 1-year local supplier’s warranty | Each | 16 |
| 31. | Chair | Requirements: Swivel with arm-rests, Base arms with castors, vinyl leather, upholstered, color grey or cream. Seat size: Approx. 500mmWx520mmDx450mmH, Comfortable task chair upholstered in black fabric, Padded seat and back for all day comfort and support, Pneumatic seat- height adjustment, Low back 360degrees swivel; smooth rolling casters and with arm rest. 50mm unhooded castors for greater rolling properties on soft carpets, Durable, black upholstery, leather fabric with arm rests | Each | 112 |
| 32. | Desk | Requirements: Approx. dimensions 1800 (l) x 700 (w) x 750 (h) mm with two sets of 3 lockable drawers. Frame made of mild steel tubular or rectangular sections of approx. 40mm x 40 mm with minimum 2mm thickness. Square section ends to be fitted with rubber or plastic bungs. Frame to be chromium plated or epoxy coated. Sheet metal parts with minimum thickness of 1mm, epoxy coated 20mm plywood desktop with Formica finish. | Each | 80 |
| 33. | Filing Cabinet | Requirements: With 4 shelves lockable with one key Body made of galvanized steel plate: thickness 0.75mm. Absolutely non-porous, decontaminable, enameled with epoxy polyester compound | Each | 96 |
| 34. | Medical Waste Bin | Requirements: Pedal bin (for waste disposal) Galvanized mild steel with lid, foot-operated, 20 litres capacity Galvanized sheet metal thickness min. 1 mm. with plastic pail | Each | 320 |
| 35. | Wall Clock | Requirements: Wall type, with hours, minutes and seconds hands, 1-12 indication and minute lines, 300 mm, diameter, battery operated. | Each | 64 |
| 36. | Diagnostic Equipment Set for MCH | Contents: Stethoscope, foetal, Aluminium (3No.) Speculum, Vaginal, Cusco (5No.) (5No.) | Each | 48 |
| 37. | Diagnostic Equipment Set for OPD | Contents: Hammer, percussion, Reflex test, Solid Rubber head (1No.) Tape measure, Cloth, 2m (1No.) Thermometer, Clinical (10No.) Tourniquet, pneumatic (2No.) Skin fold caliper (1No.) | Each | 32 |
| 38. | Glassware Set, Laboratory, Basic | Contents: Holder, wire loop, aluminium, 240mm (3No.) Forceps cover glass, flat, bent tips,100mm (2No.) Forceps, microscope slide, 125mm (1No.) Loop, wire, inoculating, normal, CrNi, diameter 2.5mm (6No.) Scissors, general purpose (1No.) Pencil, diamond type for writing on glass, (2No.) Scriber, glass marking, tungsten carbide, 125mm (1No.) | Each | 32 |
| 39. | Hollow Ware Set, Treatment | Contents: Towel Clip, (6No.) Forceps, Obstetric, (2No.) Forceps, Artery, Curved, 150mm (6No.) Forceps, Artery, Curved, 180mm (6No.) Forceps, Artery, Straight. 150mm (6 No) Forceps, Artery, Straight. 180mm (6 No) Forceps, Dissecting, Straight, 1/2 Teeth, 180 & 200mm (2No.) Forceps, Dissecting, Straight, Plain, 180mm & 200mm (2No.) Forceps, Periotoneum, Green Armytage, 210mm (8No.) Forceps, Sponge Holding, 240mm (2No.) Forceps, Tissue, Allis, 4x5 Teeth (4No.) Handle for Surgical Blade No.4 (2No.) Needle Holder, Mayo, 180mm (2No.) Retractor, Doyen (1No.) Retractor, Langenbeck (2No.) Retractor, Morris, 51mm (2No.) Scissors, Mayo, Curved, 180mm (2No.) Scissors, Mayo, Straight, 180mm (2No.) Scissors, Stich (2No.) Instrument Container, s/s, With Cover (2No.) Scissor, Cord (2 No.) | Each | 32 |
| 40. | Instrument Set, Dressing | Contents: Forceps, dissecting, Straight, 1/2 teeth, 130mm (2No.) Forceps, sinus, 180mm (1No.) Forceps, Dissecting, Straight, Plain, 115mm (2No.) Forceps, Sponge holding, 200mm (1No.) Scissors, Mayo, Straight, 150mm (1No.) Scissors, dressing, straight, 165mm (1No.) Scissors, ligature, Spencer, 130mm (1No.) Bowls, lotion, s/s, 1.5 liter (1No.) Instrument container, s/s with cover, 300x200x50mm (1No.) Bowl lotion, s/s, and 0.2 liter (2No.) Kidney Dish, 24cm (2No.) | Each | 112 |
| 41. | Instrument Set, Basic ENT | Contents: Forceps, Nasal Dressing, Tilley, 160mm (5No.) Tongue depressor, s/s (20No.) Ear syringe, s/s (1No.) Tuning fork 512Hz (1No.) Probe, Jobson Herne (5No.) Ease hook Blunt end (5No.) Wool carrier (2No.) Nasal Atmiser (1No.) Powder Blower (1No.) Nasal Speculum (10No.) Ear Speculum (50No.) | Each | 16 |
| 42. | Instrument Set, Suture | Contents: Forceps, Artery, Curved, 150mm (4No.) Forceps, artery, Straight, 150mm (4No.) Forceps, Dissecting, Straight, Plain, 130mm (2No.) Forceps, dissecting, Straight, 1/2 Teeth, 130mm (2No.) Forceps, Sponge Holding, 240m (2No.) Needle Holder, mayo, 150mm (2No.) Scissors, mayo, Straight, 150mm (2No.) Scissors, ligature, Spencer, 115mm (2No.) Instrument Container, s/s with cover (2No.) | Each | 48 |
| 43. | Pulse Oximeter | Requirements: Capable of measuring pulse rate and SpO2 using non- invasive method. The unit should be microprocessor based and model on current production. The following should be available: Large LED screen to display pulse and SpO2 values. With re-usable sensors Accuracy + or – 2% With selectable alarm limits Other indicators; Pulse strength Low battery Alarm Battery backup for at least one (1) Hour Humidity: 0% to 90% Voltage: 240 V, single phase, 50 Hz. | Each | 32 |
| 44. | Bed, Adult Patient | Requirements: Heavy duty made of rectangular mild steel frame 50x50x3mm., epoxy coated Head and foot bed end of approx. 50mm dia x 3mm thick circular steel tube with laminated panels With rubber bumpers to protect against direct contact with the walls Head rest adjustable with ratchet, mattress platform made of rigid mesh of perforated 3mm sheet metal. With rubber boots on the stands. With epoxy coated mild steel drip stand attached on the bed with hand nut and bolt. Having a hook holder and hooks made stainless steel. File holder from stainless steel included The bed should be supplied with a mattress of a density of at least 27Kg of foam material per cubic meter of Approx. 1950x895x 100mm thick covered with a mackintosh preferably brown or black. The mackintosh water resistant, flexible with a thickness of 0.5- 1.0mm. which should be removable with a flapped zipper. The zipper should be a standard plastic zipper 10# and width teeth size 10- 10.6 mm. Size: Approx. 2000x900x600mm | Each | 160 |
| 45. | Bed, Pediatric Patient | Requirements: Two section type made of Mild Steel sheet top. Mounted on heavy rubber shoes. Full length drops side railing on both sides. Tubular Pipe framework, Top of M.S. Sheet with perforations. Built in back rest ratchet Adjusted Drop side, safety railing at both side. Pre-treated and epoxy powder coated finish. Size Approx.: 1400 L x 800 W cm x 600 H mm. Fixed adjustable drip stand The mattress of a density of at least 27Kg of foam material per cubic meter of Approx. 1390x795x 100mm thick covered with a mackintosh preferably brown or black. The mackintosh to be water resistant, flexible with a thickness of 0.5- 1.0mm. which should be removable with a flapped zipper. The zipper should be a standard plastic zipper 10# and width teeth size 10- 10.6mm. | Each | 64 |
| 46. | Bedside Locker | Requirements: Machine pressed complete locker box, closed from three sides and with a suitable drawer for extra storage. Stainless sheet of 1mm thick top Pre-treated and powder coated Approx. dimensions: approx. 400x400x850mm The frame made of tubular sections of 3mm thickness with rubber shoes and floor clearance of 50mm | Each | 160 |
| 47. | Cupboard, Instrument | Requirements: Constructed from enameled mild sheet steel of 1.5 mm Upper section with two lockable 5mm plexi-glass doors, lock and flat key and two adjustable plexi- glass shelves Lower section with two sheet steel locking doors and removable steel sheet shelf Dimensions: Approx. 750x350x1600mm | Each | 16 |
| 48. | Delivery Bed | Requirements: Three (3) Sections delivery bed complete with adjustable footrest, leg rest, body section, lithotomy poles, IV pole, and detachable s/s basin. Robust 316 grade stainless-steel construction on four antistatic castors of diameter at least 150mm, 2 lockable. With safety side rails and antistatic high-density mattress with a cover. Complete with: Removable head frame Adjustable hand grips Removable and Adjustable Polyurethane Thigh Supports Infusion pole, adjustable Stainless Steel, Bowl Swinging arm, drop down side rails Lithotomy poles with padded leg rest and straps Sliding mechanism Tilting mechanism On 4 rubber castors 150mm, 2 castors independent on brakes 316 grade stainless steel metal frame of at least 50x50x2mm Height: adjustable, mechanical, 500mm to 1200mm Length: Adjustable, mechanical, 1500mm to 2140mm Trendelenburg: Forward: Min 25o, Reverse: Min 10o Leg section: at least 70cmx75cm Body section: at least 130cmx50cm Mattress thickness: At least 75mmthick, density 27kg per cubic meter, anti-microbial, waterproof, flame retardant, air permeable mattress. Having adhesive straps between bed frame and mattress. | Each | 16 |
| 49. | Oxygen Therapy Apparatus | Requirements: Composition Oxygen Cylinder Oxygen regulator 0-4.5 Bar, cylinder mounted, with flowmeter and humidifier bottle (pc) Adaptor (connector kit) pc Humidifier bottle 10pcs Cannula, oxygen, twin nasal, Adult 100pcs Cannula, oxygen, twin nasal, Pediatric 100pcs Specifications Oxygen Cylinder: 6.8-7.5 Cu M. Working pressure 200 Bars to British Standard Oxygen regulator, cylinder mounted, Oxylitre: With Oxygen Flow meter, metric threads Adaptor (connector kit) for humidifier bottle: Should be provided Humidifier bottle: Autoclavable PVC, 150ml capacity or more Cannula, oxygen, twin nasal, Adult: Should be provided Cannula, oxygen, twin nasal, Pediatric: Should be provided | Each | 32 |
| 50. | Resuscitator Manual, Infant | Requirements: Like AMBU Babies and children, 15 Kg Operating temp -20o to +50oC All components autoclavable or high level disinfection possible consisting of: Non-rebreathing valve Self-inflating resuscitation bag Inlet valve, 1 piece, reservoir tube Each transparent round face mask for baby Each Rendell-backer mask size 00, 0, 1 & 2 Self-inflating bag Rubber silicone Dimensions: approx. 240 x -75mm Volume approx. 500ml Inlet port for ah: 22mm ED or equipped with removable Connector place (22mm ED) to connect a standard 22mm T piece or anesthetic hose | Each | 16 |
| 51. | Resuscitator Manual, Adult | Requirements Resuscitator manual adult like AMBU Self-inflating bag and non-rebreathing valve Non rebreathing valve AMBU E2 OR EJ Maximum stroke volume approx. 1300MM consisting of Self-inflating resuscitation bag consisting of: inlet valve, T-piece, reservoir tube Each transparent round face mask for baby Each rendell-backer mask size 00,0,1 & 2,4,5 & 5 Self-inflating bag Rubber silicon complete in case with inlet valve Dimension: approx. 320 mm x 125 mm volume: approx. 1500 ml Inlet port for ah: 22 mm ED or equipped with removable connector piece (22mm ED) to connect a standard 22mm T piece or anaesthetic hose valve: type: non rebreathing valve of aesthetic type, detachable Inspiratory resistance approx. 0.10 kPa at 50/1min Expiratory resistance approx. 0.15 kpa at 50/1min Automatic control valve for auto adjustment of maximum pressure to 400 mm H20 Reservoir tube dimensions approx. 1000mm x 22mm (capacity approx. 1000ml) T. piece 22mmF/22mmF with small arm tapered 5-3mm M | Each | 16 |
| 52. | Stool, Surgeon | Requirements: Stool, Surgeon’s adjustable, anti-static cushion. Robust construction from steel / aluminum tubular material Mobile with castors and 5 leg cast ring base Foot operated for height adjustments: range 500 – 700mm Seat diameter: Approx. 360mm Seamless upholstery with anti-static cushion and easy cleaning Contoured backrest and sound base | Each | 16 |
| 53. | Suction Apparatus, Electric | Requirements: Suction Machine 2 Bottle (Electric), foot operated Vacuum 0 to 0.85 bar / 0 to 650 mmHg Flow rate 20-40 l/min Collection Jars: 2 x 2-4 litre Unit Dimensions: 38 x 65 x 20 (H x W x D cm) Weight: Approx. 12kg Noise Level: Maximum: 50dB Voltage: 100- 240v/50/60Hz Working temperature: +5 to +400C Suction tubing connection, antistatic neoprene with length of minimum 200mm Should be constructed from coated non-corrosive, extreme heat resistance material and electrically insulated and mobile on antistatic castors φ 50 mm, 2 No. lockable, with high level push handle. Anti-bacterial filters, single use Overflow pump protection The unit should be supplied with the following components: (2-4litre) graduated bottles or jars with lids 1 safety device 2 overflow spares 2 lid clip spares 8 Suction tubes, non-sterile 4 Spare fuse 2 spare jars (per unit) Bacterial filters 20 no. 1 user and maintenance manual CE Mark Cleats One-year warranty | Each | 16 |
| 54. | Nebulizer | Requirements: Maximum compressor pressure 2.5- 3.0 bar Nebulization rate 0.3 ml / min Nebulizer cup capacity 6ml Particle size (mmad) 0.5m to 5m Noise level 55 db Dimensions (compressor only) 10.7x 6.6x4.5 Weight (compressor only) 1.83 kg Electrical requirement 220v, 50Hz Operation cycles operation for 20min & off for 40min Warranty one year Nebulizer assembly and Accessories: Tubing Nebulizer cup Nebulizer insert Nebulizer cap An adult mask Mouth piece Five (5) extra filters CE mark certified | Each | 16 |
| 55. | Oxygen Concentrator | Requirements: Dual flow Oxygen concentrator capable of extracting medical grade oxygen from atmospheric air using PSA system. The unit should be mobile on castors and capable of supplying oxygen to two patients at a time. It should incorporate oxygen monitor facility complete with patient tubing’s, Detaied specifications: Performance characteristic Dual flow complete with flow meters Flow rate of minimum 2 l.p.m to maximum 10 l.p.m. with oxygen purity constant at 95% over this flow range. Medical grade oxygen at 95% purity, dry and oil free oxygen at the rated flow rate. Safety: Shutdown with power failure, high or low pressure and high temperature Dimensions: about 80cmH x 50 cm W x 40cm D Main power supply: 240V, 50Hz with a suitable surge protector Mains cable length 3m with 3 pin Top plug (U.K.) Standard: ISO 9001: 2000 certified or equivalent. | Each | 16 |
| 56. | Bench | Requirements: Wooden bench, 1600(l) x300(w) x 350(h) mm. Made of Mahogany hard wood, polished finish, varnished, with rounded edges with sufficient cross connections for stability and rigidity. Strength sufficient to carry 5 adults (average weight of 80 kg of each). | Each | 64 |
| 57. | Disinfection Buckets | Requirements: Made of material HTPE or poly propylene containing no toxic elements according to EN1186-3-9 standards Capacity- 20 litres, should be easy to handle with handles with a strong flat handle. The lid of the bucket should be able to close tight but easy to close and open. The bucket should be impact resistant when filled and can withstand outdoor equatorial heat. Strong and durable quality for a long-life span in tough condition. | Each | 32 |
| 58. | Baby Cot | Requirements: Size: Approx. (L) 810x (W) 460x (H) 960 mm Completely made of 40x40x2mm epoxy coated steel 1 stainless steel shelf at the bottom and stainless-steel Guard rails Adjustable side rails 4 swivel castor, approx. size 75 mm diameter (2 with brakes). File holder from stainless steel included The bed should be supplied with a mattress of a density of at least 27Kg of foam material per cubic meter of Approx. 800x450x 50mm thick covered with a mackintosh preferably brown or black. The mackintosh water resistant, flexible with a thickness of 0.5- 1.0mm which should be removable with a flapped zipper. | Each | 30 |
| 59. | Diagnostic Equipment Set for Ward | Requirements: Depressor, tongue, metal, adult/child Hammer, percussion, reflex test, solid rubber head Ophthalmoscope Sphygmomanometer, aneroid, child and adult cuffs Stethoscope, nurse Tape, measure, cloth, 2m Thermometer, clinical, oral, prismatic Thermometer, clinical, rectal Tuning fork, 512hz Proctoscope, child/adult Syringe, aural | Each | 32 |
| 60. | Hollow Ware Set, Ward | Contents: Bed pan, s/s (5No.) Urinal 1/2liters (5No.) Bowl, lotion, s/s, 0.2 liter (8No.) Bowl, lotion, s/s 0.5 liter (5No.) Bowl, lotion, s/s 1.5 liter (4No.) Bowl, lotion, s/s 4liter (3No.) Bowl, lotion, s/s 6liters (3No.) Cheatle forceps 240mm with a jar (2No.) Instrument tray, 30x20x2cm (4No.) Instrument tray set, 30x15x2cm (6No.) Jug, measuring, 1 liter (2No.) Kidney Dish, 20cm (5No.) Kidney Dish, 24cm (5No.) | Each | 32 |
| 61. | Instrument Set, Delivery | Contents: Forceps, Sponge Holding, 200mm (2No.) Needle holder, Mayo, 160mm (4No.) Scissors, Mayo, Curved, 150mm (2No.) Scissors, Epiotomy, Braun-sadler, 145mm (2No.) Scissors, umbilical, 105mm (2No.) Speculum, vaginal, cuscos (2No.) Speculum, vaginal, Sims, double blade (2No.) Bowl, lotion, s/s, 4.5 liters (2No.) Instrument Container, s/s, with cover, 300x200x50mm (1No.) Kidney dish, 24cm (2No.) Forceps, Artery Straight (2No) Mosquito Forceps, Artery Curved (2No) Forceps, dissecting, toothed (1No) Forceps, dissecting, non-toothed (1No) | Each | 80 |
| 62. | Instrument Set, Stitch Removing | Contents: Forceps, dissecting, straight, 1/2 Teeth, 160mm (2No.) Forceps, Sponge Holding, 200mm (2No.) Scissors, dressing, Straight 180mm (2No.) Scissors, ligature, Spencer, 130mm (2No.) Bowls, lotion, s/s, 0.2 liter (4No.) Instrument Container for items above, s/s, with cover (2No.) o.) | Each | 80 |
| 63. | MVA Kit | Contents: MVA Kit (double Valve) Speculum, vaginal, Cusco (1No.) Forceps, Sponge Holding, 200mm (1No.) Forceps, Uterine sound, Vulsellum, Schroeder (1No.) Bowl, lotion, s/s, with cover (1No.) | Each | 80 |
| 64. | Stool, Laboratory | Requirements Robust construction from steel tubular material, thickness of at least 2mm Height adjustable: Approx. 500-800mm. With back rest, capacity: 200kg Constructed with stainless Steel grade 304 Mobile with castors (of at least 50 mm) and 5 leg cast ring base Seamless upholstery with anti-static cushion and easy cleaning Contoured backrest and sound base Made with a supporting ring at the base for stability | Each | 48 |
| 65. | Penguin Sucker | Requirements: Soft, flexible suction tip with length and shape designed to reduce potential harm to new-born. Reusable and can be sterilized with autoclaving or high-level disinfected with boiling or chemical disinfection. Detachable head for easy cleaning and visual inspection of suctioned matter and cleanliness. Made of high-grade silicone to withstand hundreds of uses. Ergonomic form for precise control. Stands upright and will not roll away Size: Approx. 130 x 50 x 50mm Fluid Capacity: Approx. 75 ml | Each | 48 |
| 66. | Fetoscope | Requirements Should be wooden or plastic Should be able to manually listen the foetus heart beat | Each | 32 |
| 67. | Venturi Mask with tubing | Requirements Venturi mask with tubing kit which includes six (6) different oxygen diluters from 24% to 50%, a diverter for aerosol treatment, extended corrugate and oxygen tubing Colour coded for diluters for clear identification Made from soft PVC material Supplied with aluminium nasal clip for better fixation, Should be supplied with latex free elastic strap Should be supplied in both sizes of Adult and paediatric Connection: 22M for hood and 4F for oxygen tubing Diluters: 24% (Blue), 28% (Yellow), 31% (White), 35% (Green), 40% (Pink), 50% (Orange) | Each | 240 |
| 68. | Bag Valve Mask, Paediatric (Ambu Bag Paediatric) | Operational Requirements Resuscitator manual infant like AMBU Babies and children 15 Kgs Maximum stroke volume approx. 300 ml Operating temp-20 degrees C to +50 degrees C All components autoclavable or high level disinfection possible consisting of: non breathing valve self-inflating resuscitation bag Inlet valve, t piece, reservoir tube each transparent round face mask for baby Each rendell-backer mask size 00,0,1 & 2 Self-inflating bag Rubber silicon Dimension approx. 240 x 75mm Volume approx. 500 ml Inlet port for ah: 22 mm ED or equipped with removable connector piece (22mm ED) to connect a standard 22mm T piece or anaesthetic hose valve: type:'' paediatric valve'' detachable Dead space approx. 4 m 1 Patient connector:22/15mm (ISO) Resistance approx. 0.15 Pa a 10 1min Automatic control valve for auto adjustment of maximum pressure to 400 mm H20 Reservoir tube dimension approx. 1000mm x 22mm (capacity approx. 10 mm) T. piece 22mmF/22mm F with side arm 5-3 mm | Each | 240 |
| 69. | Bag Valve Mask, Adult (Ambu Bag Adult) | Operational Requirements Resuscitator manual adult like AMBU Self-inflating bag and non-rebreathing valve Non rebreathing valve AMBU E2 OR EJ Maximum stroke volume approx. 1300MM consisting of self-inflating resuscitation bag consisting of: inlet valve, T-piece, reservoir tube Each transparent round face mask for baby Each rendell-backer mask size 00,0,1 & 2,4,5 & 5 Self-inflating bag Rubber silicon complete in case with inlet valve Dimension: approx. 320 x 125 mm volume approx. 1500 ml Inlet port for ah: 22 mm ED or equipped with removable connector piece (22mm ED) to connect a standard 22mm T piece or anesthetic hose valve: Type: non rebreathing valve of anesthetic type, detachable Inspiratory resistance approx. 0.10 kPa at 50/1min Expiratory resistance approx. 0.15 kpa at 50/1min Automatic control valve for auto adjustment of maximum pressure to 400 mm H20 Reservoir tube dimensions approx. 1000mm x 22mm (capacity approx. 1000ml) T. piece 22mmF/22mmF with small arm tapered 5-3mm M | Each | 240 |
| 70. | Bag Valve Mask (Neonatal) | Requirements: Self-inflating neonatal resuscitation bag with masks. Size at least 200ml, for full-term babies, preterm and low-weight infants less than 5kgs. Reusable, hand-operated, portable and made of silicone or other materials as specified in ISO 10651-4 Ventilation can be done with ambient air or oxygen. Intake valve with nipple for oxygen tubing. Sizes 0 with outer diameter 35-50mm and size 1 with outer | Each | 240 |
| 71. | Centrifuge, Electric table top | Requirements: Table top swing out rotor centrifuge Technical parameters: Digital display of parameter values Water-protected foil keypad Smooth running at both high and low speeds Automatic change over RPM/RCF by entering rotor radius Automatic rotor recognition Braking type: Electric Viewing port in the lid Short spin key to spin the rotor at pre-selected speed or RCF (Continuous key press) 6 Sealed buckets for aerosol containment (inner lid, individual lids) Speed: 0-9000 rpm (minimum) Speed increments: increments of 10 RCF adjustments: increments of 10 Maximum acceptable sound level: 60dBA Variable rotational centrifugal force (RCF): approximately 2500g Accuracy: ±20rpm (display) Timer set/display: 1min-99 min Running time: 0-99min Memory: Minimum of 10 running programs Safety Metal housing and lid System equipped with visible backlit LED display for clear readout of set program and actual parameters Stainless steel chamber Lid locking and holding during run Emergency lid lock release Imbalance switch off Electrical Requirements 100-240V, 50Hz, single phase Electrical plugs should be BS, 3 pin grounded-medical grade Warranty Warranty period: 2 years Guaranteed availability of essential spare parts for at least 5 years Comprehensive application and end-user training Operation and service manual provided | Each | 16 |
| 72. | Kangaroo Mother Care Chair | Requirements: -Constructed from 50x50x2mm epoxy coated mild steel tubes. Having a luggage storage rack. Mobile on 50mm antistatic rubber castors at least 2 lockable Having a top pull handle to move from chair to bed and vice versa. Dimensions; Back at least W850mmxL1000mm Seat at least W850mmxL850mm Foot at least W850mmxL850mm Sleeping position, approx. L1900mmxW850mmxH400mm. Upholstery; Waterproof, washable and black non-stitched leather upholstery Having at least 27kg/cubic metre density inner foam | Each | 16 |
| 73. | Oxygen Flow Splitters | Requirements: To allow multiple patients to receive individually adjusted flow rates from a single source of oxygen. Having at least 5 oxygen flow meters, delivering from 0-15L/min of oxygen for both adults and paediatrics Wall mounted type, constructed from epoxy coated mild steel sheet. Supplied with humidifier bottles of approx..150ml with corresponding connectors. Having at least 2metres of tubing for oxygen connection. | Each | 32 |
| 74. | Nasal Cannula | Requirements: Cannulae and nasal prongs suitable for delivering oxygen/air mixture into nasal cavities. Rubber or soft plastic tubing and prongs, semi-rigid and allowing freedom of movements. Tubing wall thickness between 2-3mm. Non-permanent deformation if kinked or bent too tight. Round shape tube for low-flow procedures 0-15L/min range. Having straight, curved and flared tip prongs. Having multiple sizes for neonates, infants, children and adults of at least 1.5metres long, suitable for cleaning and disinfection. | Each | 480 |
| 75. | Nasal Catheter | Requirements: A flexible tube with a water-soluble gel, inserted through a naris to deliver supplemental oxygen to the nasopharynx Flexible nasal catheter with multiple holes at distal end. Rubber or soft plastic tubing and catheter, semi-rigid and allowing freedom of movements. Catheter length 10cm to 40cm. Non-permanent deformation if kinked or bent too tight. Having multiple sizes of 3-5mm internal diameter for neonates, infants, children and adults of at least 1.5metres long, suitable for cleaning and disinfection. | Each | 480 |

The attached commodity specific conditions will form an integral part of any resulting contract.

2.	Delivery and Completion Schedule

Procurement Reference Number: MOH/SPLS/20-21/00136

The delivery or completion period shall commence from the date of contract signature and effectiveness. Refer to the Incoterm in the GCC26 for the interpretation of the delivery period.

Table 1: LIST OF GOODS, RELATED SERVICES, DELIVERY AND COMPLETION SCHEDULE

|  |  | MEDICAL EQUIPMENT FOR UGIFT FY 2020/2021 LOT 4 - WESTERN |  |
| --- | --- | --- | --- |
| No. | Item Description | Unit | Quantity | Related Services | Warranty periods | Delivery and Completion Schedule |
| 1. | B.P. Machine | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 2. | B.P. Machine (Aneroid wall mounted) | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 3 | Autoclave 20 Liters. | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 4 | Bowl, Kick | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 5 | Bowl Stand | Pcs | 48 | Delivery, Installation and Training | 1 year | 4 month |
| 6. | Counting chamber Neubauer- Improved | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 7. | Cupboard Steel, Lockable | Pcs | 96 | Delivery, Installation and Training | 1 year | 4 month |
| 8. | Drip Stand | Pcs | 144 | Delivery, Installation and Training | 1 year | 4 month |
| 9. | ESR Stand | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 10. | Examination Couch | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 11. | Examination light | Pcs | 48 | Delivery, Installation and Training | 1 year | 4 month |
| 12. | Glucometer | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 13. | Haemoglobin Meter, Sahli | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 14. | Height Meter | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 15. | Instrument Trolley | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 16. | Microscope Binocular | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 17. | Mid Upper Arm Tape | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 18. | Otoscope | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 19. | Patient Screen | Pcs | 80 | Delivery, Installation and Training | 1 year | 4 month |
| 20. | Patient Trolley | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 21. | Refrigerator | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 22. | Stethoscope | Pcs | 128 | Delivery, Installation and Training | 1 year | 4 month |
| 23. | Stop Watch | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 24. | Stretcher | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 25. | Stove, Gas | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 26. | Weighing Scale with Height Meter, Adult | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 27. | Weighing Scale, Infant | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 28. | Weighing Scale, Toddler | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 29. | Wheel Chair | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 30. | Audio Visual Equipment | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 31. | Chair | Pcs | 112 | Delivery, Installation and Training | 1 year | 4 month |
| 32. | Desk | Pcs | 80 | Delivery, Installation and Training | 1 year | 4 month |
| 33. | Filing Cabinet | Pcs | 96 | Delivery, Installation and Training | 1 year | 4 month |
| 34. | Medical Waste Bin | Pcs | 320 | Delivery, Installation and Training | 1 year | 4 month |
| 35. | Wall Clock | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 36. | Diagnostic Equipment Set for MCH | Pcs | 48 | Delivery, Installation and Training | 1 year | 4 month |
| 37. | Diagnostic Equipment Set for OPD | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 38. | Glassware Set, Laboratory, Basic | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 39. | Hollow Ware Set, Treatment | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 40. | Instrument Set, Dressing | Pcs | 112 | Delivery, Installation and Training | 1 year | 4 month |
| 41. | Instrument Set, Basic ENT | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 42. | Instrument Set, Suture | Pcs | 48 | Delivery, Installation and Training | 1 year | 4 month |
| 43. | Pulse Oximeter | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 44. | Bed, Adult Patient | Pcs | 160 | Delivery, Installation and Training | 1 year | 4 month |
| 45. | Bed, Pediatric Patient | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 46. | Bedside Locker | Pcs | 160 | Delivery, Installation and Training | 1 year | 4 month |
| 47. | Cupboard, Instrument | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 48. | Delivery Bed | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 49.. | Oxygen Therapy Apparatus | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 50. | Resuscitator Manual, Infant | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 51. | Resuscitator Manual, Adult | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 52. | Stool, Surgeon | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 53. | Suction Apparatus, | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 54. | Nebulizer | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 55. | Oxygen Concentrator | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 56. | Bench | Pcs | 64 | Delivery, Installation and Training | 1 year | 4 month |
| 57. | Disinfection Buckets | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 58 | Baby Cot | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 59 | Diagnostic Equipment Set for Ward | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 60 | Hollow Ware Set, Ward | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 61 | Instrument Set, Delivery | Pcs | 80 | Delivery, Installation and Training | 1 year | 4 month |
| 62 | Instrument Set, Stitch Removing | Pcs | 80 | Delivery, Installation and Training | 1 year | 4 month |
| 63 | MVA Kit | Pcs | 80 | Delivery, Installation and Training | 1 year | 4 month |
| 64. | Stool, Laboratory | Pcs | 48 | Delivery, Installation and Training | 1 year | 4 month |
| 65. | Penguin Sucker | Pcs | 48 | Delivery, Installation and Training | 1 year | 4 month |
| 66. | Fetoscope | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 67 | Venturi Mask with tubing | Pcs | 240 | Delivery, Installation and Training | 1 year | 4 month |
| 68 | Bag Valve Mask, Paediatric (Ambu Bag Paediatric) | Pcs | 240 | Delivery, Installation and Training | 1 year | 4 month |
| 69 | Bag Valve Mask, Adult (Ambu Bag Adult) | Pcs | 240 | Delivery, Installation and Training | 1 year | 4 month |
| 70 | Bag valve mask (Neonatal) | Pcs | 240 | Delivery, Installation and Training | 1 year | 4 month |
| 71 | Centrifuge | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 72 | Kangaroo Mother Care Chair | Pcs | 16 | Delivery, Installation and Training | 1 year | 4 month |
| 73 | Oxygen Flow Splitters | Pcs | 32 | Delivery, Installation and Training | 1 year | 4 month |
| 74. | Nasal Cannula | Pcs | 480 | Delivery, Installation and Training | 1 year | 4 month |
| 75. | Nasal Catheter | Pcs | 480 | Delivery, Installation and Training | 1 year | 4 month |

Table 2: MEDICAL EQUIPMENT DISTRIBUTION PER HEALTH FACILITY

| No. | Equipment Name | Buhuhira HC III | Kiyanja HC III | Kyabakara HC III | Mayanga HC II | Kyeibanga HC II | Ntungamo HC II | Rwabarata HC III | Rwentamu HC III | Kihani HC III | Nyanga HC III | Ihunga HC III | Kahondo HC III | Kitooma HC III | Mantoroba HC III | Mirambi HC III | Rubona HC III | TOTAL EQUIPMENT |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OUTPATIENT DEPARTMENT (Medical Equipment and Furniture) |
| 1 | Autoclave, External Heated, 20 liters, to include sterilisation drum set 2 Large, 2 Medium, 2 Small | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 2 | B.P. Machine aneroid wall mounted | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 3 | Bowl Stand | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 4 | Bowl, Kick | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 5 | Centrifuge | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 6 | Counting Chamber, Neubauer-Improved | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 7 | Cupboard, Steel, Lockable | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 8 | Drip Stand | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 9 | ESR Stand | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 10 | Examination Couch | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 11 | Examination Light | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 12 | Glucometer | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 13 | Haemoglobin meter, sahli | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 14 | Height Meter | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 15 | Instrument Trolley | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 16 | Microscope Binocular | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 17 | Mid upper arm MUAC Tape | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 18 | Otoscope | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 19 | Patient Screen | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 20 | Patient Trolley | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 21 | Refrigerator (General) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 22 | Stethoscope | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 23 | Stop watch | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 24 | Stove, gas | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 25 | Stretcher | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 26 | Weighing Scale, Adult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 27 | Weighing Scale, Infant | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 28 | Weighing Scale, Toddler | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 29 | Wheel Chair | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 30 | Laboratory Stool | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| Other Ordinary Equipment & Furniture |
| 31 | Audial visual equipment | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 32 | Chair | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 33 | Desk | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 34 | Filing Cabinet | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 35 | Medical Waste Bin | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 160 |
| 36 | Wall Clock | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| Instrument Sets |
| 37 | Diagnostic Equipment Set for MCH | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 38 | Diagnostic Equipment Set for OPD | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 39 | Glassware/Instrument Set, Laboratory, Basic | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 40 | Hollow Ware Set, Treatment | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 41 | Instrument Set, Dressing | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 42 | Instrument Set, ENT Basic for HCIII | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 43 | Instrument Set, Suture | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| Medical Equipment and Furniture |
| 1 | Autoclave, External Heated, 20 liters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 2 | B.P. Machine aneroid wall mounted | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 3 | B.P. Machine aneroid | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 4 | Pulse Oximeter | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 5 | Bed, Adult Patient | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 160 |
| 6 | Bed, Paediatric | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 7 | Bedside Locker | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 160 |
| 8 | Bowl Stand | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 9 | Cupboard, Instrument | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 10 | Cupboard, Steel, Lockable | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 11 | Delivery Bed | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 12 | Drip Stand with movable castors | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 96 |
| 13 | Examination Couch | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 14 | Examination Light | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 15 | Fetoscope | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 16 | Height Meter | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 17 | Instrument Trolley | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 18 | Oxygen Therapy Apparatus | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 19 | Patient Screen | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 20 | Refrigerator | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 21 | Resuscitator, Manual, Adult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 22 | Resuscitator, Manual, Infant | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 23 | Glucometer | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 24 | Stethoscope | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 25 | Stool, Surgeon | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 26 | Stove, gas | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 27 | Suction Apparatus, foot | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 28 | Penguin Sucker | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 29 | Weighing Scale, Adult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 30 | Weighing Scale, Infant | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 31 | Wheel Chair | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 32 | Kangaroo Mother Care Chair | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 33 | Nebulizer | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 34 | Bag valve mask (Adult) | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 240 |
| 35 | Bag valve mask(Pediatric) | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 240 |
| 36 | Bag valve mask (Neonatal) | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 240 |
| 37 | Flow splitters | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 38 | Nasal catheter (Pediatric) | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 480 |
| 39 | Nasal Cannula (Pediatric) | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 480 |
| 40 | Oxygen Concentrators | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 41 | Venturi mask with tubing | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 240 |
| Other Ordinary Equipment & Furniture |
| 42 | Bench | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 43 | Bucket, Set (3 each) for disinfection | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 44 | Chair | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 45 | Desk | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 48 |
| 46 | Filing Cabinet | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 47 | Medical Waste Bin | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 160 |
| 48 | Wall Clock | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 16 |
| 49 | Baby Cots | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| Instrument Sets |
| 50 | Diagnostic Equipment Set for Ward | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 51 | Hollow Ware Set, Ward | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 32 |
| 52 | Instrument Set, Delivery | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 80 |
| 53 | Instrument Set, Dressing | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 64 |
| 54 | Instrument Set, Stitch Removing | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 80 |
| 55 | MVA Kit, Reusable | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 80 |

Table 3: EQUIPMENT INSTALLATION SCHEDULE FOR LOT-4 WESTERN HEALTH FACILITIES

| No. | District | Health Facility | Distance from Kampala to District (Km) |
| --- | --- | --- | --- |
| 01. | Kasese | Buhuhira HC II | 371 |
| 02. | Buhweju | Kiyanja HC II | 338 |
| 03. | Rubirizi | Kyabakara HC II | 365 |
| 04. | Mitooma | Mayanga HC II | 344 |
| 05. | Sheema | Kyeibanga HC II | 300 |
| 06. | Kanungu | Ntungamo HC II | 416 |
| 07. | Kiruhura | Rwabarata HC II | 256 |
|  |  | Rwentamu HC II |  |
| 08. | Ibanda | Kihani HC II | 310 |
| 08. | Ntungamo | Nyanga HC II | 332 |
|  |  | Ihunga HC II |  |
| 09. | Kabale | Kahondo HC II | 410 |
|  |  | Kitooma HC II |  |
| 10. | Bundibugyo | Mantoroba HC II | 380 |
|  |  | Mirambi HC II |  |
| 11. | Bunyangabu | Rubona HC II | 328 |

3.	Specification and Compliance Sheet

Procurement Reference Number: MOH/SPLS/20-21/00136

Column b states the minimum technical specification of the item(s) required by the Procuring and Disposing Entity.

The Bidder is to complete column c with the technical specification of the item(s) offered and to state “comply” or “not comply” and give details of the areas of non-compliance.

The detailed technical evaluation will examine the technical specification of the items offered in column c and determine whether this meets the minimum specification in column b.  Bidders must complete column c or the bid will be rejected.  Bidders are required to use column d to include technical literature to support the details provided in column c.

Technical Specifications for Procurement, Supply, Delivery and Installation, training and Commissioning of Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021

| Item No. | Minimum Technical Specification Required by the Procurement Entity | Technical Specification offered by Bidder | Comply/ Do not Comply (To be filled by Bidders) |
| --- | --- | --- | --- |
| a | b | c | d |
| 1. | B.P. Machine Requirements: Consisting of: Main Unit: 1 set Cuff for adult: 2 pcs Cuff for infant: 2 pcs Extra-large adult: 2 pcs Carrying case Specifications: Main unit Type: Aneroid or Mercury, Portable type Cuff: Velcro type, Washable Measuring range: 0～300 mmHg or wider |  |  |
| 2. | B.P. Machine (Aneroid wall mounted) Requirements: Consisting of: Main Unit: 1 set Cuff for adult: 2 pcs Cuff for infant: 2 pcs Extra-large adult: 2 pcs Carrying case Specifications: Main unit Type: Aneroid wall mounted Cuff: Velcro type, Washable Measuring range: 0～300 mmHg or wider |  |  |
| 3. | Autoclave 20 Litres Specifications: Sturdy construction in rustproof, heavy gauge aluminium. Steam under pressure and temperature between 120°C to 135°C. For use with external heat source such as gas/paraffin stove. Features: All aluminium deep drawn seamless construction Light, compact, portable, easy to use, top loading Fast 20 min. sterilizing cycle at 121ºC. Equipped with two stages over pressure protection system incorporating a calibrated continuous bleeding pressure stopcock and pressure release weight valve Extended life gasket Equipped with heat resistant handles and steam release/ control valve Supplied with TST indicator stickers to carry out independent verification that the correct combination of temperature, steam & time has been achieved for successful sterilization. Pressure Gauge: Colour coded pressure gauge showing internal chamber conditions during the cycle. Full scale dial of pressure gauge is0-2.2kPa with caution zone in red colour. Include sterilization drum set 2 Large, 2 Medium, 2 Small |  |  |
| 4. | Bowl, kick Requirements: Consisting of: Bucket receptor with rubber bumper and at least castors: 1 unit Bucket: 1 unit Specifications: Material: Stainless steel 18/10 – bright polish finishing or satin finishing Bucket size: Dia. 400mm x 180mm (H) or more Rubber bumper: Should be provided With heavy duty castors, Diameter: 50mm or more |  |  |
| 5. | Bowl Stand Requirements: Consisting of: Main unit for 2 basins: 1 pc Basin: 2 pcs Specifications: Main frame constructed in hospital grade stainless steel grade 304 Frame Dimension: 600(W) x 350(D) x 750(H) mm or larger with 75mm Diameter castors. Frame pipe diameter: 25mm out of 1.2mm gauge steel plate minimum. Basin: Constructed from high grade hospital stainless steel grade 304 Basin Size: Minimum Dia. 300 x 100mm CE certified |  |  |
| 6. | Counting Chamber, Neubauer-Improved Requirements: Hemocytometer, improved Neubauer counting chamber Set Glass chamber and cover glass from thermal and shock resistant glass Individual Cell dimension: 0.05 x 0.05mm Gap between cover: 0.1mm slip and grid area Pipettes: red blood cells (RBC) and White blood cells (WBC) pipettes Tubing/Sucker Rubber material: a pair for RBC & WBC Cover Slips 22 x 25mm, 1 box Spare Parts: additional pair of RBC & WBC pipettes each with every Neubauer chamber Should be ISO certified |  |  |
| 7. | Cupboard, Steel lockable Requirements: Cabinet with 2 lockable doors and 6 shelves. Specifications: Steel: Sendzimir- galvanized plate thickness 0.75mm. Electrostatic plastic powder coated steel plate 0.75mm applied by enameling (epoxy-polyester compound). Absolutely non-porous and de-contaminable. The coating is applied only after the treatment of the basic materials has been fully completed, therefore no open edges and absolutely corrosion resistant. Dimensions: Approx. 900x400x 2050mm |  |  |
| 8. | Drip Stand Requirements: Strong tubular stand, mounted on metallic base with five castors of 50mm dia. Stainless steel grade 304 Height adjustable between 140 to 240 cm With double hooks for fitting IV bottles |  |  |
| 9. | ESR Stand Requirements: ESR Apparatus, Westergren. Stand for 10 pipettes made from corrosion resistant material. Well finished and polished steady and robust. |  |  |
| 10. | Examination Couch Requirements: Constructed from chrome –plated square tubes of 50x50x2mm thickness Fully adjustable headrest Top upholstered and covered with washable plastic material Having rubber boots on frame stands Size: approx. 180x70x80cm. |  |  |
| 11. | Examination light Requirements: Type: Floor stand Arm: Flexible Lamp: 1 pc, LED Bulb Light intensity: 8000 lux or more at 80cm distance Reflector: Device for maximize light intensity provided Height: 1100mm or more, Adjustable Stand with casters: 5No. x 50mm Diameter castors Power source: 100 - 240V, 50/60Hz |  |  |
| 12. | Glucometer Requirements: Type: Hand held meter using electrochemical technology Reading range/linearity: 0.6 to 33 mmol/l Maximum reading time: 10 seconds Blood sample size: 1 to 2.0μl Display: LCD display Measuring unit: mmol/l. Operating temperature: 8 to 420C Humidity: up to 85% Memory: 500 results with date and time Battery: Replaceable Lithium Ion coin type, with battery life of 1000 tests or one year Auto power off time: Maximum 90 Seconds Should have facility to ensure accuracy of Controls: Three types of control solutions of each at least 20 ml, normal, abnormally low and abnormally high Data transfer: By USB cable Certification: CE / FDA The strips should be available in Uganda Local Market |  |  |
| 13. | Haemoglobin Meter, Sahli Requirements: Type: Should be a hand-held point of care analyzer. Display: digital LED. Measurement reading: Concentration of hemoglobin in g/dl Zero Adjustment Automatic (Without Knob rotation). Accuracy + 0.2 g/dl Specimen requirement 10 µL of capillary, venous, or arterial blood are needed for the assay. Results: Results are displayed in g/dL within 15–60 seconds depending on the hemoglobin concentration. Measuring range: 0-25.6 g/dL. Memory: In – built to retain last K factor for concentration System: a disposable microcuvette containing dry reagent and a factory-calibrated analyzer. Method: should correlate well with the international reference method for hemoglobin determination (ICSH). Quality control: Should have an internal electronic self-test which automatically verifies that the optronic unit of the instrument is working properly each time the analyzer is switched on and every second hour thereafter. CE certified |  |  |
| 14. | Height Meter Requirements: Main unit: 1 Unit Specifications: Material: Aluminium pole and steel base Measuring range: 600 to 2000m or higher Scale: 1 mm increments |  |  |
| 15. | Instrument trolley Requirements: Dimensions: Approx. 600 x 400 x 800mm high Mobile seamless square-section tubular frame construction in 316 stainless steel. Tubular frame extended as guard rail, on top and bottom with removable shelves. Storage tray in 316ss, square with swivel-type support and fixation clamps. Size: Approx., 240 x 200 mm Swivel castors approx. 75 mm dia. with double ball bearing electrically conductive non-snagging type, provided with bumpers. |  |  |
| 16. | Microscope Binocular Requirements: All-purpose microscope for general laboratory use, with binocular head, inclined 45 o, build in graduated mechanical stage with control knob, with iris diaphragm, and filter holder, eye pieces, objective lens and illumination controls.  Eyepieces: Paired 10x wide-field  Objective: Magnifications 4x, 10x, 40x, 100x (oil immersed)  Optical System: Universal Infinity System  Observation Tube: Binocular  Angle of Inclination: 45oC  Interpupillary Adjustment  Distance > 40 – 70 mm  Condenser Type: Aperture Iris Diaphragm  Mechanical Stage: Graduated, with coarse and fine focusing control  Focusing Control: Coarse Focusing – Stage  Height Movement: Fine Focus Graduation  Illumination System: built in base illuminator, LED bulb 6V, with brightness control, mains operated: Mirror Unit for Natural Light Illumination  Power Requirements: 100-240VAC, 50/60Hz  Storage: Lockable Wooden Cabinet/Box Accessories Voltage stabilizer, 50VA, 240VAC LED Bulbs (1No.), Immersion oil Other requirements: Compliance to CE, ISO or any other internationally recognized standards |  |  |
| 17. | Mid Upper Arm Tape Operational Requirements: Method of determining the nutritional status of infants by measuring the Suitable for measuring child's Middle Upper Arm Circumference (MUAC) with range up to 26.5cm. Graduated with 1mm precision with thicker line at 21.0cm. Accuracy: ± 0.1cm of the maximum measurement (26.5cm) Colour-coded as follows: Red (Pantone code 1795 C) up to 0 - 11.5cm, Yellow (Pantone code PMS021) Green (Pantone code 107 C) from 12.5cm. Material: Non-tear stretch-resistant plastic/cloth, Minimum thickness 0.03cm. Print: Permanent, resistant to solvents; easily readable in low light working situations. Working temperature range 10-40°C Supplied with: Text and pictorial user instructions in English |  |  |
| 18. | Otoscope: Requirements: Composition (Per set)  Main Unit  Reusable plastic specula 2.5mm or 4mm. Specifications: Main unit Head: Pivoting head has a wide-angle viewing lens, magnification 3x. Reusable plastic specula can be attached to frontal part. Bulb: Halogen bulb, 2.5V provides with bright white light Handle: On/off switch should be attached |  |  |
| 19. | Patient Screen Specifications: Type: 4 panels jointed with hinges Material: Frame Steel, Chrome plated Screen curtain: Vinyl (grade to be determined) with strings for fixing it on the frame. Colour Screen curtain: Off-white or light cream yellow or blue Height from ground: Approx. 1670mm or more Height from bottom of: Approx.1640mm or more screen to top: Panel width: At least 50cm Castors: Two heavy duty castors for each panels, fixed by bolts and nuts a flat base. Dimension of Castors: Approx. 50mm |  |  |
| 20. | Patient Trolley Requirements: Main unit: Material: Epoxy Coated Steel 50x50x2mm Dimensions: Approx. 1930*640*500-900mm Side rail: Foldable I.V. pole: 1 pc with double hook provided Having 500 Lts cylinder with a holder Mattress: Urethane sponge covered with vinyl leather approx. 25mm Castors: At least four heavy duty castors and two lockable should be provided Dimension of Castors: Approx. 150mm or more |  |  |
| 21. | Refrigerator Requirements: Type; Refrigerator and freezer Storage Capacity; Refrigerator 55Lt Freezer 36Lt Domestic absorption type, fully tropicalized. Internal temperature or refrigerator at an ambient temperature of 43 degrees Centigrade, minimum +2 degrees Centigrade, Maximum +5 degrees Centigrade. Hold over time during power cut off between 5-10 hours. Power requirement per 24 hours ¦(Electricity): 3.5 – 4.3 KWh Power consumption (Gas): 0.8Lt/24hrs Lockable door, and provided with lock. Power supply: 100 - 240V, 50/60 Hz |  |  |
| 22. | Stethoscope: Requirements: Stethoscope, binaural, dual chest piece. Specifications:  Cardiology stethoscope with high quality stainless steel piece for excellent acoustics  Stainless steel double inner spring binaural and durable  Elegantly moulded PVC tubing, dual head  Approximate length; at least 381 mm  Supplied with two spare of soft ear piece. CE certified |  |  |
| 23. | Stop Watch Requirements: 1 sec to 24 hrs., thru-zero function for counting down, alarming and counting up time of day clock with AM/PM indicator display. |  |  |
| 24. | Stretcher Requirements: Stretcher, Collapsible Constructed from mild steel tubular pipe of 50mm diameter, 2mm thick mounted on four Approx. 150mm diameter Castors with brakes Detachable stretcher top made from stainless steel or aluminum sheet fixed on tubular frame Collapsible safety hand rails and infusion pole Dimensions: 1900L x 600W x 670H |  |  |
| 25. | Stove, Gas Requirements: Product dimensions: 680 x 375 x 70mm Panel: 0.4mm mild steel with black coating Burner Size: 100mm (), 120mm () Fire lid material: copper Piezoelectric ceramic ignition Extra thin design, the height of the whole stove is just 5cm Unique design to prevent water from flowing into the cooker body High efficiency burner All valves adopt high quality materials and can be safely used for over 10 years Heat load: 4.0kW Heating efficiency: >55% Applicable gases: LPG, natural gas, coal gas |  |  |
| 26. | Weighing Scale with Height Meter, Adult Requirements: Weighing Scale with height measuring rod. Steel body duly epoxy powder coated. Heavy standing base covered with Antiskid mat. Capacity: Minimum 150kg x 100g graduation. Height Rod 200-2800mm x 1mm graduation Platform size: Minimum 370x270mm |  |  |
| 27. | Weighing Scale, Infant Requirements: Weighing scale, baby, basin type, sliding weights Infant top basin/tray Sliding weight type, heavy duty, metal frame, hospital model Capacity: 16 kg x 10gm Made of molded acrylic or any other high impact and corrosion resistance material. Approximate size: 600x430mm Display: Digital |  |  |
| 28. | Weighing Scale, Toddler Requirements: Weighing Scale with height measuring rod. Steel body duly epoxy powder coated. Heavy standing base covered with Antiskid mat. Capacity: Minimum 50kg x 100g graduation. Height Rod 200-1200mm x 1mm graduation Platform size: Minimum 370x270mm |  |  |
| 29. | Wheel Chair Requirements: Folding Approx. 430 mm seat with adjustable leg rests for length, 25x610 mm diameter rubber tired, ball bearing wheel at rear, Swivel castors with 125 mm rubber wheels at front: with chromium plated wheel rims, hand rims for self-propulsion and hand brakes. |  |  |
| 30. | Audio Visual Equipment Requirements: To include the following: 1. LED Flat Screen TV of at least 40 Inch and DVD Panel Technology A-MVA as Samsung or approved better technology Viewable Image not less than Size 40" Native Resolution 1920 x 1080 minimum Pixel Pitch 0.48mm minimum Backlight Type LED Edge-lit Pixels Per Inch 52@ native resolution minimum Brightness (typical) approx. 350cd/m2 Brightness (maximum) approx. 350cd/m2 Contrast Ratio (typical) 3000:1 Viewing Angle 178° Vert., 178° Hor. (89U/89D/89L/89R) @ CR>10 Response Time (Gray to Gray) 6.5ms Refresh Rate 60Hz Multiple input / output options Active Screen Area 36.6 x 20.6 in. / 930.3 x 523.3mm Orientation Landscape Displayable Colours More than 16.7 million with accessories for wall mounting Install LED Display in a custom made cage to be approved by the client Additional features Built-in NTSC/ATSC (8-VSP, Clear QAM) analog/digital tuner Variable picture modes (Dynamic Standard/Energy Savings/Theater/Custom) Advanced Video/Audio Settings Sleep Timer Built-In closed captioning Parental Control (V-Chip Function) To be usable with queuing system which is based on Wavetec platform Power management USB Port LCD Projector High brightness of 3500 ANSI Lumens Contrast Ratio: 2100:1 Typical (Full On / Full Off) Resolution: WXGA (1280 x 800) Connectivity Power: AC power input socket Computer Input: two D-sub for analog/RGB component, HDTV input signals Computer Output: one 15-pin D-sub Video Input: one composite video RCA and one S-video USB Input: one USB slave for remote support and firmware upgrade Audio input: one phone jack (Diameter 3.5mm) and one pair of RCA connector; one microphone input HDMI Input: one HDMI 1.3 (HDCP compliant) RS232: One mini-DIN RS232 for wired remote projector control from PC 1.28 (wide) ~ 1.536(tele) 2 Years Warranty Projector Ceiling Mount and Projector Suspended Ceiling Plate Lamp Life Cycle3: Up to 3000-hour Typical Up to 4000-hour Eco-Mode Multimedia Audio:8W Speaker VIDEO COMPATIBILITY S-Video/Composite Video: NTSC [J, M, 4.43, supports Closed Captioning (CC1~CC4)], PAL (B, D, G, H, I, M, N, Nc, 60), SECAM (B, D, G, K, K1, L) Component Video (via VGA) & HDMI (HDCP Compliant) - 480i/p, 576i/p, 720p, 1080i/p PC (VGA, HDMI): Refer to 3.10 Computer Compatibility Modes Power Cable VGA Cable Carrying case CD User’s Guide Remote Control with 2 AAA Batteries Quick Setup guide & Product Information guide KEYSTONE CORRECTION Vertical: +40° / -35° Uniformity: 85% Typical (Japan Standard - JBMA) Image Size: 92.20 ~ 919.48 cm (36.3" ~ 362") (diagonal) Project Distance: 1.2 - 10m Projection screen: Screen, projection, wall model Approx. Size: 1800 (l) x 1800 (h) mm Satin-matt white screen, With manual tilting and retracting/winding system, Complete with fixtures for wall mounting 1-year local supplier’s warranty |  |  |
| 31. | Chair: Requirements: Swivel with arm-rests, Base arms with castors, vinyl leather, upholstered, color grey or cream. Seat size: Approx. 500mmWx520mmDx450mm, Comfortable task chair upholstered in black fabric, Padded seat and back for all day comfort and support, Pneumatic seat- height adjustment, Low back 360degrees swivel; smooth rolling casters and with arm rest. 50mm unhooded castors for greater rolling properties on soft carpets, Durable, black upholstery, leather fabric with arm rests |  |  |
| 32. | Desk Requirements: Approx. dimensions 1800 (l) x 700 (w) x 750 (h) mm with two sets of 3 lockable drawers. Frame made of mild steel tubular or rectangular sections of approx. 40mm x 40 mm with minimum 2mm thickness. Square section ends to be fitted with rubber or plastic bungs. Frame to be chromium plated or epoxy coated. Sheet metal parts with minimum thickness of 1mm, epoxy coated 20mm plywood desktop with Formica finish. |  |  |
| 33. | Filing Cabinet Requirements: With 4 shelves lockable with one key Body made of galvanized steel plate: thickness 0.75mm. Absolutely non-porous, decontaminable, enameled with epoxy polyester compound |  |  |
| 34. | Medical Waste Bin Requirements: Pedal bin (for waste disposal) Galvanized mild steel with lid, foot-operated, 20 litres capacity Galvanized sheet metal thickness min. 1 mm. with plastic pail |  |  |
| 35. | Wall Clock Requirements: Wall type, with hours, minutes and seconds hands, 1-12 indication and minute lines, 300 mm, diameter, battery operated. |  |  |
| 36. | Diagnostic Equipment Set for MCH Contents: Stethoscope, foetal, Aluminium (3No.) Speculum, Vaginal, Cusco (5No.) |  |  |
| 37. | Diagnostic Equipment Set for OPD Contents: Hammer, percussion, Reflex test, Solid Rubber head (1No.) Tape measure, Cloth, 2m (1No.) Thermometer, Clinical (10No.) Tourniquet, pneumatic (2No.) Skin fold caliper (1No.) |  |  |
| 38. | Glassware Set, Laboratory, Basic Contents: Holder, wire loop, aluminium, 240mm (3No.) Forceps cover glass, flat, bent tips,100mm (2No.) Forceps, microscope slide, 125mm (1No.) Loop, wire, inoculating, normal, CrNi, diameter 2.5mm (6No.) Scissors, general purpose (1No.) Pencil, diamond type for writing on glass, (2No.) Scriber, glass marking, tungsten carbide, 125mm (1No.) |  |  |
| 39. | Hollow Ware Set, Treatment Contents: Towel Clip, (6No.) Forceps, Obstetric, (2No.) Forceps, Artery, Curved, 150mm (6No.) Forceps, Artery, Curved, 180mm (6No.) Forceps, Artery, Straight. 150mm (6 No) Forceps, Artery, Straight. 180mm (6 No) Forceps, Dissecting, Straight, 1/2 Teeth, 180 & 200mm (2No.) Forceps, Dissecting, Straight, Plain, 180mm & 200mm (2No.) Forceps, Periotoneum, Green Armytage, 210mm (8No.) Forceps, Sponge Holding, 240mm (2No.) Forceps, Tissue, Allis, 4x5 Teeth (4No.) Handle for Surgical Blade No.4 (2No.) Needle Holder, Mayo, 180mm (2No.) Retractor, Doyen (1No.) Retractor, Langenbeck (2No.) Retractor, Morris, 51mm (2No.) Scissors, Mayo, Curved, 180mm (2No.) Scissors, Mayo, Straight, 180mm (2No.) Scissors, Stich (2No.) Instrument Container, s/s, With Cover (2No.) Scissor, Cord (2 No.) |  |  |
| 40. | Instrument Set, Dressing Contents: Forceps, dissecting, Straight, 1/2 teeth, 130mm (2No.) Forceps, sinus, 180mm (1No.) Forceps, Dissecting, Straight, Plain, 115mm (2No.) Forceps, Sponge holding, 200mm (1No.) Scissors, Mayo, Straight, 150mm (1No.) Scissors, dressing, straight, 165mm (1No.) Scissors, ligature, Spencer, 130mm (1No.) Bowls, lotion, s/s, 1.5 liter (1No.) Instrument container, s/s with cover, 300x200x50mm (1No.) Bowl lotion, s/s, and 0.2 liter (2No.) Kidney Dish, 24cm (2No.) |  |  |
| 41. | Instrument Set Basic ENT Contents: Forceps, Nasal Dressing, Tilley, 160mm (5No.) Tongue depressor, s/s (20No.) Ear syringe, s/s (1No.) Tuning fork 512Hz (1No.) Probe, Jobson Herne (5No.) Ease hook Blunt end (5No.) Wool carrier (2No.) Nasal Atmiser (1No.) Powder Blower (1No.) Nasal Speculum (10No.) Ear Speculum (50No.) |  |  |
| 42. | Instrument Set, Suture Contents: Forceps, Artery, Curved, 150mm (4No.) Forceps, artery, Straight, 150mm (4No.) Forceps, Dissecting, Straight, Plain, 130mm (2No.) Forceps, dissecting, Straight, 1/2 Teeth, 130mm (2No.) Forceps, Sponge Holding, 240m (2No.) Needle Holder, mayo, 150mm (2No.) Scissors, mayo, Straight, 150mm (2No.) Scissors, ligature, Spencer, 115mm (2No.) Instrument Container, s/s with cover (2No.) |  |  |
| 43. | Pulse Oximeter Requirements: Capable of measuring pulse rate and SpO2 using non- invasive method. The unit should be microprocessor based and model on current production. The following should be available: Large LED screen to display pulse and SpO2 values. With re-usable sensors Accuracy + or – 2% With selectable alarm limits Other indicators; Pulse strength Low battery Alarm Battery backup for at least one (1) Hour Humidity: 0% to 90% Voltage: 240 V, single phase, 50 Hz. |  |  |
| 44. | Bed, Adult Patient Requirements: Heavy duty made of rectangular mild steel frame 50x50x3mm., epoxy coated Head and foot bed end of approx. 50mm dia x 3mm thick circular steel tube with laminated panels With rubber bumpers to protect against direct contact with the walls Head rest adjustable with ratchet, mattress platform made of rigid mesh of perforated 3mm sheet metal. With rubber boots on the stands. With epoxy coated mild steel drip stand attached on the bed with hand nut and bolt. Having a hook holder and hooks made stainless steel. File holder from stainless steel included The bed should be supplied with a mattress of a density of at least 27Kg of foam material per cubic meter of Approx. 1950x895x 100mm thick covered with a mackintosh preferably brown or black. The mackintosh water resistant, flexible with a thickness of 0.5- 1.0mm. which should be removable with a flapped zipper. The zipper should be a standard plastic zipper 10# and width teeth size 10- 10.6 mm. Size: Approx. 2000x900x600mm |  |  |
| 45. | Bed, Paediatric Patient Requirements: Two section type made of Mild Steel sheet top. Mounted on heavy rubber shoes. Full length drops side railing on both sides. Tubular Pipe framework, Top of M.S. Sheet with perforations. Built in back rest ratchet Adjusted Drop side, safety railing at both side. Pre-treated and epoxy powder coated finish. Size Approx.: 1400 L x 800 W cm x 600 H mm. Fixed adjustable drip stand The mattress of a density of at least 27Kg of foam material per cubic meter of Approx. 1390x795x 100mm thick covered with a mackintosh preferably brown or black. The mackintosh to be water resistant, flexible with a thickness of 0.5- 1.0mm. which should be removable with a flapped zipper. The zipper should be a standard plastic zipper 10# and width teeth size 10- 10.6mm. |  |  |
| 46. | Bedside Locker Requirements: Machine pressed complete locker box, closed from three sides and with a suitable drawer for extra storage. Stainless sheet of 1mm thick top Pre-treated and powder coated Approx. dimensions: approx. 400x400x850mm The frame made of tubular sections of 3mm thickness with rubber shoes and floor clearance of 50mm |  |  |
| 47. | Cupboard, Instrument Requirements: Constructed from enameled mild sheet steel of 1.5 mm Upper section with two lockable 5mm plexi-glass doors, lock and flat key and two adjustable plexi- glass shelves Lower section with two sheet steel locking doors and removable steel sheet shelf Dimensions: Approx. 750x350x1600mm |  |  |
| 48. | Delivery Bed Requirements: Three (3) Sections delivery bed complete with adjustable footrest, leg rest, body section, lithotomy poles, IV pole, and detachable s/s basin. Robust 316 grade stainless-steel construction on four antistatic castors of diameter at least 150mm, 2 lockable. With safety side rails and antistatic high-density mattress with a cover. Complete with: Removable head frame Adjustable hand grips Removable and Adjustable Polyurethane Thigh Supports Infusion pole, adjustable Stainless Steel, Bowl Swinging arm, drop down side rails Lithotomy poles with padded leg rest and straps Sliding mechanism Tilting mechanism On 4 rubber castors 150mm, 2 castors independent on brakes 316 grade stainless steel metal frame of at least 50x50x2mm Height: adjustable, mechanical, 500mm to 1200mm Length: Adjustable, mechanical, 1500mm to 2140mm Trendelenburg: Forward: Min 25o, Reverse: Min 10o Leg section: at least 70cmx75cm Body section: at least 130cmx50cm Mattress thickness: At least 75mmthick, density 27kg per cubic meter, anti-microbial, waterproof, flame retardant, air permeable mattress. Having adhesive straps between bed frame and mattress. |  |  |
| 49. | Oxygen Therapy Apparatus Requirements: Composition Oxygen Cylinder Oxygen regulator 0-4.5 Bar, cylinder mounted, with flowmeter and humidifier bottle (pc) Adaptor (connector kit) pc Humidifier bottle 10pcs Cannula, oxygen, twin nasal, Adult 100pcs Cannula, oxygen, twin nasal, Pediatric 100pcs Specifications Oxygen Cylinder: 6.8-7.5 Cu M. Working pressure 200 Bars to British Standard Oxygen regulator, cylinder mounted, Oxylitre: With Oxygen Flow meter, metric threads Adaptor (connector kit) for humidifier bottle: Should be provided Humidifier bottle: Autoclavable PVC, 150ml capacity or more Cannula, oxygen, twin nasal, Adult: Should be provided Cannula, oxygen, twin nasal, Pediatric: Should be provided |  |  |
| 50. | Resuscitator Manual, Infant Requirements: Like AMBU Babies and children, 15 Kg Operating temp -20o to +50oC All components autoclavable or high level disinfection possible consisting of: Non-rebreathing valve Self-inflating resuscitation bag Inlet valve, 1 piece, reservoir tube Each transparent round face mask for baby Each Rendell-backer mask size 00, 0, 1 & 2 Self-inflating bag Rubber silicone Dimensions: approx. 240 x -75mm Volume approx. 500ml Inlet port for ah: 22mm ED or equipped with removable Connector place (22mm ED) to connect a standard 22mm T piece or anesthetic hose |  |  |
| 51. | Resuscitator Manual, Adult Requirements Resuscitator manual adult like AMBU Self-inflating bag and non-rebreathing valve Non rebreathing valve AMBU E2 OR EJ Maximum stroke volume approx. 1300MM consisting of Self-inflating resuscitation bag consisting of: inlet valve, T-piece, reservoir tube Each transparent round face mask for baby Each rendell-backer mask size 00,0,1 & 2,4,5 & 5 Self-inflating bag Rubber silicon complete in case with inlet valve Dimension: approx. 320 mm x 125 mm volume: approx. 1500 ml Inlet port for ah: 22 mm ED or equipped with removable connector piece (22mm ED) to connect a standard 22mm T piece or anaesthetic hose valve: type: non rebreathing valve of aesthetic type, detachable Inspiratory resistance approx. 0.10 kPa at 50/1min Expiratory resistance approx. 0.15 kpa at 50/1min Automatic control valve for auto adjustment of maximum pressure to 400 mm H20 Reservoir tube dimensions approx. 1000mm x 22mm (capacity approx. 1000ml) T. piece 22mmF/22mmF with small arm tapered 5-3mm M |  |  |
| 52. | Stool, Surgeon Requirements: Stool, Surgeon’s adjustable, anti-static cushion. Robust construction from steel / aluminum tubular material Mobile with castors and 5 leg cast ring base Foot operated for height adjustments: range 500 – 700mm Seat diameter: Approx. 360mm Seamless upholstery with anti-static cushion and easy cleaning Contoured backrest and sound base |  |  |
| 53. | Suction Apparatus, Electric Requirements: Suction Machine 2 Bottle (Electric), foot operated Vacuum 0 to 0.85 bar / 0 to 650 mmHg Flow rate 20-40 l/min Collection Jars: 2 x 2-4 litre Unit Dimensions: 38 x 65 x 20 (H x W x D cm) Weight: Approx. 12kg Noise Level: Maximum: 50dB Voltage: 100- 240v/50/60Hz Working temperature: +5 to +400C Suction tubing connection, antistatic neoprene with length of minimum 200mm Should be constructed from coated non-corrosive, extreme heat resistance material and electrically insulated and mobile on antistatic castors φ 50 mm, 2 No. lockable, with high level push handle. Anti-bacterial filters, single use Overflow pump protection The unit should be supplied with the following components: (2-4litre) graduated bottles or jars with lids 1 safety device 2 overflow spares 2 lid clip spares 8 Suction tubes, non-sterile 4 Spare fuse 2 spare jars (per unit) Bacterial filters 20 no. 1 user and maintenance manual CE Mark Cleats One-year warranty |  |  |
| 54. | Nebulizer Requirements: Maximum compressor pressure 2.5- 3.0 bar Nebulization rate 0.3 ml / min Nebulizer cup capacity 6ml Particle size (mmad) 0.5m to 5m Noise level 55 db Dimensions (compressor only) 10.7x 6.6x4.5 Weight (compressor only) 1.83 kg Electrical requirement 220v, 50Hz Operation cycles operation for 20min & off for 40min Warranty one year Nebulizer assembly and Accessories: Tubing Nebulizer cup Nebulizer insert Nebulizer cap An adult mask Mouth piece Five (5) extra filters CE mark certified |  |  |
| 55. | Oxygen Concetrator Requirements: Dual flow Oxygen concentrator capable of extracting medical grade oxygen from atmospheric air using PSA system. The unit should be mobile on castors and capable of supplying oxygen to two patients at a time. It should incorporate oxygen monitor facility complete with patient tubing’s, Detaied specifications: Performance characteristic Dual flow complete with flow meters Flow rate of minimum 2 l.p.m to maximum 10 l.p.m. with oxygen purity constant at 95% over this flow range. Medical grade oxygen at 95% purity, dry and oil free oxygen at the rated flow rate. Safety: Shutdown with power failure, high or low pressure and high temperature Dimensions: about 80cmH x 50 cm W x 40cm D Main power supply: 240V, 50Hz with a suitable surge protector Mains cable length 3m with 3 pin Top plug (U.K.) Standard: ISO 9001: 2000 certified or equivalent. |  |  |
| 56. | Bench: Requirements: Wooden bench, 1600(l) x300(w) x 350(h) mm. Made of Mahogany hard wood, polished finish, varnished, with rounded edges with sufficient cross connections for stability and rigidity. Strength sufficient to carry 5 adults (average weight of 80 kg of each). |  |  |
| 57. | Disinfection Buckets Requirements: Made of material HTPE or poly propylene containing no toxic elements according to EN1186-3-9 standards Capacity- 20 litres, should be easy to handle with handles with a strong flat handle. The lid of the bucket should be able to close tight but easy to close and open. The bucket should be impact resistant when filled and can withstand outdoor equatorial heat. Strong and durable quality for a long-life span in tough condition. |  |  |
| 58. | Baby Cot: Requirements: Size: Approx. (L) 810x (W) 460x (H) 960 mm Completely made of 40x40x2mm epoxy coated steel 1 stainless steel shelf at the bottom and stainless-steel Guard rails Adjustable side rails 4 swivel castor, approx. size 75 mm diameter (2 with brakes). File holder from stainless steel included The bed should be supplied with a mattress of a density of at least 27Kg of foam material per cubic meter of Approx. 800x450x 50mm thick covered with a mackintosh preferably brown or black. The mackintosh water resistant, flexible with a thickness of 0.5- 1.0mm which should be removable with a flapped zipper. |  |  |
| 59. | Diagnostic Equipment Set for Ward Requirements: Depressor, tongue, metal, adult/child Hammer, percussion, reflex test, solid rubber head Ophthalmoscope Sphygmomanometer, aneroid, child and adult cuffs Stethoscope, nurse Tape, measure, cloth, 2m Thermometer, clinical, oral, prismatic Thermometer, clinical, rectal Tuning fork, 512hz Proctoscope, child/adult Syringe, aural |  |  |
| 60. | Hollow Ware Set, Ward Contents: Bed pan, s/s (5No.) Urinal 1/2liters (5No.) Bowl, lotion, s/s, 0.2 liter (8No.) Bowl, lotion, s/s 0.5 liter (5No.) Bowl, lotion, s/s 1.5 liter (4No.) Bowl, lotion, s/s 4liter (3No.) Bowl, lotion, s/s 6liters (3No.) Cheatle forceps 240mm with a jar (2No.) Instrument tray, 30x20x2cm (4No.) Instrument tray set, 30x15x2cm (6No.) Jug, measuring, 1 liter (2No.) Kidney Dish, 20cm (5No.) Kidney Dish, 24cm (5No.) |  |  |
| 61. | Instrument Set, Delivery Contents: Forceps, Sponge Holding, 200mm (2No.) Needle holder, Mayo, 160mm (4No.) Scissors, Mayo, Curved, 150mm (2No.) Scissors, Epiotomy, Braun-sadler, 145mm (2No.) Scissors, umbilical, 105mm (2No.) Speculum, vaginal, cuscos (2No.) Speculum, vaginal, Sims, double blade (2No.) Bowl, lotion, s/s, 4.5 liters (2No.) Instrument Container, s/s, with cover, 300x200x50mm (1No.) Kidney dish, 24cm (2No.) Forceps, Artery Straight (2No) Mosquito Forceps, Artery Curved (2No) Forceps, dissecting, toothed (1No) Forceps, dissecting, non-toothed (1No) |  |  |
| 62. | Instrument Set, Stitch Removing Contents: Forceps, dissecting, straight, 1/2 Teeth, 160mm (2No.) Forceps, Sponge Holding, 200mm (2No.) Scissors, dressing, Straight 180mm (2No.) Scissors, ligature, Spencer, 130mm (2No.) Bowls, lotion, s/s, 0.2 liter (4No.) Instrument Container for items above, s/s, with cover (2No.) |  |  |
| 63. | MVA Kit Contents: MVA Kit (double Valve) Speculum, vaginal, Cusco (1No.) Forceps, Sponge Holding, 200mm (1No.) Forceps, Uterine sound, Vulsellum, Schroeder (1No.) Bowl, lotion, s/s, with cover (1No.) |  |  |
| 64. | Stool, Laboratory Requirements Robust construction from steel tubular material, thickness of at least 2mm Height adjustable: Approx. 500-800mm. With back rest, capacity: 200kg Constructed with stainless Steel grade 304 Mobile with castors (of at least 50 mm) and 5 leg cast ring base Seamless upholstery with anti-static cushion and easy cleaning Contoured backrest and sound base Made with a supporting ring at the base for stability |  |  |
| 65. | Penguin Sucker Requirements: Soft, flexible suction tip with length and shape designed to reduce potential harm to new-born. Reusable and can be sterilized with autoclaving or high-level disinfected with boiling or chemical disinfection. Detachable head for easy cleaning and visual inspection of suctioned matter and cleanliness. Made of high-grade silicone to withstand hundreds of uses. Ergonomic form for precise control. Stands upright and will not roll away Size: Approx. 130 x 50 x 50mm Fluid Capacity: Approx. 75 ml |  |  |
| 66. | Fetoscope: Requirements Should be wooden or plastic Should be able to manually listen the foetus heart beat |  |  |
| 67. | Venturi Mask with tubing: Requirements Venturi mask with tubing kit which includes six (6) different oxygen diluters from 24% to 50%, a diverter for aerosol treatment, extended corrugate and oxygen tubing Colour coded for diluters for clear identification Made from soft PVC material Supplied with aluminium nasal clip for better fixation, Should be supplied with latex free elastic strap Should be supplied in both sizes of Adult and paediatric Connection: 22M for hood and 4F for oxygen tubing Diluters: 24% (Blue), 28% (Yellow), 31% (White), 35% (Green), 40% (Pink), 50% (Orange) |  |  |
| 68. | Bag Valve Mask, Paediatric (Ambu Bag Paediatric) Operational Requirements Resuscitator manual infant like AMBU Babies and children 15 Kgs Maximum stroke volume approx. 300 ml Operating temp-20 degrees C to +50 degrees C All components autoclavable or high level disinfection possible consisting of: non breathing valve self-inflating resuscitation bag Inlet valve, t piece, reservoir tube each transparent round face mask for baby Each rendell-backer mask size 00,0,1 & 2 Self-inflating bag Rubber silicon Dimension approx. 240 x 75mm Volume approx. 500 ml Inlet port for ah: 22 mm ED or equipped with removable connector piece (22mm ED) to connect a standard 22mm T piece or anaesthetic hose valve: type:'' paediatric valve'' detachable Dead space approx. 4 m 1 Patient connector:22/15mm (ISO) Resistance approx. 0.15 Pa a 10 1min Automatic control valve for auto adjustment of maximum pressure to 400 mm H20 Reservoir tube dimension approx. 1000mm x 22mm (capacity approx. 10 mm) T. piece 22mmF/22mm F with side arm 5-3 mm |  |  |
| 69. | Bag Valve Mask, Adult (Ambu Bag Adult) Operational Requirements Resuscitator manual adult like AMBU Self-inflating bag and non-rebreathing valve Non rebreathing valve AMBU E2 OR EJ Maximum stroke volume approx. 1300MM consisting of self-inflating resuscitation bag consisting of: inlet valve, T-piece, reservoir tube Each transparent round face mask for baby Each rendell-backer mask size 00,0,1 & 2,4,5 & 5 Self-inflating bag Rubber silicon complete in case with inlet valve Dimension: approx. 320 x 125 mm volume approx. 1500 ml Inlet port for ah: 22 mm ED or equipped with removable connector piece (22mm ED) to connect a standard 22mm T piece or anesthetic hose valve: Type: non rebreathing valve of anesthetic type, detachable Inspiratory resistance approx. 0.10 kPa at 50/1min Expiratory resistance approx. 0.15 kpa at 50/1min Automatic control valve for auto adjustment of maximum pressure to 400 mm H20 Reservoir tube dimensions approx. 1000mm x 22mm (capacity approx. 1000ml) T. piece 22mmF/22mmF with small arm tapered 5-3mm M |  |  |
| 70. | Bag Valve Mask (Neonatal) Requirements: Self-inflating neonatal resuscitation bag with masks. Size at least 200ml, for full-term babies, preterm and low-weight infants less than 5kgs. Reusable, hand-operated, portable and made of silicone or other materials as specified in ISO 10651-4 Ventilation can be done with ambient air or oxygen. Intake valve with nipple for oxygen tubing. Sizes 0 with outer diameter 35-50mm and size 1 with outer |  |  |
| 71. | Centrifuge, Electric table top Requirements: Table top swing out rotor centrifuge Technical parameters: Digital display of parameter values Water-protected foil keypad Smooth running at both high and low speeds Automatic change over RPM/RCF by entering rotor radius Automatic rotor recognition Braking type: Electric Viewing port in the lid Short spin key to spin the rotor at pre-selected speed or RCF (Continuous key press) 6 Sealed buckets for aerosol containment (inner lid, individual lids) Speed: 0-9000 rpm (minimum) Speed increments: increments of 10 RCF adjustments: increments of 10 Maximum acceptable sound level: 60dBA Variable rotational centrifugal force (RCF): approximately 2500g Accuracy: ±20rpm (display) Timer set/display: 1min-99 min Running time: 0-99min Memory: Minimum of 10 running programs Safety Metal housing and lid System equipped with visible backlit LED display for clear readout of set program and actual parameters Stainless steel chamber Lid locking and holding during run Emergency lid lock release Imbalance switch off Electrical Requirements 100-240V, 50Hz, single phase Electrical plugs should be BS, 3 pin grounded-medical grade Warranty Warranty period: 2 years Guaranteed availability of essential spare parts for at least 5 years Comprehensive application and end-user training Operation and service manual provided |  |  |
| 72. | Kangaroo Mother Care Chair Requirements: Constructed from 50x50x2mm epoxy coated mild steel tubes. Having a luggage storage rack. Mobile on 50mm antistatic rubber castors at least 2 lockable Having a top pull handle to move from chair to bed and vice versa. Dimensions; Back at least W850mmxL1000mm Seat at least W850mmxL850mm Foot at least W850mmxL850mm Sleeping position, approx. L1900mmxW850mmxH400mm. Upholstery; Waterproof, washable and black non-stitched leather upholstery Having at least 27kg/cubic metre density inner foam |  |  |
| 73. | Oxygen Flow Splitters Requirements: To allow multiple patients to receive individually adjusted flow rates from a single source of oxygen. Having at least 5 oxygen flow meters, delivering from 0-15L/min of oxygen for both adults and paediatrics Wall mounted type, constructed from epoxy coated mild steel sheet. Supplied with humidifier bottles of approx..150ml with corresponding connectors. Having at least 2 metres of tubing for oxygen connection. |  |  |
| 74. | Nasal Cannula Requirements: Cannulae and nasal prongs suitable for delivering oxygen/air mixture into nasal cavities. Rubber or soft plastic tubing and prongs, semi-rigid and allowing freedom of movements. Tubing wall thickness between 2-3mm. Non-permanent deformation if kinked or bent too tight. Round shape tube for low-flow procedures 0-15L/min range. Having straight, curved and flared tip prongs. Having multiple sizes for neonates, infants, children and adults of at least 1.5metres long, suitable for cleaning and disinfection. |  |  |
| 75. | Nasal Catheter Requirements: A flexible tube with a water-soluble gel, inserted through a naris to deliver supplemental oxygen to the nasopharynx Flexible nasal catheter with multiple holes at distal end. Rubber or soft plastic tubing and catheter, semi-rigid and allowing freedom of movements. Catheter length 10cm to 40cm. Non-permanent deformation if kinked or bent too tight. Having multiple sizes of 3-5mm internal diameter for neonates, infants, children and adults of at least 1.5metres long, suitable for cleaning and disinfection. |  |  |

Specification and Compliance Sheet Authorised by:

|  | Signature: | __________________________ | Name: | ____________________________ |
| --- | --- | --- | --- | --- |
|  | Position: | ___________________________ | Date: | ___________________________ |

GUIDELINES FOR APPLICATIONIST TRAINING

Guidelines for Application Training for Assorted Biomedical Equipment for Procurement, Supply, Delivery and Installation, training and Commissioning of Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021

The biomedical equipment for 64 Health Center IIIs under UgIFT has been identified in the document. The following guidelines have been developed for all the bidders of the biomedical equipment where applicable. A cost estimate for provision a comprehensive application training shall be submitted by bidders of all biomedical equipment where applicable;

Categories of 	Biomedical 	Equipment 	for 	Application	Training, 	Specific training

Requirements and Outcomes;

Please indicate per item where this requirement is needed and what kind of activities, input, staff etc. will be required

Technical Specifications

A. General Specifications for all Equipment

- The specifications describe the requirements for goods.  Tenderers are requested to submit with their offers the detailed specifications and catalogues, for the products they intend to supply.  Website down load will not be accepted unless it is an original manufacturer’s PDF format.

- Tenderers must indicate on the specifications sheets whether the equipment offered comply with each specified equipment.

- All the dimensions and capacities of the equipment to be supplied shall not be less than those required in these specifications.  Deviations from the basic requirements, if any shall be explained in detail in writing with the offer, with supporting data such as calculation sheets. The procuring entity reserves the right to reject the products, if such deviations shall be found critical to the use and operation of the products.

- The tenderers are requested to present information along with their offers as follows:

  - Shortest possible delivery period of each product

  - Evidence on availability of credible local service representative on/or back up/ repair and maintenance including their names and address.

  - Evidence on availability of spare parts and accessories for the items locally within the useful life span of the supplied equipment.

- The tenderers are required to provide original manufacturer’s brochures including technical data for the items offered in English.

- The best evaluated bidder is expected to provide a comprehensive user/ applicationist, operator and technical training for all the equipment supplied and installed. This will be considered as part of the equipment supply.

- The best evaluated bidder should ensure availability of Spare Parts and Consumables (where applicable) for at least Five (5) years for all Equipment they intend to supply.

- All the offered items should comply with the following conditions where applicable;

    - Operating Voltage: Three phase 415 V,A,C, 50Hz, Single-phase 110-240 V A.c, 50Hz

    - Operating Temperatures: 150 C to 320 C

    - Humidity Range: 20% to 95%

    - Altitude: 	0 to 3000m (above sea level)

    - Environment: 	Dusty environment

    - All Labaratory Equipment be supplied with extra and appropriate surge protection devices such as; UPS, surge protector or fridge guards for the respective equipment supplied.

75

      - All electro-medical equipment must comply with IEC 601-1 or any other international recognized standard for safety

      - All Refrigerators MUST be CFC free

      - All equipment must be accompanied by ORIGINAL manufacture’s authorization letters of all equipment to be supplied. Photocopies/fax copies will NOT be accepted.

      - All bidders must provide and submit a separate cost estimate or quote for a 3 year extended service contract (of items where applicable) of equipment they intend to supply and install. The later shall be submitted together with the bidding document.

      - All equipment must be model on current production.

      - The bidder to qualify for award of contract will have quoted for ALL items (holding other factors constant).

      - Items delivered and installed shall be labeled Equipment for 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021. The labeling for particular equipment shall be at bidders cost.

5.	Inspections and Tests

Procurement Reference Number: MOH/SPLS/20-21/00136

| List of Inspections and Tests |
| --- |
| Items subject to Inspection and Tests; | All items under the technical specification |
| Type of inspection or tests and the standards to be met; | Quality parameters as per technical specifications |
| Location of the inspection or tests; | At the Specific Health Centre III under UgIFT FY 2020-2021. |
| Inspection agency; | The items shall be inspected by the Ministry of Health or any other appointed inspection agency /competent authority. |
| Timing of the inspection; | On delivery |
| Notifications or documentation required from the provider; | Manufacture’s performance charts/operational manuals. |
| Provision of any samples for inspection; | Not Applicable. |
| Cost of the inspection; | Costs of inspection to be borne by the Provider. |
| Arrangements and costs for any re-inspection required; | To be borne by either party depending on the cause of re-inspection. |
| Any other relevant details. | None |

# PART 3 - Contract

# Section 7: General Conditions of Contract for the Procurement of Supplies

Table of Clauses

1.	Definitions	170

2.	Contract Documents	171

3.	Corrupt Practices	171

4.	Interpretation	172

5.	Language	172

6.	Joint Venture, Consortium or Association	172

7.	Eligibility	173

8.	Notices	173

9.	Governing Law	173

10.	Settlement of Disputes	173

11.	Scope of Supply	173

12.	Delivery and Documents	173

13.	Provider’s Responsibilities	174

14.	Procuring and Disposing Entity’s Responsibilities	174

15.	Contract Price	174

16.	Terms of Payment	174

18.	Taxes and Duties	175

19.	Performance Security	175

20.	Copyright	175

21.	Confidential Information	176

22.	Subcontracting	176

23.	Specifications and Standards	176

24.	Packing and Documents	177

25.	Insurance	177

26.	Transportation	177

27.	Inspections and Tests	177

28.	Liquidated Damages	178

29.	Warranty	179

30.	Patent Indemnity	179

31.	Limitation of Liability	180

32.	Change in Laws and Regulations	180

33.	Force Majeure	180

34.	Change Orders and Contract Amendments	181

35.	Extensions of Time	181

36.	Termination	182

37.	Assignment	183

Section 7:  General Conditions of Contract

for the Procurement of Supplies

| 1. Definitions |  |
| --- | --- |
| The following words and expressions shall have the meanings hereby assigned to them: (a) “Completion” means the fulfilment of the Related Services by the Provider in accordance with the terms and conditions set forth in the Contract. (b) “Contract” means the Agreement entered into between the Procuring and Disposing Entity and the Provider, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein. (c) “Contract Documents” means the documents listed in the Agreement, including any amendments thereto. (d) “Contract Price” means the price payable to the Provider as specified in the Agreement, subject to such additions and adjustments thereto or deductions there from, as may be made pursuant to the Contract. (e) “Day” means working day. (f) “Delivery” means the transfer of the Supplies from the Provider to the Procuring and Disposing Entity in accordance with the terms and conditions set forth in the Contract. (g) “Eligible Countries” means the countries and territories eligible as listed in the SCC. (h) “GCC” means the General Conditions of Contract. (i) “Procuring and Disposing Entity” means the entity purchasing the Supplies and Related Services, as specified in the Agreement. (j) “Provider” means the natural person, private or government entity, or a combination of the above, whose bid to perform the Contract has been accepted by the Procuring and Disposing Entity and is named as such in the Agreement, and includes the legal successors or permitted assigns of the Provider. (k) “Related Services” means the services incidental to the provision of Supplies, such as insurance, installation, training and initial maintenance and other similar obligations of the Provider under the Contract. (l) “SCC” means the Special Conditions of Contract. (m) “Subcontractor” means any natural person, private or government entity, or a combination of the above, including its legal successors or permitted assigns, to whom any part of the Supplies to be provided or execution of any part of the Related Services is subcontracted by the Provider. (n) “Supplies” means goods, raw materials, products, livestock, assets, land, equipment or objects of any kind and description in solid, liquid or gaseous form, or in the form of electricity, or intellectual and proprietary rights as well as works or services incidental to the provision of such supplies where the value of such works or services does not exceed the value of the supplies. (o) “The Site,” where applicable, means the place named in the SCC. (p) “Tribunal” means the Tribunal established under the Public Procurement and Disposal of Public Assets Act, 2003. |
| 2. Contract Documents |  |
| 2.1 The documents forming the Contract shall be interpreted in the following order of priority: (a) Agreement, (b) The Provider’s Bid, as amended by any clarifications, (c) Special Conditions of Contract, (d) General Conditions of Contract, (e) Statement of Requirements, (f) any other document listed in the SCC as forming part of the Contract. 2.2 Subject to the order of precedence set forth in Sub-Clause 2.1, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. |
| 3. Corrupt Practices |  |
| 3.1 It is the Government of Uganda’s policy to require that Procuring and Disposing Entities, as well as Bidders and Providers under Government financed contracts, observe the highest standard of ethics during the procurement and execution of such contracts. In pursuit of this policy, the Government of Uganda: (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) “corrupt practice” means the offering, giving, receiving, or soliciting, directly or indirectly, of anything of value, to influence the action of a public official in the procurement process or in contract execution; and (ii) “fraudulent practice” is any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; (iii) “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party; (iv) “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party; (b) will suspend a firm, either indefinitely or for a stated period of time, from being awarded a Government funded contract if it at any time determines that the firm has engaged in corrupt, fraudulent, collusive or coercive practices in competing for, or in executing, a Government funded Contract. 3.2 The Provider shall permit the Government of Uganda to inspect the Provider’s accounts and records relating to the performance of the Provider and to have them audited by auditors appointed by the Government of Uganda, if so required by the Government. 3.3 In pursuit of the policy defined in Sub-Clause 3.1, the Procuring and Disposing Entity may terminate a Contract for Supplies if it at any time determines that corrupt, fraudulent, collusive or coercive practices were engaged in by representatives of the Procuring and Disposing Entity or of a Provider, during the procurement or the execution of that contract, in accordance with GCC 36.1. |
| 4. Interpretation |  |
| 4.1 If the context so requires it, singular means plural and vice versa. 4.2 Incoterms (a) Unless otherwise specified in the SCC, the meaning of any trade term and the rights and obligations of parties there under shall be as prescribed by Incoterms. (b) EXW, CIP, and other similar terms, shall be governed by the rules prescribed in the edition of Incoterms, published by the International Chamber of Commerce as specified in the SCC. |
| 4.3 Entire Agreement The Contract constitutes the entire agreement between the Procuring and Disposing Entity and the Provider and supersedes all communications, negotiations and agreements (whether written or oral) of parties with respect thereto made prior to the date of Contract. |
| 4.4 Amendment No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorised representative of each party thereto. |
| 4.5 Non-waiver (a) Subject to GCC Sub-Clause 4.5(b) below, no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract. (b) Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorised representative of the party granting such waiver, and must specify the right and the extent to which it is being waived. |
| 4.6 Severability If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract. |
| 5. Language |  |
| 5.1 The Contract as well as all correspondence and documents relating to the Contract exchanged by the Provider and the Procuring and Disposing Entity, shall be written in English unless specified otherwise in the SCC. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in the language specified, in which case, for purposes of interpretation of the Contract, this translation shall govern. 5.2 The Provider shall bear all costs of translation to the governing language and all risks of the accuracy of such translation. |
| 6. Joint Venture, Consortium or Association |  |
| Unless otherwise specified in the SCC, if the Provider is a joint venture, consortium, or association, all of the parties shall be jointly and severally liable to the Procuring and Disposing Entity for the fulfilment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture, consortium, or association. The composition or the constitution of the joint venture, consortium, or association shall not be altered without the prior consent of the Procuring and Disposing Entity. |
| 7. Eligibility |  |
| 7.1 The Provider and its Subcontractors shall have the nationality of an eligible country. A Provider or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country. 7.2 All Supplies and Related Services to be supplied under the Contract shall have their origin in Eligible Countries. For the purpose of this Clause, origin means the country where the Supplies have been grown, mined, cultivated, produced, manufactured, or processed, or through manufacture, processing, or assembly, another commercially recognised article results that differs substantially in its basic characteristics from its imported components. |
| 8. Notices |  |
| 8.1 Any notice given by one party to the other pursuant to the Contract shall be in writing to the address specified in the SCC. The term “in writing” means communicated in written form with proof of receipt. 8.2 A notice shall be effective when delivered or on the notice’s effective date, whichever is later. |
| 9. Governing Law |  |
| The Contract shall be governed by and interpreted in accordance with the laws of Uganda unless otherwise specified in the SCC. |
| 10. Settlement of Disputes |  |
| 10.1 The Procuring and Disposing Entity and the Provider shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract. |
| 10.2 If the parties fail to resolve such a dispute or difference by mutual consultation within twenty-eight (28) days from the commencement of such consultation, either party may require that the dispute be referred for resolution under the Arbitration and Conciliation Act of Uganda Cap 4 or such other formal mechanism specified in the SCC. |
| 11. Scope of Supply |  |
| 11.1 The Supplies and Related Services to be provided shall be as specified in the Statement of Requirements. 11.2 The Supply shall include all such items not specifically mentioned in the Contract but that can be reasonably inferred from the Contract as being required for attaining Delivery and Completion of the Supplies and Related Services as if such items were expressly mentioned in the Contract. |
| 12. Delivery and Documents |  |
| Subject to GCC Sub-Clause 33.1, the Delivery of the Supplies and Completion of the Related Services shall be in accordance with the Delivery and Completion Schedule specified in the Statement of Requirements. |
| 13. Provider’s Responsibilities |  |
| The Provider shall provide all the Supplies and Related Services included in the Scope of Supply in accordance with GCC Clause 11, and the Delivery and Completion Schedule, as per GCC Clause 12. |
| 14. Procuring and Disposing Entity’s Responsibilities |  |
| 14.1 Whenever the provision of Supplies and Related Services requires that the Provider obtain permits, approvals, and import and other licenses from local public authorities in Uganda, the Procuring and Disposing Entity shall, if so required by the Provider, make its best effort to assist the Provider in complying with such requirements in a timely and expeditious manner. 14.2 The Procuring and Disposing Entity shall pay all costs involved in the performance of its responsibilities, in accordance with GCC Sub-Clause 14.1. |
| 15. Contract Price |  |
| 15.1 The Contract Price shall be as specified in the Agreement subject to any additions and adjustments thereto, or deductions therefrom, as may be made pursuant to the Contract. |
| 15.2 Prices charged by the Provider for the Supplies delivered and the Related Services performed under the Contract shall not vary from the prices quoted by the Provider in its bid, with the exception of any price adjustments authorised in the SCC. |
| 16. Terms of Payment |  |
| 16.1 The Contract Price shall be paid as specified in the SCC. 16.2 The Provider’s request for payment shall be made to the Procuring and Disposing Entity in writing, accompanied by invoices describing, as appropriate, the Supplies delivered and Related Services performed, and by the documents submitted pursuant to GCC Clause 12 and upon fulfilment of all the obligations stipulated in the Contract. |
| 16.3 Unless otherwise specified in the SCC, payments shall be made promptly by the Procuring and Disposing Entity, no later than thirty (30) days after submission of an invoice or request for payment by the Provider, and its certification by the Procuring and Disposing Entity. The Procuring and Disposing Entity shall certify or reject such invoices or payment requests within five (5) days from receipt. Where such invoices or payment requests are rejected, the Procuring and Disposing Entity shall advise the Provider of the reasons for rejection. 16.4 The currency or currencies in which payments shall be made to the Provider under this Contract shall be specified in the SCC. |
| 17 Advance Payment Guarantee 17.1 Unless otherwise stated in the SCC, where any payment is made in advance of delivery of any Supplies or Related Services, payment of the advance payment shall be made against the provision by the Provider of a bank guarantee or an on demand insurance bond with proof of re-insurance, for the same amount, and shall be valid for the period stated in the SCC. 17.2 Should the advance payment guarantee cease to be valid and the Provider fails to re-validate it, a deduction equal to the amount of the advance payment may be made by the Procuring and Disposing Entity from future payments due to the Provider under the contract. 17.3 If a Contract is terminated for any reason, the guarantee securing the advance may be invoked in order to recover the balance of the advance still owed by the Provider. |
| 18. Taxes and Duties |  |
| 18.1 Except as otherwise specifically provided in the SCC, the Provider shall bear and pay all taxes, import duties, and levies imposed on the Provider, by all municipal, state or national government authorities, both within and outside Uganda, in connection with the Supplies and Related Services to be supplied under the Contract. 18.2 Notwithstanding GCC Sub-Clause 18.1, and unless otherwise specified in the SCC, the Procuring and Disposing Entity shall bear and promptly pay all taxes, import duties, and levies imposed by law in Uganda on the Supplies and Related Services when such Supplies and Related Services are supplied from and delivered or completed outside Uganda. 18.3 If any tax exemptions, reductions, allowances or privileges may be available to the Provider in Uganda, the Procuring and Disposing Entity shall use its best efforts to enable the Provider to benefit from any such tax savings to the maximum allowable extent. 18.4 For the purpose of the Contract, it is agreed that the Contract Price specified in the Agreement is based on the taxes, duties, levies, and charges prevailing at the date twenty-eight (28) days prior to the date of bid submission in Uganda (called “tax” in this sub-clause). If any tax rates are increased or decreased, a new tax is introduced, an existing tax is abolished, or any change in interpretation or application of any tax occurs in the course of the performance of the Contract, which was or will be assessed on the Provider, its Subcontractors, or their employees in connection with performance of the Contract, an equitable adjustment to the Contract Price shall be made to fully take into account any such change by addition to or reduction from the Contract Price, as the case may be. |
| 19. Performance Security |  |
| 19.1 If so stated in the SCC, the Provider shall, within twenty-one (21) days of the notification of contract award, provide a Performance Security for the due performance of the Contract in the amount and currency specified in the SCC or in a freely convertible currency acceptable to the Procuring and Disposing Entity. 19.2 The proceeds of the Performance Security shall be payable to the Procuring and Disposing Entity as compensation for any loss resulting from the Provider’s failure to complete its obligations under the Contract. 19.3 The Performance Security shall be in one of the forms stipulated by the Procuring and Disposing Entity in the SCC, or in another form acceptable to the Procuring and Disposing Entity. 19.4 The Performance Security shall be discharged by the Procuring and Disposing Entity and returned to the Provider not later than twenty-eight (28) days following the date of completion of the Provider’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in the SCC. |
| 20. Copyright |  |
| The copyright in all drawings, documents, and other materials containing data and information furnished to the Procuring and Disposing Entity by the Provider herein shall remain vested in the Provider, or, if they are furnished to the Procuring and Disposing Entity directly or through the Provider by any third party, including Providers of materials, the copyright in such materials shall remain vested in such third party. |
| 21. Confidential Information |  |
| 21.1 The Procuring and Disposing Entity and the Provider shall keep confidential and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Provider may furnish to its Subcontractor such documents, data, and other information it receives from the Procuring and Disposing Entity to the extent required for the Subcontractor to perform its work under the Contract, in which event the Provider shall obtain from such Subcontractor an undertaking of confidentiality similar to that imposed on the Provider under GCC Clause 21. |
| 21.2 The Procuring and Disposing Entity shall not use such documents, data, and other information received from the Provider for any purposes unrelated to the contract. Similarly, the Provider shall not use such documents, data, and other information received from the Procuring and Disposing Entity for any purpose other than the design, procurement, or other work and services required for the performance of the Contract. |
| 21.3 The obligation of a party under GCC Sub-Clauses 21.1 and 21.2 above, however, shall not apply to information that: (a) the Procuring and Disposing Entity or Provider need to share with any institution participating in the financing of the Contract; (b) now or hereafter enters the public domain through no fault of that party; (c) can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or (d) otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality. |
| 21.4 The above provisions of GCC Clause 21 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply or any part thereof. 21.5 The provisions of GCC Clause 21 shall survive completion or termination, for whatever reason, of the Contract. |
| 22. Subcontracting |  |
| 22.1 The Provider shall notify the Procuring and Disposing Entity in writing of all subcontracts awarded under the Contract if not already specified in the bid. Subcontracting shall in no event relieve the Provider from any of its obligations, duties, responsibilities, or liability under the Contract. 22.2 Subcontracts shall comply with the provisions of GCC Clauses 3 and 7. |
| 23. Specifications and Standards |  |
| 23.1 Technical Specifications and Drawings (a) The Provider shall ensure that the Supplies and Related Services comply with the technical specifications and other provisions of the Contract. |
| (b) The Provider shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Procuring and Disposing Entity, by giving a notice of such disclaimer to the Procuring and Disposing Entity. (c) The Supplies and Related Services supplied under this Contract shall conform to the standards mentioned in the Statement of Requirements and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the country of origin of the Supplies. |
| 23.2 Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Statement of Requirements. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Procuring and Disposing Entity and shall be treated in accordance with GCC Clause 34. |
| 24. Packing and Documents |  |
| 24.1 The Provider shall provide such packing of the Supplies as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Supplies’ final destination and the absence of heavy handling facilities at all points in transit. |
| 24.2 The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the SCC, and in any other instructions ordered by the Procuring and Disposing Entity. |
| 25. Insurance |  |
| Unless otherwise specified in the SCC, the Supplies provided under the Contract shall be fully insured, in a freely convertible currency from an eligible country, against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery, in accordance with the applicable Incoterm or in the manner specified in the SCC. |
| 26. Transportation |  |
| Responsibility for transportation of the Supplies shall be in accordance with the Incoterm specified in the SCC. |
| 27. Inspections and Tests |  |
| 27.1 The Provider shall at its own expense and at no cost to the Procuring and Disposing Entity carry out all such tests and/or inspections of the Supplies and Related Services as are specified in the Statement of Requirements. |
| 27.2 The inspections and tests may be conducted on the premises of the Provider or its Subcontractor, at point of delivery, and/or at the Supplies’ final destination, or in another place in Uganda as specified in the Statement of Requirements. Subject to GCC Sub-Clause 27.3, if conducted on the premises of the Provider or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Procuring and Disposing Entity. |
| 27.3 The Procuring and Disposing Entity or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 27.2, provided that the Procuring and Disposing Entity bears all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all travelling and board and lodging expenses. |
| 27.4 Whenever the Provider is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Procuring and Disposing Entity. The Provider shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Procuring and Disposing Entity or its designated representative to attend the test and/or inspection. |
| 27.5 The Procuring and Disposing Entity may require the Provider to carry out any test and/or inspection not required by the Contract but deemed necessary to verify that the characteristics and performance of the Supplies comply with the technical specifications codes and standards under the Contract, provided that the Provider’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impedes the progress of manufacturing and/or the Provider’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected. |
| 27.6 The Provider shall provide the Procuring and Disposing Entity with a report of the results of any such test and/or inspection. 27.7 The Procuring and Disposing Entity may reject any Supplies or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Provider shall either rectify or replace such rejected Supplies or parts thereof or make alterations necessary to meet the specifications at no cost to the Procuring and Disposing Entity, and shall repeat the test and/or inspection, at no cost to the Procuring and Disposing Entity, upon giving a notice pursuant to GCC Sub-Clause 27.4. |
| 27.8 The Provider agrees that neither the execution of a test and/or inspection of the Supplies or any part thereof, nor the attendance by the Procuring and Disposing Entity or its representative, nor the issue of any report pursuant to GCC Sub-Clause 27.6, shall release the Provider from any warranties or other obligations under the Contract. |
| 28. Liquidated Damages |  |
| If so stated in the SCC and except as provided under GCC Clause 33, if the Provider fails to deliver any or all of the Supplies or perform the Related Services within the period specified in the Contract, the Procuring and Disposing Entity may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the SCC of the Contract Price for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those SCC. Once the maximum is reached, the Procuring and Disposing Entity may terminate the Contract pursuant to GCC Clause 36. |
| 29. Warranty |  |
| 29.1 The Provider warrants that all the Supplies are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract. |
| 29.2 Subject to GCC Sub-Clause 23.1, the Provider further warrants that the Supplies shall be free from defects arising from any act or omission of the Provider or arising from design, materials, and workmanship, under normal use in the conditions prevailing in Uganda. |
| 29.3 Unless otherwise specified in the SCC, the warranty shall remain valid for twelve (12) months after the Supplies, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the SCC, or for eighteen (18) months after the date of shipment or loading in the country of origin, whichever period concludes earlier. |
| 29.4 The Procuring and Disposing Entity shall give notice to the Provider stating the nature of any such defects together with all available evidence thereof, promptly following the discovery thereof. The Procuring and Disposing Entity shall afford all reasonable opportunity for the Provider to inspect such defects. |
| 29.5 Upon receipt of such notice, the Provider shall, within two weeks or such other period specified in the SCC, expeditiously repair or replace the defective Supplies or parts thereof, at no cost to the Procuring and Disposing Entity. 29.6 If having been notified, the Provider fails to remedy the defect within the period specified in Sub-Clause 29.5, the Procuring and Disposing Entity may proceed to take within a reasonable period such remedial action as may be necessary, at the Provider’s risk and expense and without prejudice to any other rights which the Procuring and Disposing Entity may have against the Provider under the Contract. |
| 30. Patent Indemnity |  |
| 30.1 The Provider shall, subject to the Procuring and Disposing Entity’s compliance with GCC Sub-Clause 30.2, indemnify and hold harmless the Procuring and Disposing Entity and its employees and officers from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Procuring and Disposing Entity may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract by reason of: (a) the installation of the Supplies by the Provider or their use in Uganda or where the Site is located; and (b) the sale in any country of the products produced by the Supplies. Such indemnity shall not cover any use of the Supplies or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, neither any infringement resulting from the use of the Supplies or any part thereof, or any products produced thereby in association or combination with any other equipment, plant, or materials not supplied by the Provider, pursuant to the Contract. |
| 30.2 If any proceedings are brought or any claim is made against the Procuring and Disposing Entity arising out of the matters referred to in GCC Sub-Clause 30.1, the Procuring and Disposing Entity shall promptly give the Provider a notice thereof, and the Provider may at its own expense and in the Procuring and Disposing Entity’s name conduct such proceedings or claim and any negotiations for the settlement of any such proceedings or claim. |
| 30.3 If the Provider fails to notify the Procuring and Disposing Entity within twenty-eight (28) days after receipt of such notice that it intends to conduct any such proceedings or claim, then the Procuring and Disposing Entity shall be free to conduct the same on its own behalf. 30.4 The Procuring and Disposing Entity shall, at the Provider’s request, afford all available assistance to the Provider in conducting such proceedings or claim, and shall be reimbursed by the Provider for all reasonable expenses incurred in so doing. |
| 30.5 The Procuring and Disposing Entity shall indemnify and hold harmless the Provider and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Provider may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Procuring and Disposing Entity. |
| 31. Limitation of Liability |  |
| Except in cases of gross negligence or wilful misconduct: (a) neither party shall be liable to the other party for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Provider to pay liquidated damages to the Procuring and Disposing Entity; and (b) the aggregate liability of the Provider to the Procuring and Disposing Entity, whether under the Contract, in tort, or otherwise, shall not exceed the total contract value or such other amount specified in the SCC, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the Provider to indemnify the Procuring and Disposing Entity with respect to patent infringement. |
| 32. Change in Laws and Regulations |  |
| Unless otherwise specified in the Contract, if after the date of the Bidding Document, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in Uganda or where the Site is located (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Provider has thereby been affected in the performance of any of its obligations under the Contract. Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same has already been accounted for in the price adjustment provisions where applicable, in accordance with GCC Clause 15. |
| 33. Force Majeure |  |
| 33.1 The Provider shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. |
| 33.2 For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Provider that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Provider. Such events may include, but not be limited to, acts of the Government of Uganda in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes. 33.3 If a Force Majeure situation arises, the Provider shall promptly notify the Procuring and Disposing Entity in writing of such condition and the cause thereof. Unless otherwise directed by the Procuring and Disposing Entity in writing, the Provider shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event. |
| 34. Change Orders and Contract Amendments |  |
| 34.1 The Procuring and Disposing Entity may at any time order the Provider through notice in accordance with GCC Clause 8, to make changes within the general scope of the Contract in any one or more of the following: (a) drawings, designs, or specifications, where Supplies to be furnished under the Contract are to be specifically manufactured for the Procuring and Disposing Entity; (b) the method of shipment or packing; (c) the place of delivery; and (d) the Related Services to be provided by the Provider. |
| 34.2 If any such change causes an increase or decrease in the cost of, or the time required for, the Provider’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or in the Delivery/Completion Schedule, or both, and the Contract shall accordingly be amended. Any claims by the Provider for adjustment under this Clause must be asserted within twenty-eight (28) days from the date of the Provider’s receipt of the Procuring and Disposing Entity’s change order. 34.3 Prices to be charged by the Provider for any Related Services that might be needed but which were not included in the Contract shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Provider for similar services. |
| 35. Extensions of Time |  |
| 35.1 If at any time during performance of the Contract, the Provider or its subcontractors should encounter conditions impeding timely delivery of the Supplies or completion of Related Services pursuant to GCC Clause 12, the Provider shall promptly notify the Procuring and Disposing Entity in writing of the delay, it’s likely duration, and its cause. As soon as practicable after receipt of the Provider’s notice, the Procuring and Disposing Entity shall evaluate the situation and may at its discretion extend the Provider’s time for performance, in which case the extension shall be ratified by the parties by amendment of the Contract. |
| 35.2 Except in case of Force Majeure, as provided under GCC Clause 33, a delay by the Provider in the performance of its Delivery and Completion obligations shall render the Provider liable to the imposition of liquidated damages pursuant to GCC Clause 28, unless an extension of time is agreed upon, pursuant to GCC Sub-Clause 35.1. |
| 36. Termination |  |
| 36.1 The Procuring and Disposing Entity may, by not less than thirty days written notice of termination to the Provider (except in the event listed in paragraph (f) below, for which there shall be a written notice of not less than sixty days), such notice to be given after the occurrence of any of the events specified in GCC Clause 36.1 (a) to (g), terminate the Contract if: (a) the Provider fails to remedy a failure in the performance of its obligations within thirty days or within such other period agreed between the Parties in writing; (b) the Provider becomes, or if any of the Provider’s members becomes, insolvent or bankrupt or enters into any agreements with their creditors for relief of debt or take advantage of any law for the benefit of debtors or go into liquidation or receivership whether compulsory or voluntary other than for a reconstruction or amalgamation; (c) the Provider fails to comply with any final decision reached as a result of arbitration proceedings pursuant to GCC Clause 10.2 hereof; (d) the Provider submits to the Procuring and Disposing Entity a statement which has a material effect on the rights, obligations or interests of the Procuring and Disposing Entity and which the Procuring and Disposing Entity knows to be false; (e) the Provider is unable as the result of Force Majeure, to perform a material portion of the Services for a period of not less than sixty days; (f) the Procuring and Disposing Entity, in its sole discretion and for any reason whatsoever, decides to terminate the Contract; (g) the Provider, in the judgment of the Procuring and Disposing Entity, has engaged in corrupt, fraudulent, collusive or coercive practices in competing for or in executing the Contract; or (h) where the Tribunal directs that a contract should be terminated. 36.2 The Provider may, by not less than thirty days written notice to the Procuring and Disposing Entity, such notice to be given after the occurrence of any of the events specified in GCC Clause 36.2 (a) to (d) terminate the Contract if: (a) the Procuring and Disposing Entity is in material breach of its obligations pursuant to the Contract and has not remedied the same within thirty days (or such longer period as the Provider may have subsequently approved in writing) following the receipt by the Procuring and Disposing Entity of the Provider’s notice specifying such breach; (b) the Provider is unable as the result of Force Majeure, to perform a material portion of the Services for a period of not less than sixty days; or (c) the Procuring and Disposing Entity fails to comply with any final decision reached as a result of arbitration pursuant to GCC Clause 10.2 hereof. 36.3 If either Party disputes whether an event specified GCC Clauses 36.1 or GCC Clause 36.2 has occurred, such Party may, within thirty days after receipt of notice of termination from the other Party, refer the matter to arbitration pursuant to GCC Clause 10.2 and the Contract shall not be terminated on account of such event except in accordance with the terms of any resulting arbitral award. |
| 37. Assignment |  |
| Neither the Procuring and Disposing Entity nor the Provider shall assign, in whole or in part, their obligations under this Contract, except with prior written consent of the other party. |

# Section 8:  Special Conditions of Contract

The following Special Conditions of Contract (SCC) shall supplement the General Conditions of Contract (GCC).  Whenever there is a conflict, the provisions herein shall prevail over those in the GCC.

| GCC clause reference | Special Conditions |
| --- | --- |
|  | The Procurement Reference Number is MoH/SULPS/20-21/00136 |
| GCC 1(g) | The Eligible Countries are those listed in Section 5 of the Bidding Document. |
| GCC 1(o) | The Site for delivery of the Supplies is Specified Health Centre IIIs as delivery Schedule attached. |
| GCC 2.1(f) | The other documents forming part of the Contract are: a) Maintenance Schedule b) Training Schedule c) Delivery schedule |
| GCC 4.2 (b) | The version of Incoterms shall be Incoterms 2010. |
| GCC 5.1 | The language shall be English. |
| GCC 6 | The individuals or firms in a joint venture, consortium or association shall be jointly and severally liable. |
| GCC 8.1 | For notices, the Procuring and Disposing Entity’s address shall be: The Chief Administrative Officer, Sheema District Local Government |
| GCC 9 | The Governing law shall be the Law of Uganda |
| GCC 10.2 | The formal mechanism for the resolution of disputes shall be the Arbitration and Conciliation Act, 2000 of Uganda. |
| GCC 12 | Date of delivery shall be within 5 Months of signing of the contract. The shipping and other documents to be furnished by the Provider are: Supplier’s Invoice showing goods description, quantity, unit price and total amount. Packing list and delivery notes Certificate of Origin. Inspection Certificate issued by a nominated inspection agency. Supplier’s factory inspection report. |
| GCC 15.2 | The price adjustment shall be N/A |
| GCC 16.1 | The structure of payments shall be 30% advance guarantee, 70% after final delivery. |
| GCC 16.3 | The payment period shall be Within 30 Days of presentation of invoice. |
| GCC 16.4 | The currency for payments shall be Currency of Uganda Shillings. |
| GCC 17.1 | An advance payment guarantee shall 30% of contract price on presentation an acceptable advance guarantee security. The period of validity of the Advance Payment Guarantee shall be; Sixty days |
| GCC 18.1 | The Provider shall be responsible for all taxes, import duties and levies imposed on the Provider except for the following: None. |
| GCC 18.2 | The Procuring and Disposing Entity shall not be responsible for all taxes, import duties and levies imposed by law in Uganda on the Supplies except for the following: None. |
| GCC 19.1 | A Performance Security shall be required. The amount of the Performance Security shall be 10% of the contract price. |
| GCC 19.3 | The forms of acceptable Performance Securities are Bank guarantee from a recognised bank in Uganda. |
| GCC 19.4 | Discharge of the Performance Security shall take 28 days after acceptance of the delivery |
| GCC 24.2 | The packing, marking and documentation within and outside the packages shall be. 64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021 |
| GCC 25 | The insurance coverage shall be required: Where insurance coverage is required, the supplies shall be insured; 110% |
| GCC 26 | The INCOTERMS shall be DDP (Delivered Duty Paid- “Specific “64 Health Center IIIs under Uganda Intergovernmental Fiscal Transfer Program (UgIFT) FY 2020-2021 |
| GCC 28 | Liquidated Damages shall apply. The liquidated damage shall be: at the rate of 0.25% per week. The maximum amount of liquidated damages shall be 2% of the Contract Value. |
| GCC 29.3 | The period of validity of the Warranty shall be three year (3 years) from the time of acceptance of delivery. |
| GCC 29.5 | The period within which the Provider shall repair or replace defective supplies shall be Within 10 working days. |
| GCC 31(b) | The amount of aggregate liability shall be the, Total Contract Value. |

# Section 9: Contract Forms

Table of Forms

Agreement	187

Performance Security	188

Advance Payment Security	189

Agreement

Procurement Reference No:

THIS AGREEMENT made the ________ day of _______________________, _____, between _________________________________of __________________________ (hereinafter “the Procuring and Disposing Entity”), of the one part, and _______________________ of ______________________________ (hereinafter “the Provider”), of the other part:

WHEREAS the Procuring and Disposing Entity invited bids for certain Supplies and Related Services, viz., ________________________________________________________________ and has accepted a Bid by the Provider for the provision of those Supplies and Related Services in the sum of _________________________________________ (hereinafter “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Contract referred to.

2.	In consideration of the payments to be made by the Procuring and Disposing Entity to the Provider as indicated in this Agreement, the Provider hereby covenants with the Procuring and Disposing Entity to provide the Supplies and Related Services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

3.	The Procuring and Disposing Entity hereby covenants to pay the Provider in consideration of the provision of the Supplies and Related Services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the law specified in the Special Conditions of Contract on the day, month and year indicated above.

Signed by ___________________________ (for the Procuring and Disposing Entity)

Name:_____________________________ Position:__________________________

In the presence of:

Name: _______________________________	Position: ________________________

Signed by _____________________________ (for the Provider)

Name:_____________________________ Position:___________________________

In the presence of:

Name: _______________________________	Position: ________________________

[The Performance Security should be on the letterhead of the issuing Financial Institution and should be signed by a person with the proper authority to sign documents that are binding on the Financial Institution]

Performance Security

Date: [insert date (as day, month, and year) of Performance Security]

Procurement Reference No: [insert Procurement Reference Number]

To: [insert complete name of Procuring and Disposing Entity]

WHEREAS [insert name complete of Provider] (hereinafter “the Provider”) has undertaken, pursuant to Contract No. [insert number] dated [insert day, month and year] to supply [brief description of the Supplies and Related Services] (hereinafter “the Contract”).

AND WHEREAS it has been stipulated by you in the aforementioned Contract that the Provider shall furnish you with a security [insert type of security] issued by a reputable guarantor for the sum specified therein as security for compliance with the Provider’s performance obligations in accordance with the Contract.

AND WHEREAS the undersigned [insert complete name of Guarantor], legally domiciled in [insert complete address of Guarantor], (hereinafter the “Guarantor”), have agreed to give the Provider a security:

THEREFORE WE hereby affirm that we are Guarantors and responsible to you, on behalf of the Provider, up to a total of [insert currency and amount of guarantee in words and figures] and we undertake to pay you, upon your first written demand declaring the Provider to be in default under the Contract, without cavil or argument, any sum or sums within the limits of [insert currency and amount of guarantee in words and figures] as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This security is valid until the [insert number] day of [insert month], [insert year].

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 758, except that subparagraph (ii) of Sub-article 20(a) is hereby excluded.

Name: [insert complete name of person signing the Performance Security]

In the capacity of [insert legal capacity of person signing the Performance Security]

Signed: [signature of person whose name and capacity are shown above]

Duly authorised to sign the Performance Security for and on behalf of: [insert complete name of Financial Institution]

Dated on _______ day of __________________, _______ [insert date of signing]

[The Advance Payment Security should be on the letterhead of the issuing Financial Institution and should be signed by a person with the proper authority to sign documents that are binding on the Financial Institution]

Advance Payment Security

Date: [insert date (as day, month, and year) of Payment Security]

Procurement Reference No.: [insert Procurement Reference Number]

To: 	[insert complete name of Procuring and Disposing Entity]

In accordance with the payment provision included in the Contract, in relation to advance payments, [insert complete name of Provider] (hereinafter called “the Provider”) shall deposit with the Procuring and Disposing Entity a security consisting of [indicate type of security], to guarantee its proper and faithful performance of the obligations imposed by said Clause of the Contract, in the amount of [insert currency and amount of guarantee in words and figures].

We, the undersigned [insert complete name of Guarantor], legally domiciled in [insert full address of Guarantor] (hereinafter “the Guarantor”), as instructed by the Provider, agree unconditionally and irrevocably to guarantee as primary obligor and not as surety merely, the payment to the Procuring and Disposing Entity on its first demand without whatsoever right of objection on our part and without its first claim to the Provider, in the amount not exceeding [insert currency and amount of guarantee in words and figures].

This security shall remain valid and in full effect from the date of the advance payment received by the Provider under the Contract until [insert day, month and year].

Name: [insert complete name of person signing the Payment Security]

In the capacity of [insert legal capacity of person signing the Payment Security]

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 758, except that subparagraph (ii) of Sub-article 20(a) is hereby excluded.

Signed: [signature of person whose name and capacity are shown above]

Duly authorised to sign the Payment Security for and on behalf of: [insert complete name of the Financial Institution]

Dated on _______ day of __________________, _______ [insert date of signing]